## Year to Date
111 Hayes Memorial Drive |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 267796.9999 | 0 | 267796.9999 | 0% | 239996.992 | 27800.0079 | 11.58%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 267796.9999 | 0 | 267796.9999 |  | 239996.992 | 29622.3599 | 12.34%

## 1st Qtr
111 Hayes Memorial Drive |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 48264.0269 | 0 | 48264.0269 | 0% | 69229.306 | -20965.2791 | -30.28%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 48264.0269 | 0 | 48264.0269 |  | 69229.306 | -20965.2791 | -30.28%

## 2nd Qtr
111 Hayes Memorial Drive |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 105641.473 | 0 | 105641.473 | 0% | 84267.028 | 21374.445 | 25.37%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 105641.473 | 0 | 105641.473 |  | 84267.028 | 21374.445 | 25.37%

## 3rd Qtr
111 Hayes Memorial Drive |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 113891.5 | 0 | 113891.5 | 0% | 86500.658 | 27390.842 | 31.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 113891.5 | 0 | 113891.5 |  | 86500.658 | 29213.194 | 33.77%

## 4th Qtr
111 Hayes Memorial Drive |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Marlborough - 111 Hayes Memorial Dr | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
111 Hayes Memorial Drive |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 10839.375 | 0 | 10839.375 | 0% | 18979.806 | -8140.431 | -42.89%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 10839.375 | N/A |  |  | 18979.806 | -8140.431 | -42.89% | 1. Low generation due to rain/snow.

## Feb
111 Hayes Memorial Drive |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 6484.875 | 0 | 6484.875 | 0% | 21502.5 | -15017.625 | -69.84%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 6484.875 | N/A |  |  | 21502.5 | -15017.625 | -69.84% | 1.Low generation due to weather/snow.

## Mar
111 Hayes Memorial Drive |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 30939.7769 | 0 | 30939.7769 | 0% | 28747 | 2192.7769 | 7.628%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 30939.7769 | N/A |  |  | 28747 | 2192.7769 | 7.628%

## Apr
111 Hayes Memorial Drive |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 34577.973 | 0 | 34577.973 | 0% | 27642.437 | 6935.536 | 25.09%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 34577.973 | N/A |  |  | 27642.437 | 6935.536 | 25.09%

## May
111 Hayes Memorial Drive |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 32481.75 | 0 | 32481.75 | 0% | 29104.739 | 3377.011 | 11.6%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 32481.75 | N/A |  |  | 29104.739 | 3377.011 | 11.6%

## Jun
111 Hayes Memorial Drive |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 38581.75 | 0 | 38581.75 | 0% | 27519.852 | 11061.898 | 40.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 38581.75 | N/A |  |  | 27519.852 | 11061.898 | 40.2% | 1.Inverter 3 tripped offline at 17:18 on 06/23 and reporting "Residual current device" and is being RMA'd | 1. SR103352

## Jul
111 Hayes Memorial Drive |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 39260.25 | 0 | 39260.25 | 0% | 29818.016 | 9442.234 | 31.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 39260.25 | N/A |  |  | 29818.016 | 9442.234 | 31.67% | 1. Inverter 3 is back online at 12:15 on 07/21. | 1.SR103352

## Aug
111 Hayes Memorial Drive |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 43750 | 0 | 43750 | 0% | 29162.79 | 14587.21 | 50.02%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 43750 | N/A |  |  | 29162.79 | 14587.21 | 50.02%

## Sep
111 Hayes Memorial Drive |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 30881.25 | 0 | 30881.25 | 0% | 25697.5 | 5183.75 | 20.17%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA | 30881.25 | N/A |  |  | 25697.5 | 5183.75 | 20.17% | 1. The meter has been capturing only half of the inverter's production since 15:15 on 09/12. After the technician replaced the blown fuse, meter is capturing as expected from 09:00 on 09/19. | 1. SR108211

## Oct
111 Hayes Memorial Drive |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA |  | 0

## Nov
111 Hayes Memorial Drive |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA |  | 0

## Dec
111 Hayes Memorial Drive |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Marlborough - 111 Hayes Memorial Dr | MA |  | 0

## Sites
Portfolio: | 111 Hayes Memorial Drive
Site DAS Name | Site | State | Update | DAS
111 Hayes Memorial Drive | MA: Marlborough - 111 Hayes Memorial Dr | MA | AF | PowerTrack