## Year to Date
Will Canton |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 114878.8765 | 0 | 114878.8765 | 0% | 120701.082 | -5822.2055 | -4.824%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 114878.8765 | 0 | 114878.8765 |  | 120701.082 | -5822.2055 | -4.824%

## 1st Qtr
Will Canton |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 26517.3755 | 0 | 26517.3755 | 0% | 27605 | -1087.6245 | -3.94%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 26517.3755 | 0 | 26517.3755 |  | 27605 | -1087.6245 | -3.94%

## 2nd Qtr
Will Canton |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 38450.563 | 0 | 38450.563 | 0% | 42873 | -4422.437 | -10.32%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 38450.563 | 0 | 38450.563 |  | 42873 | -4422.437 | -10.32%

## 3rd Qtr
Will Canton |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 49910.938 | 0 | 49910.938 | 0% | 50223.082 | -312.144 | -0.6215%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 49910.938 | 0 | 49910.938 |  | 50223.082 | -312.144 | -0.6215%

## 4th Qtr
Will Canton |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Canton - Will Canton | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
Will Canton |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 6232 | 0 | 6232 | 0% | 6997 | -765 | -10.93%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 6232 | N/A |  |  | 6997 | -765 | -10.93% | 1.Low generation due to weather/snow.

## Feb
Will Canton |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 5952.688 | 0 | 5952.688 | 0% | 8738 | -2785.312 | -31.88%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 5952.688 | N/A |  |  | 8738 | -2785.312 | -31.88% | 1.Low generation due to weather/snow.

## Mar
Will Canton |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 14332.6875 | 0 | 14332.6875 | 0% | 11870 | 2462.6875 | 20.75%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 14332.6875 | N/A |  |  | 11870 | 2462.6875 | 20.75%

## Apr
Will Canton |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 15813 | 0 | 15813 | 0% | 12891 | 2922 | 22.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 15813 | N/A |  |  | 12891 | 2922 | 22.67% | 1. Site tripped offline at 16:00 on 04/29 and back online at 19:30 on 04/29. 2. Inverter right unit was offline since 04/30 and being RMA'd | 1. SR100668 2. SR100745 | SR100745

## May
Will Canton |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 10437.813 | 0 | 10437.813 | 0% | 15003 | -4565.187 | -30.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 10437.813 | N/A |  |  | 15003 | -4565.187 | -30.43% | 1. Inverter right unit was offline since 04/30 and being RMA'd | 1. SR100745

## Jun
Will Canton |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 12199.75 | 0 | 12199.75 | 0% | 14979 | -2779.25 | -18.55%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 12199.75 | N/A |  |  | 14979 | -2779.25 | -18.55% | 1. Inverter right unit was offline since 04/30 and being RMA'd | 1. SR100745

## Jul
Will Canton |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 14952.625 | 0 | 14952.625 | 0% | 19768.992 | -4816.367 | -24.36%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 14952.625 | N/A |  |  | 19768.992 | -4816.367 | -24.36% | 1. Inverter right unit is back online at 15:00 on 07/22 | 1.SR100745

## Aug
Will Canton |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 19836.063 | 0 | 19836.063 | 0% | 18493.59 | 1342.473 | 7.259%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 19836.063 | N/A |  |  | 18493.59 | 1342.473 | 7.259%

## Sep
Will Canton |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 15122.25 | 0 | 15122.25 | 0% | 11960.5 | 3161.75 | 26.43%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA | 15122.25 | N/A |  |  | 11960.5 | 3161.75 | 26.43%

## Oct
Will Canton |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Nov
Will Canton |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Dec
Will Canton |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Canton - Will Canton | MA |  | 0

## Sites
Portfolio: | Will Canton
Site DAS Name | Site | State | Update | DAS
155 Will Drive | MA: Canton - Will Canton | MA | AF | PowerTrack