## Year to Date
American Polyfilm, Inc. |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 191490.716 | 0 | 191490.716 | 0% | 111862.742 | 79627.974 | 71.18%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
15 Baldwin Dr | CT | 60958.016 | 0 | 60958.016 |  | 0 | 0
8 Sycamore Way | CT | 130532.7 | 0 | 130532.7 |  | 111862.742 | 18669.958 | 16.69%

## 1st Qtr
American Polyfilm, Inc. |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 42694.232 | 0 | 42694.232 | 0% | 28703.678 | 13990.554 | 48.74%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
15 Baldwin Dr | CT | 13764.032 | 0 | 13764.032 |  | 0 | 0
8 Sycamore Way | CT | 28930.2 | 0 | 28930.2 |  | 28703.678 | 226.522 | 0.7892%

## 2nd Qtr
American Polyfilm, Inc. |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 70695.376 | 0 | 70695.376 | 0% | 41905.177 | 28790.199 | 68.7%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
15 Baldwin Dr | CT | 21898.976 | 0 | 21898.976 |  | 0 | 0
8 Sycamore Way | CT | 48796.4 | 0 | 48796.4 |  | 41905.177 | 6891.223 | 16.44%

## 3rd Qtr
American Polyfilm, Inc. |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 78101.108 | 0 | 78101.108 | 0% | 41253.887 | 36847.221 | 89.32%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
15 Baldwin Dr | CT | 25295.008 | 0 | 25295.008 |  | 0 | 0
8 Sycamore Way | CT | 52806.1 | 0 | 52806.1 |  | 41253.887 | 11552.213 | 28%

## 4th Qtr
American Polyfilm, Inc. |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
15 Baldwin Dr | CT | 0 | 0 | 0 |  | 0 | 0
8 Sycamore Way | CT | 0 | 0 | 0 |  | 0 | 0

## Jan
American Polyfilm, Inc. |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 10908.308 | 0 | 10908.308 | 0% | 7766.678 | 3141.63 | 40.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 3975.008 | N/A |  |  | N/A
8 Sycamore Way | CT | 6933.3 | N/A |  |  | 7766.678 | -833.378 | -10.73% | 1. Low generation due to snow/rain.

## Feb
American Polyfilm, Inc. |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 11876.716 | 0 | 11876.716 | 0% | 9148 | 2728.716 | 29.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 3838.016 | N/A |  |  | N/A
8 Sycamore Way | CT | 8038.7 | N/A |  |  | 9148 | -1109.3 | -12.13% | 1.Site was offline from 7:00AM to 14:00 on 02/08. | 1.SR096528

## Mar
American Polyfilm, Inc. |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 19909.208 | 0 | 19909.208 | 0% | 11789 | 8120.208 | 68.88%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 5951.008 | N/A |  |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during high irradiance, likely an imbalance in the array. | 1.SR098036
8 Sycamore Way | CT | 13958.2 | N/A |  |  | 11789 | 2169.2 | 18.4%

## Apr
American Polyfilm, Inc. |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 22525.9 | 0 | 22525.9 | 0% | 13203 | 9322.9 | 70.61%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 6532 | N/A |  |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during periods of high irradiance due to an imbalance in the array throughout the month. | 1.SR098036
8 Sycamore Way | CT | 15993.9 | N/A |  |  | 13203 | 2790.9 | 21.14%

## May
American Polyfilm, Inc. |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 22810.584 | 0 | 22810.584 | 0% | 14197.677 | 8612.907 | 60.66%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 7225.984 | N/A |  |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during periods of high irradiance due to an imbalance in the array throughout the month. | 1.SR098036
8 Sycamore Way | CT | 15584.6 | 0 | 15584.6 |  | 14197.677 | 1386.923 | 9.769%

## Jun
American Polyfilm, Inc. |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 25358.892 | 0 | 25358.892 | 0% | 14504.5 | 10854.392 | 74.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 8140.992 | 0 | 8140.992 |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during periods of high irradiance due to an imbalance in the array throughout the month. | 1. SR098036
8 Sycamore Way | CT | 17217.9 | 0 | 17217.9 |  | 14504.5 | 2713.4 | 18.71%

## Jul
American Polyfilm, Inc. |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 27491.908 | 0 | 27491.908 | 0% | 15228.258 | 12263.65 | 80.53%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 8607.008 | N/A |  |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during periods of high irradiance due to an imbalance in the array throughout the month. | 1.SR098036
8 Sycamore Way | CT | 18884.9 | N/A |  |  | 15228.258 | 3656.642 | 24.01%

## Aug
American Polyfilm, Inc. |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 28187.116 | 0 | 28187.116 | 0% | 14024.129 | 14162.987 | 101%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 9030.016 | N/A |  |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during periods of high irradiance due to an imbalance in the array throughout the month. | 1.SR098036
8 Sycamore Way | CT | 19157.1 | N/A |  |  | 14024.129 | 5132.971 | 36.6%

## Sep
American Polyfilm, Inc. |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 22422.084 | 0 | 22422.084 | 0% | 12001.5 | 10420.584 | 86.83%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT | 7657.984 | N/A |  |  | N/A |  |  | 1.Inverters 1 and 2 are turning on and off repeatedly during periods of high irradiance due to an imbalance in the array throughout the month. | 1. SR098036
8 Sycamore Way | CT | 14764.1 | N/A |  |  | 12001.5 | 2762.6 | 23.02%

## Oct
American Polyfilm, Inc. |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT |  | 0
8 Sycamore Way | CT |  | 0

## Nov
American Polyfilm, Inc. |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT |  | 0
8 Sycamore Way | CT |  | 0

## Dec
American Polyfilm, Inc. |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
15 Baldwin Dr | CT |  | 0
8 Sycamore Way | CT |  | 0

## Sites
Portfolio: | American Polyfilm, Inc.
Site DAS Name | Site | State | Update | DAS
15 Baldwin | 15 Baldwin Dr | CT | A | PowerTrack
8 Sycamore Way | 8 Sycamore Way | CT | AF | PowerTrack