## Year to Date
Mira corp |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1146241 | 1179663.231 | -33422.231 | -2.833% | 979405.049 | 166835.951 | 17.03%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Hartford Landfill - MIRA | CT | 1146241 | 1179663.231 | -33422.231 | -2.833% | 979405.049 | 166835.951 | 17.03%

## 1st Qtr
Mira corp |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 292897 | 354994.716 | -62097.716 | -17.49% | 213718.908 | 79178.092 | 37.05%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Hartford Landfill - MIRA | CT | 292897 | 354994.716 | -62097.716 | -17.49% | 213718.908 | 79178.092 | 37.05%

## 2nd Qtr
Mira corp |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 403947 | 384553.216 | 19393.784 | 5.043% | 386340.141 | 17606.859 | 4.557%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Hartford Landfill - MIRA | CT | 403947 | 384553.216 | 19393.784 | 5.043% | 386340.141 | 17606.859 | 4.557%

## 3rd Qtr
Mira corp |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 449397 | 440115.299 | 9281.701 | 2.109% | 379346 | 70051 | 18.47%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Hartford Landfill - MIRA | CT | 449397 | 440115.299 | 9281.701 | 2.109% | 379346 | 70051 | 18.47%

## 4th Qtr
Mira corp |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CT: Hartford Landfill - MIRA | CT | 0 | 0 | 0 |  | 0 | 0

## Jan
Mira corp |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 90505 | 117865.95 | -27360.95 | -23.21% | 52040.246 | 38464.754 | 73.91%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 90505 | 117865.95 | -27360.95 | -23.21% | 52040.246 | 38464.754 | 73.91% | 1.The site went offline at 14:30 on 01/18 due to a utility outage and was restored at 09:15 on 01/19 after utility power was restored. 2.Site production low due to snow /weather | 1.SR095700

## Feb
Mira corp |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 62302 | 98706.619 | -36404.619 | -36.88% | 65916 | -3614 | -5.483%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 62302 | 98706.619 | -36404.619 | -36.88% | 65916 | -3614 | -5.483% | 1.The site went offline at 01:15 on 02/24 due to a utility outage and was restored at 12:30 on 02/26; it went offline again at 11:15 on 02/27 as Eversource took the solar offline due to a distribution line issue and was brought back online at 12:15 on 02/28 after the technician closed all three medium voltage line cutouts. | 1.SR097691, SR097895 | SR097895

## Mar
Mira corp |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 140090 | 138422.147 | 1667.853 | 1.205% | 95762.662 | 44327.338 | 46.29%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 140090 | 138422.147 | 1667.853 | 1.205% | 95762.662 | 44327.338 | 46.29%

## Apr
Mira corp |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 143095 | 136602.3 | 6492.7 | 4.753% | 115609.215 | 27485.785 | 23.77%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 143095 | 136602.3 | 6492.7 | 4.753% | 115609.215 | 27485.785 | 23.77%

## May
Mira corp |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 127566 | 118575.491 | 8990.509 | 7.582% | 132385.797 | -4819.797 | -3.641%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 127566 | 118575.491 | 8990.509 | 7.582% | 132385.797 | -4819.797 | -3.641%

## Jun
Mira corp |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 133286 | 129375.425 | 3910.575 | 3.023% | 138345.129 | -5059.129 | -3.657%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 133286 | 129375.425 | 3910.575 | 3.023% | 138345.129 | -5059.129 | -3.657% | 1.Site tripped offline and meter voltages dropped to 0 at 18:45 on 06/30 | 1.SR103801

## Jul
Mira corp |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 147281 | 144422.812 | 2858.188 | 1.979% | 146052 | 1229 | 0.8415%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 147281 | 144422.812 | 2858.188 | 1.979% | 146052 | 1229 | 0.8415% | 1.Site tripped offline and meter voltages dropped to 0 at 18:45 on 06/30 and was back online at 08:45 on 07/01. | 1.SR107183

## Aug
Mira corp |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 161031 | 157240.812 | 3790.188 | 2.41% | 131022 | 30009 | 22.9%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 161031 | 157240.812 | 3790.188 | 2.41% | 131022 | 30009 | 22.9% | 1. The plant is performing as expected. The forecasted (theoretical) values may appear lower and they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance.

## Sep
Mira corp |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 141085 | 138451.675 | 2633.325 | 1.902% | 102272 | 38813 | 37.95%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT | 141085 | 138451.675 | 2633.325 | 1.902% | 102272 | 38813 | 37.95% | 1. The plant is performing as expected. The forecasted (theoretical) values may appear lower and they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance.

## Oct
Mira corp |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT

## Nov
Mira corp |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT

## Dec
Mira corp |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CT: Hartford Landfill - MIRA | CT

## Sites
Portfolio: | Mira corp
Site DAS Name | Site | State | Update | DAS
Hartford Landfill | CT: Hartford Landfill - MIRA | CT | AEF | PowerTrack