## Year to Date
Nyack Union Free School District |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 133259.174 | 140408.738 | -7149.564 | -5.092% | 0 | 133259.174 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Nyack - Nyack HS | NY | 133259.174 | 140408.738 | -7149.564 | -5.092% | 0 | 0 | 0%
Nyack - Nyack MS | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Nyack Valley Cottage ES | NY

## 1st Qtr
Nyack Union Free School District |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Nyack - Nyack HS | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Nyack - Nyack MS | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Nyack Valley Cottage ES | NY

## 2nd Qtr
Nyack Union Free School District |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Nyack - Nyack HS | NY | 0 | 0 | 0 |  |  | 0
Nyack - Nyack MS | NY | 0 | 0 | 0 |  |  | 0
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  |  | 0
Nyack Valley Cottage ES | NY

## 3rd Qtr
Nyack Union Free School District |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 133259.174 | 223792.211 | -90533.037 | -40.45% | 0 | 133259.174 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Nyack - Nyack HS | NY | 133259.174 | 140408.738 | -7149.564 | -5.092% |  | 0
Nyack - Nyack MS | NY | 0 | 83383.473 | -83383.473 | -100% |  | 0
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  |  | 0
Nyack Valley Cottage ES | NY

## 4th Qtr
Nyack Union Free School District |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Nyack - Nyack HS | NY | 0 | 0 | 0 |  |  | 0
Nyack - Nyack MS | NY | 0 | 0 | 0 |  |  | 0
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  |  | 0
Nyack Valley Cottage ES | NY

## Jan
Nyack Union Free School District |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY |  |  |  | 0%
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Feb
Nyack Union Free School District |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Mar
Nyack Union Free School District |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Apr
Nyack Union Free School District |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## May
Nyack Union Free School District |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY | [7 empty] | 1.Inverter 1 middle unit has tripped multiple times throughout the month,most likely a weather related issue
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Jun
Nyack Union Free School District |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Jul
Nyack Union Free School District |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 48126.564 | 83846.652 | -35720.088 | -42.6% | 0 | 48126.564 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY | 48126.564 | 53079.282 | -4952.718 | -9.331% | N/A
Nyack - Nyack MS | NY | 0 | 30767.37 | -30767.37 | -100% |  |  |  | 1.Site has no communication in inaccess since 11:30 on 04/16 , but it does have communication in SolarEdge. SE confirms that all firmware has been updated. The inverters appear to be communicating in IA, but site calculations need to be restarted. A ticket was created in the portal to restart site calculations (Case 131905). | 1.SR099882
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1. Site stopped communicating at 14:15on 05/29 in InAccess, production can be confirmed in SolarEdge. | 1. SR102144
Nyack Valley Cottage ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was not communicated in both inaccess and SE for whole month. | 1. SR103526

## Aug
Nyack Union Free School District |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 46968.246 | 80834.358 | -33866.112 | -41.9% | 0 | 46968.246 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY | 46968.246 | 51442.758 | -4474.512 | -8.698% | N/A
Nyack - Nyack MS | NY | 0 | 29391.6 | -29391.6 | -100% | N/A |  |  | 1.Site has no communication in inaccess since 11:30 on 04/16 , but it does have communication in SolarEdge. SE confirms that all firmware has been updated. The inverters appear to be communicating in IA, but site calculations need to be restarted. A ticket was created in the portal to restart site calculations (Case 131905). | 1.SR099882
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1. Site stopped communicating at 14:15on 05/29 in InAccess, production can be confirmed in SolarEdge. | 1. SR102144
Nyack Valley Cottage ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was not communicated in both inaccess and SE for whole month. | 1. SR103526

## Sep
Nyack Union Free School District |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 38164.364 | 59111.201 | -20946.837 | -35.44% | 0 | 38164.364 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY | 38164.364 | 35886.698 | 2277.666 | 6.347% | N/A
Nyack - Nyack MS | NY | 0 | 23224.503 | -23224.503 | -100% | N/A |  |  | 1.Site has no communication in inaccess since 11:30 on 04/16 , but it does have communication in SolarEdge. SE confirms that all firmware has been updated. The inverters appear to be communicating in IA, but site calculations need to be restarted. A ticket was created in the portal to restart site calculations (Case 131905). | 1.SR099882
Nyack - Upper Nyack ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1. Site stopped communicating at 14:15on 05/29 in InAccess, production can be confirmed in SolarEdge. | 1. SR102144
Nyack Valley Cottage ES | NY | 0 | 0 | 0 |  | N/A |  |  | 1.Site was not communicated in both inaccess and SE for whole month. | 1. SR103526

## Oct
Nyack Union Free School District |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Nov
Nyack Union Free School District |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Dec
Nyack Union Free School District |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Nyack - Nyack HS | NY
Nyack - Nyack MS | NY
Nyack - Upper Nyack ES | NY
Nyack Valley Cottage ES | NY

## Sites
Portfolio: | Nyack Union Free School District
Site DAS Name | Site | State | Update | DAS
NY: Nyack - Nyack HS | Nyack - Nyack HS | NY |  | PF Unity
NY: Nyack - Nyack MS | Nyack - Nyack MS | NY |  | PF Unity
NY: Nyack - Upper Nyack ES | Nyack - Upper Nyack ES | NY |  | PF Unity
NY: Nyack Valley Cottage ES | Nyack Valley Cottage ES | NY |  | PF Unity