## Year to Date
One United (Cheer Pack) |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1876966 | 2076968.929 | -200002.929 | -9.63% | 2101051.623 | -224085.623 | -10.67%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 1876966 | 2076968.929 | -200002.929 | -9.63% | 2101051.623 | -224085.623 | -10.67%

## 1st Qtr
One United (Cheer Pack) |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 445448 | 504116.4 | -58668.4 | -11.64% | 502772.3 | -57324.3 | -11.4%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 445448 | 504116.4 | -58668.4 | -11.64% | 502772.3 | -57324.3 | -11.4%

## 2nd Qtr
One United (Cheer Pack) |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 775610 | 797858.302 | -22248.302 | -2.789% | 822283.314 | -46673.314 | -5.676%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 775610 | 797858.302 | -22248.302 | -2.789% | 822283.314 | -46673.314 | -5.676%

## 3rd Qtr
One United (Cheer Pack) |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 655908 | 774994.227 | -119086.227 | -15.37% | 775996.009 | -120088.009 | -15.48%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 655908 | 774994.227 | -119086.227 | -15.37% | 775996.009 | -120088.009 | -15.48%

## 4th Qtr
One United (Cheer Pack) |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: West Bridgewater - One United | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
One United (Cheer Pack) |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 106172 | 130820.8 | -24648.8 | -18.84% | 119585.7 | -13413.7 | -11.22%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 106172 | 130820.8 | -24648.8 | -18.84% | 119585.7 | -13413.7 | -11.22% | 1. Inverter 4 was offline on 01/20, 01/21, 01/22, and 01/23, and came back online at 10:30 AM on 01/24. Upon the technician's arrival on 01/23, it was stated that he spoke with Solectria, required DMGI and remote support. | 1.SR095876

## Feb
One United (Cheer Pack) |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 115882 | 152671.8 | -36789.8 | -24.1% | 152977 | -37095 | -24.25%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 115882 | 152671.8 | -36789.8 | -24.1% | 152977 | -37095 | -24.25% | 1.Low generation on 02/01, 02/06, 02/09, 02/10, 02/11, 02/12, 02/13, 02/16 due to snow event.

## Mar
One United (Cheer Pack) |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 223394 | 220623.8 | 2770.2 | 1.256% | 230209.6 | -6815.6 | -2.961%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 223394 | 220623.8 | 2770.2 | 1.256% | 230209.6 | -6815.6 | -2.961%

## Apr
One United (Cheer Pack) |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 250538 | 252079.054 | -1541.054 | -0.6113% | 249148.819 | 1389.181 | 0.5576%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 250538 | 252079.054 | -1541.054 | -0.6113% | 249148.819 | 1389.181 | 0.5576%

## May
One United (Cheer Pack) |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 255650 | 257707.554 | -2057.554 | -0.7984% | 287957.883 | -32307.883 | -11.22%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 255650 | 257707.554 | -2057.554 | -0.7984% | 287957.883 | -32307.883 | -11.22% | 1. Site production was low on 05/01, 05/14, 05/16, 05/19 as the technician was onsite for preventive maintenance. | 1. PM7951

## Jun
One United (Cheer Pack) |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 269422 | 288071.694 | -18649.694 | -6.474% | 285176.612 | -15754.612 | -5.525%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 269422 | 288071.694 | -18649.694 | -6.474% | 285176.612 | -15754.612 | -5.525% | 1.Inverter 3 is derating approximately at 255kW from 06/24 and reporting "Operation outside MPPT Power conversion derated". Inverter 3 has been left offline until the blower fan can be replaced. | 1.SR103447

## Jul
One United (Cheer Pack) |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 216438 | 293696.9 | -77258.9 | -26.31% | 286558.4 | -70120.4 | -24.47%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 216438 | 293696.9 | -77258.9 | -26.31% | 286558.4 | -70120.4 | -24.47% | 1.Inverter 3 is derating approximately at 255kW from 06/24 and reporting "Operation outside MPPT Power conversion derated". Inverter 3 has been left offline until the blower fan can be replaced. | 1.SR103447

## Aug
One United (Cheer Pack) |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 217760 | 264526 | -46766 | -17.68% | 269305.9 | -51545.9 | -19.14%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 217760 | 264526 | -46766 | -17.68% | 269305.9 | -51545.9 | -19.14% | 1.Inverter 3 is derating approximately at 255kW from 06/24 and reporting "Operation outside MPPT Power conversion derated". Inverter 3 has been left offline until the blower fan can be replaced. 2. Site did not started for the production on 08/15 later back online at 11:30 on 08/15 | 1.SR103447 2.SR106334

## Sep
One United (Cheer Pack) |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 221710 | 216771.327 | 4938.673 | 2.278% | 220131.709 | 1578.291 | 0.717%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA | 221710 | 216771.327 | 4938.673 | 2.278% | 220131.709 | 1578.291 | 0.717% | 1. Inverter 3 has been derating at approximately 255 kW since 06/24, and reporting 'Operation outside MPPT Power conversion derated.' After replacing the exhaust fan, the inverter came back online at 12:15 on 09/04. | 1. SR103447

## Oct
One United (Cheer Pack) |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Nov
One United (Cheer Pack) |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Dec
One United (Cheer Pack) |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: West Bridgewater - One United | MA

## Sites
Portfolio: | One United (Cheer Pack)
Site DAS Name | Site | State | Update | DAS
Cheer Pack | MA: West Bridgewater - One United | MA | AEF | PowerTrack