## Year to Date
Pine Bush Central School District |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 195630.7 | 0 | 195630.7 | 0% | 0 | 195630.7 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pine Bush - HS | NY | 195630.7 | 0 | 195630.7 | 0% | 0 | 0 | 0%
Pine Bush - ES | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Pine Bush - Russel ES | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Circleville - ES | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Circleville - MS | NY | 0 | 0 | 0 | 0% | 0 | 0 | 0%

## 1st Qtr
Pine Bush Central School District |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pine Bush - HS | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Pine Bush - ES | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Pine Bush - Russel ES | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Circleville - ES | NY | 0 | 0 | 0 |  | 0 | 0 | 0%
Circleville - MS | NY | 0 | 0 | 0 |  | 0 | 0 | 0%

## 2nd Qtr
Pine Bush Central School District |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pine Bush - HS | NY | 0 | 0 | 0 |  | 0 | 0
Pine Bush - ES | NY | 0 | 0 | 0 |  | 0 | 0
Pine Bush - Russel ES | NY | 0 | 0 | 0 |  | 0 | 0
Circleville - ES | NY | 0 | 0 | 0 |  | 0 | 0
Circleville - MS | NY | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Pine Bush Central School District |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 494873.354 | 0 | 494873.354 | 0% | 0 | 494873.354 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pine Bush - HS | NY | 195630.7 | 0 | 195630.7 |  | 0 | 0
Pine Bush - ES | NY | 31223.856 | 0 | 31223.856 |  | 0 | 0
Pine Bush - Russel ES | NY | 104814.4 | 0 | 104814.4 |  | 0 | 0
Circleville - ES | NY | 73576.97 | 0 | 73576.97 |  | 0 | 0
Circleville - MS | NY | 89627.428 | 0 | 89627.428 |  | 0 | 0

## 4th Qtr
Pine Bush Central School District |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Pine Bush - HS | NY | 0 | 0 | 0 |  | 0 | 0
Pine Bush - ES | NY | 0 | 0 | 0 |  | 0 | 0
Pine Bush - Russel ES | NY | 0 | 0 | 0 |  | 0 | 0
Circleville - ES | NY | 0 | 0 | 0 |  | 0 | 0
Circleville - MS | NY | 0 | 0 | 0 |  | 0 | 0

## Jan
Pine Bush Central School District |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY |  |  |  | 0%
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Feb
Pine Bush Central School District |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Mar
Pine Bush Central School District |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Apr
Pine Bush Central School District |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## May
Pine Bush Central School District |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY | [7 empty] | 1. Inverter 2 tripped offline at 13:45 on 05/28 and self-resolved, returning online at 16:00 the same day | 1. SR102050
Circleville - ES | NY
Circleville - MS | NY

## Jun
Pine Bush Central School District |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Jul
Pine Bush Central School District |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 180077.252 | 0 | 180077.252 | 0% | 0 | 180077.252 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY | 71071.3 | N/A |  |  | N/A |  |  | 1.Inverter 13 is derating at 16kW from 12:15 since 06/24 and reporting " Fan Fault" 2. Inverter 12 dropped a string on 7/23. | 1.SR103425 2.SR105584 | SR105584
Pine Bush - ES | NY | 11263.969 | N/A |  |  | N/A
Pine Bush - Russel ES | NY | 37858.1 | N/A |  |  | N/A
Circleville - ES | NY | 26295.153 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline multiple days through out the month 2.Site was offline at 22:45 on 07/03 and it came back online at 02:15 on 07/04 3.Inverter 1 is underperforming by 5kW since 12/26/24 | 1.SR103723 2. SR104003 3. SR107621 | SR104003 | SR107621
Circleville - MS | NY | 33588.73 | N/A |  |  | N/A |  |  | 1. The meter had intermittent communication, so the actual production data was taken from the inverters

## Aug
Pine Bush Central School District |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 178498.082 | 0 | 178498.082 | 0% | 0 | 178498.082 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY | 69912.7 | N/A |  |  | N/A |  |  | 1.nverter 13 is producing with its peers on 08/10 2. Inverter 12 dropped a string on 7/23 | 1.SR103425 2.SR105584 | SR105584
Pine Bush - ES | NY | 11245.425 | N/A |  |  | N/A
Pine Bush - Russel ES | NY | 37798.2 | N/A |  |  | N/A
Circleville - ES | NY | 26444.757 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline multiple days 2.Inverter 1 is underperforming by 5kW since 12/26/24 | 1.SR103723 2. SR107621 | SR107621
Circleville - MS | NY | 33097 | N/A |  |  | N/A |  |  | 1. The meter had intermittent communication, so the actual production data was taken from the inverters

## Sep
Pine Bush Central School District |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 136298.02 | 0 | 136298.02 | 0% | 0 | 136298.02 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY | 54646.7 | N/A |  |  | N/A |  |  | 1. Inverter 12 dropped a string on 7/23 | 1.SR105584
Pine Bush - ES | NY | 8714.462 | N/A |  |  | N/A
Pine Bush - Russel ES | NY | 29158.1 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped from 11:00 to 14:45 on 09/20 | 1. SR102050
Circleville - ES | NY | 20837.06 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline multiple days 2.Inverter 1 is underperforming by 5kW since 12/26/24 3.Inverter 2 is derating at 17kW. | 1. SR103723 2. SR107621 3.SR107622 | SR107621 | SR107622
Circleville - MS | NY | 22941.698 | N/A |  |  | N/A |  |  | 1. The meter had intermittent communication, so the actual production data was taken from the inverters

## Oct
Pine Bush Central School District |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Nov
Pine Bush Central School District |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Dec
Pine Bush Central School District |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Pine Bush - HS | NY
Pine Bush - ES | NY
Pine Bush - Russel ES | NY
Circleville - ES | NY
Circleville - MS | NY

## Sites
Portfolio: | Pine Bush Central School District
Site DAS Name | Site | State | Update | DAS
NY: Pine Bush - HS | Pine Bush - HS | NY |  | PF Unity
NY: Pine Bush - ES | Pine Bush - ES | NY |  | PF Unity
NY: Pine Bush - Russel ES | Pine Bush - Russel ES | NY |  | PF Unity
NY: Circleville - ES | Circleville - ES | NY |  | PF Unity
NY: Circleville - MS | Circleville - MS | NY |  | PF Unity