## Year to Date
Solar Income LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 647951.3502 | 0 | 647951.3502 | 0% | 322026.801 | 325924.5492 | 101.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 288651.8402 | 0 | 288651.8402 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 359299.5101 | 0 | 359299.5101 |  | 322026.801 | 5667.8301 | 1.76%

## 1st Qtr
Solar Income LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 161679.8702 | 0 | 161679.8702 | 0% | 85045.15 | 76634.7202 | 90.11%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 70966.8902 | 0 | 70966.8902 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 90712.9801 | 0 | 90712.9801 |  | 85045.15 | 5667.8301 | 6.664%

## 2nd Qtr
Solar Income LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 229774.66 | 0 | 229774.66 | 0% | 122578.982 | 107195.678 | 87.45%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 103998.1 | 0 | 103998.1 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 125776.56 | 0 | 125776.56 |  | 122578.982 | 3197.578 | 2.609%

## 3rd Qtr
Solar Income LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 256496.82 | 0 | 256496.82 | 0% | 114402.669 | 142094.151 | 124.2%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 113686.85 | 0 | 113686.85 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 142809.97 | 0 | 142809.97 |  | 114402.669 | 28407.301 | 24.83%

## 4th Qtr
Solar Income LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Westbrook - Lee Building 9 | CT | 0 | 0 | 0 |  | 0 | 0
Westbrook - Lee Building 82 | CT | 0 | 0 | 0 |  | 0 | 0

## Jan
Solar Income LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 44086.4597 | 0 | 44086.4597 | 0% | 22894.69 | 21191.7697 | 92.56%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 19387.4897 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. 2. Virtual weather stopped communicating from 04/01/2024. | 1. SR096097,SR091134 2. SR092275 | SR091134 | SR092275
Westbrook - Lee Building 82 | CT | 24698.97 | N/A |  |  | 22894.69 | 1804.28 | 7.881% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to programme new weather station data due to poor WiFi. | 1. SR085123

## Feb
Solar Income LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 47513.7902 | 0 | 47513.7902 | 0% | 26976.46 | 20537.3302 | 76.13%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 20619.4902 | N/A |  |  | N/A |  |  | 1. Inverter 4 tripped offline at 02:00 PM on 02/10 due to a fault and possible 3-phase arc detection. Additionally, the DC relay board has been RMA'd. The inverter will remain offline until the replacement is installed. 2. Virtual weather stopped communicating from 04/01/2024. 3. Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. | 1. SR096681 2. SR092275 3. SR096097,SR091134 | SR092275 | SR096097 | SR091134
Westbrook - Lee Building 82 | CT | 26894.3 | N/A |  |  | 26976.46 | -82.16 | -0.3046% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Mar
Solar Income LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 70079.6203 | 0 | 70079.6203 | 0% | 35174 | 34905.6203 | 99.24%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 30959.9103 | N/A |  |  | N/A |  |  | 1. Inverter 4 tripped offline at 02:00 PM on 02/10 due to a fault and possible 3-phase arc detection. Additionally, the DC relay board has been RMA'd. On 03/13 Technician replaced DC Relay Board inverter back online at 11:30 2. Virtual weather stopped communicating from 04/01/2024. 3.Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. | 1. SR096681 2.SR092275 3. SR096097,SR091134 | SR092275 | SR096097 | SR091134
Westbrook - Lee Building 82 | CT | 39119.7101 | N/A |  |  | 35174 | 3945.7101 | 11.22% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Apr
Solar Income LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 75097.12 | 0 | 75097.12 | 0% | 38980.588 | 36116.532 | 92.65%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 34426.1 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. 2. Virtual weather stopped communicating from 04/01/2024. | 1. SR096097, SR091134 2. SR092275 | SR091134
Westbrook - Lee Building 82 | CT | 40671.02 | N/A |  |  | 38980.588 | 1690.432 | 4.337% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## May
Solar Income LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 73033.34 | 0 | 73033.34 | 0% | 42287.328 | 30746.012 | 72.71%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 33152.03 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. 2. Virtual weather stopped communicating from 04/01/2024. 3. Inverter 2 tripped offline at 16:15 on 05/22 due to "Inverter not producing energy – low voltage". A technician visited the site on 05/27 and attempted to troubleshoot the inverter, but was unsuccessful and requested additional troubleshooting. | 1. SR096097, SR091134 2. SR92275 3. SR101806 | SR091134 | SR92275 | SR101806
Westbrook - Lee Building 82 | CT | 39881.31 | N/A |  |  | 42287.328 | -2406.018 | -5.69% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Jun
Solar Income LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 81644.2 | 0 | 81644.2 | 0% | 41311.066 | 40333.134 | 97.63%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 36419.97 | N/A |  |  | N/A |  |  | 1.Inverter 2 was underperforming by 10 kW compared to its peers. Tech isolated string 2.3, which will be disconnected until the new optimizers is replaced. 2.Virtual weather stopped communicating on 04/01/24 | 1. SR103398 , SR096097, SR091134 2. SR092275 | SR096097 | SR091134 | SR092275
Westbrook - Lee Building 82 | CT | 45224.23 | N/A |  |  | 41311.066 | 3913.164 | 9.472% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Jul
Solar Income LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 87912.1101 | 0 | 87912.1101 | 0% | 41769.81 | 46142.3001 | 110.5%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 38885.1001 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. The technician isolated string 2.3, which will remain disconnected until the new optimizer is replaced. 2. The virtual weather station stopped communicating on 04/01/24. | 1. SR103398, SR096097, SR091134 2. SR092275 | SR096097 | SR091134 | SR092275
Westbrook - Lee Building 82 | CT | 49027.01 | N/A |  |  | 41769.81 | 7257.2 | 17.37% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Aug
Solar Income LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 92224.2699 | 0 | 92224.2699 | 0% | 39397.27 | 52826.9999 | 134.1%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 40903.6399 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. The technician isolated string 2.3, which will remain disconnected until the new optimizer is replaced. 2. The virtual weather station stopped communicating on 04/01/24. | 1. SR103398, SR096097, SR091134 2. SR092275
Westbrook - Lee Building 82 | CT | 51320.63 | N/A |  |  | 39397.27 | 11923.36 | 30.26% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Sep
Solar Income LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 76360.44 | 0 | 76360.44 | 0% | 33235.589 | 43124.851 | 129.8%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT | 33898.11 | N/A |  |  | N/A |  |  | 1. Inverter 2 was underperforming by 10 kW compared to its peers. The technician isolated string 2.3, which will remain disconnected until the new optimizer is replaced. 2. The virtual weather station stopped communicating on 04/01/24. | 1. SR103398, SR096097, SR091134 2. SR092275
Westbrook - Lee Building 82 | CT | 42462.33 | N/A |  |  | 33235.589 | 9226.741 | 27.76% | 1. Weather station is stopped communicating from 06/14/2024. Tech was unable to upload data due to poor internet. | 1. SR085123

## Oct
Solar Income LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Nov
Solar Income LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Dec
Solar Income LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Westbrook - Lee Building 9 | CT
Westbrook - Lee Building 82 | CT

## Sites
Portfolio: | Solar Income LLC
Site DAS Name | Site | State | Update | DAS
Lee Company - B9 | Westbrook - Lee Building 9 | CT | AEF | PowerTrack
The Lee Company B82 | Westbrook - Lee Building 82 | CT | AEF | PowerTrack