## Year to Date
Walden Liberty |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 716239 | 0 | 716239 | 0% | 0 | 716239 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 576146 | 0 | 576146 |  | 0 | 0
Walden Liberty | MA | 140093 | 0 | 140093 |  | 0 | 0

## 1st Qtr
Walden Liberty |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 211356 | 0 | 211356 | 0% | 0 | 211356 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 185921 | 0 | 185921 |  | 0 | 0
Walden Liberty | MA | 25435 | 0 | 25435 |  | 0 | 0

## 2nd Qtr
Walden Liberty |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 239307 | 0 | 239307 | 0% | 0 | 239307 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 189288 | 0 | 189288 |  | 0 | 0
Walden Liberty | MA | 50019 | 0 | 50019 |  | 0 | 0

## 3rd Qtr
Walden Liberty |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 265576 | 0 | 265576 | 0% | 0 | 265576 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 200937 | 0 | 200937 |  | 0 | 0
Walden Liberty | MA | 64639 | 0 | 64639 |  | 0 | 0

## 4th Qtr
Walden Liberty |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
CCC College | MA | 0 | 0 | 0 |  | 0 | 0
Walden Liberty | MA | 0 | 0 | 0 |  | 0 | 0

## Jan
Walden Liberty |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 60390 | 0 | 60390 | 0% | 0 | 60390 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 53680 | N/A |  |  | N/A
Walden Liberty | MA | 6710 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24. | 1. SR087933

## Feb
Walden Liberty |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 63301 | 0 | 63301 | 0% | 0 | 63301 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 58205 | N/A |  |  | N/A |  |  | 1.Inverters 2,3 were offline from 02/09 and back online on 02/13. | 1.SR096625
Walden Liberty | MA | 5096 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1. SR087933

## Mar
Walden Liberty |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 87665 | 0 | 87665 | 0% | 0 | 87665 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 74036 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline at 13:10 on 03/07 and back online on 03/08. | 1.SR098289
Walden Liberty | MA | 13629 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1. SR087933

## Apr
Walden Liberty |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 97567 | 0 | 97567 | 0% | 0 | 97567 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 82658 | N/A |  |  | N/A
Walden Liberty | MA | 14909 | N/A |  |  | N/A |  |  | 1 Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1.SR087933

## May
Walden Liberty |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 79890 | 0 | 79890 | 0% | 0 | 79890 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 64576 | N/A |  |  | N/A |  |  | 1.Inverter 2 tripped offline at 15:45 on 05/16 and back online on 05/17 2.Inverter 1 was offline from 05/23 and remained offline for rest of the month | 1.SR101608 2.SR101880 | SR101880
Walden Liberty | MA | 15314 | N/A |  |  | N/A |  |  | 1.Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1.SR087933

## Jun
Walden Liberty |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 61850 | 0 | 61850 | 0% | 0 | 61850 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 42054 | N/A |  |  | N/A |  |  | 1. Inverter 1 was offline from 05/23 and came back online at 11:45 on 06/18. | 1. SR101880
Walden Liberty | MA | 19796 | N/A |  |  | N/A |  |  | 1.Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 06/22/24 2. Inverter 1 tripped offline at 14:30 on 06/07 and came back online at 19:05 on the same day. 3. The site was offline from 05:00 to 12:00 on 06/25. | 1. SR087933 2. SR102652 3. SR103516 | SR102652 | SR103516

## Jul
Walden Liberty |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 103226 | 0 | 103226 | 0% | 0 | 103226 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 80054 | N/A |  |  | N/A |  |  | 1.Inverter 1 was deraing at 335kw since 06/18 and remained through out the month. | 1.SR106453
Walden Liberty | MA | 23172 | N/A |  |  | N/A |  |  | 1.Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1.SR087933

## Aug
Walden Liberty |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 112582 | 0 | 112582 | 0% | 0 | 112582 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 88930 | N/A |  |  | N/A |  |  | 1.Inverter 1 was deraing at 335kw since 06/18 and remained through out the month. | 1.SR106453
Walden Liberty | MA | 23652 | N/A |  |  | N/A |  |  | 1.Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1.SR087933

## Sep
Walden Liberty |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 49768 | 0 | 49768 | 0% | 0 | 49768 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA | 31953 | N/A |  |  | N/A |  |  | 1. Inverter 1 had been derating at 335 kW since 06/18. It tripped offline at 09:50 on 09/05 and was placed under LOTO. The inverter was under RMA and after the technician replaced the DMGI, it came back online at 12:10 on 09/23. | 1. SR106453
Walden Liberty | MA | 17815 | N/A |  |  | N/A |  |  | 1. Inverter 1 is derating at 50KW approximetly 175KW down due to an fan issue since 07/22/24 | 1. SR087933

## Oct
Walden Liberty |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## Nov
Walden Liberty |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA
Walden Liberty | MA

## Dec
Walden Liberty |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CCC College | MA |  | 0 |  |  | 0
Walden Liberty | MA |  | 0 |  |  | 0

## Sites
Portfolio: | Walden Liberty
Site DAS Name | Site | State | Update | DAS
Cape Cod Community College | CCC College | MA | A | SolrenView
Walden Liberty Solar LLC | Walden Liberty | MA | A | SolrenView