## Year to Date
ALIGNED |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 819670.3894 | 1203231.154 | -383560.7646 | -31.88% | 1250277.418 | -430607.0286 | -34.44%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 57554.105 | 57564.45 | -10.345 | -0.01797% | 116039.2 | -58485.095 | -50.4%
Loudon - 7046 Pleasant Street | NH | 59981.3619 | 98620.42 | -38639.0581 | -39.18% | 109453.8 | -49472.4381 | -45.2%
Nashua - Pennichuck Water East | NH | 75347 | 55415.74 | 19931.26 | 35.97% | 72464 | 2883 | 3.979%
Nashua - Pennichuck Water West | NH | 56099.1725 | 0 | 56099.1725 |  | 86600 | -30500.8275 | -35.22%
Boothbay - Wiscasset Road | ME | 49011.5 | 119498 | -70486.5 | -58.99% | 86567 | -37555.5 | -43.38%
Thorndike - Leonard Road | ME | 51355 | 122402.4 | -71047.4 | -58.04% | 123797.8 | -72442.8 | -58.52%
Topsham - Solarize LLC | ME | 58384 | 86203.84 | -27819.84 | -32.27% | 76396 | -18012 | -23.58%
Cherryfield - 727 North Main St (IRA) | ME | 140386 | 200499 | -60113 | -29.98% | 150911.3 | -10525.3 | -6.974%
ME: Bucksport - 258 Route 1 (IRA) | ME | 123392 | 238592.704 | -115200.704 | -48.28% | 280249.318 | -156857.318 | -55.97%
ME: Union - Route 131 (IRA) | ME | 148160.25 | 224434.6 | -76274.35 | -33.99% | 147799 | 361.25 | 0.2444%

## 1st Qtr
ALIGNED |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 819670.3894 | 1203231.154 | -383560.7646 | -31.88% | 1250277.418 | -430607.0286 | -34.44%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 57554.105 | 57564.45 | -10.345 | -0.01797% | 116039.2 | -58485.095 | -50.4%
Loudon - 7046 Pleasant Street | NH | 59981.3619 | 98620.42 | -38639.0581 | -39.18% | 109453.8 | -49472.4381 | -45.2%
Nashua - Pennichuck Water East | NH | 75347 | 55415.74 | 19931.26 | 35.97% | 72464 | 2883 | 3.979%
Nashua - Pennichuck Water West | NH | 56099.1725 | 0 | 56099.1725 |  | 86600 | -30500.8275 | -35.22%
Boothbay - Wiscasset Road | ME | 49011.5 | 119498 | -70486.5 | -58.99% | 86567 | -37555.5 | -43.38%
Thorndike - Leonard Road | ME | 51355 | 122402.4 | -71047.4 | -58.04% | 123797.8 | -72442.8 | -58.52%
Topsham - Solarize LLC | ME | 58384 | 86203.84 | -27819.84 | -32.27% | 76396 | -18012 | -23.58%
Cherryfield - 727 North Main St (IRA) | ME | 140386 | 200499 | -60113 | -29.98% | 150911.3 | -10525.3 | -6.974%
ME: Bucksport - 258 Route 1 (IRA) | ME | 123392 | 238592.704 | -115200.704 | -48.28% | 280249.318 | -156857.318 | -55.97%
ME: Union - Route 131 (IRA) | ME | 148160.25 | 224434.6 | -76274.35 | -33.99% | 147799 | 361.25 | 0.2444%

## 2nd Qtr
ALIGNED |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 0 | 0 | 0 |  | 0 | 0
Loudon - 7046 Pleasant Street | NH | 0 | 0 | 0 |  | 0 | 0
Nashua - Pennichuck Water East | NH | 0 | 0 | 0 |  | 0 | 0
Nashua - Pennichuck Water West | NH | 0 | 0 | 0 |  | 0 | 0
Boothbay - Wiscasset Road | ME | 0 | 0 | 0 |  | 0 | 0
Thorndike - Leonard Road | ME | 0 | 0 | 0 |  | 0 | 0
Topsham - Solarize LLC | ME | 0 | 0 | 0 |  | 0 | 0
Cherryfield - 727 North Main St (IRA) | ME | 0 | 0 | 0 |  | 0 | 0
ME: Bucksport - 258 Route 1 (IRA) | ME | 0 | 0 | 0 |  | 0 | 0
ME: Union - Route 131 (IRA) | ME | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
ALIGNED |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 0 | 0 | 0 |  | 0 | 0
Loudon - 7046 Pleasant Street | NH | 0 | 0 | 0 |  | 0 | 0
Nashua - Pennichuck Water East | NH | 0 | 0 | 0 |  | 0 | 0
Nashua - Pennichuck Water West | NH | 0 | 0 | 0 |  | 0 | 0
Boothbay - Wiscasset Road | ME | 0 | 0 | 0 |  | 0 | 0
Thorndike - Leonard Road | ME | 0 | 0 | 0 |  | 0 | 0
Topsham - Solarize LLC | ME | 0 | 0 | 0 |  | 0 | 0
Cherryfield - 727 North Main St (IRA) | ME | 0 | 0 | 0 |  | 0 | 0
ME: Bucksport - 258 Route 1 (IRA) | ME | 0 | 0 | 0 |  | 0 | 0
ME: Union - Route 131 (IRA) | ME | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
ALIGNED |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Conway -US 302 and Stirch Road | NH | 0 | 0 | 0 |  | 0 | 0
Loudon - 7046 Pleasant Street | NH | 0 | 0 | 0 |  | 0 | 0
Nashua - Pennichuck Water East | NH | 0 | 0 | 0 |  | 0 | 0
Nashua - Pennichuck Water West | NH | 0 | 0 | 0 |  | 0 | 0
Boothbay - Wiscasset Road | ME | 0 | 0 | 0 |  | 0 | 0
Thorndike - Leonard Road | ME | 0 | 0 | 0 |  | 0 | 0
Topsham - Solarize LLC | ME | 0 | 0 | 0 |  | 0 | 0
Cherryfield - 727 North Main St (IRA) | ME | 0 | 0 | 0 |  | 0 | 0
ME: Bucksport - 258 Route 1 (IRA) | ME | 0 | 0 | 0 |  | 0 | 0
ME: Union - Route 131 (IRA) | ME | 0 | 0 | 0 |  | 0 | 0

## Jan
ALIGNED |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 819670.3894 | 1203231.154 | -383560.7646 | -31.88% | 1250277.418 | -430607.0286 | -34.44%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Conway -US 302 and Stirch Road | NH | 57554.105 | 57564.45 | -10.345 | -0.01797% | 116039.2 | -58485.095 | -50.4% | 1.Site production was low on 01/15,01/17,01/18,01/25,01/26 due to snow
Loudon - 7046 Pleasant Street | NH | 59981.3619 | 98620.42 | -38639.0581 | -39.18% | 109453.8 | -49472.4381 | -45.2% | 1.Site production was low on 01/07,01/17,01/18,01/19,01/25 to 01/27 due to snow
Nashua - Pennichuck Water East | NH | 75347 | 55415.74 | 19931.26 | 35.97% | 72464 | 2883 | 3.979% | 1.Weather station is experiencing seasonal shading from 2023. Production is not being impacted but the expected energy value reporting low due to shading.GHI has not communicated since 10/15/24. 2. Site tripped offline at 16:35 on 01/18 and it came back online at 13:00 on 01/19 3.Site tripped offline from 00:30 to 11:45 on 01/21 | 1.SR107541 2. SR114719 3.SR114802 | 1.Pending 2.Closed 3.Closed | SR114719 | SR114802
Nashua - Pennichuck Water West | NH | 56099.1725 | 0 | 56099.1725 |  | 86600 | -30500.8275 | -35.22% | 1.ALB pyranometer is being RMA'd, on 11/14 weather station has removed for RMA'd process 2.Site tripped offline at 17:15 on 01/18 and it came back online at 14:00 on 01/19 3.Site tripped offline from 00:30 to 10:00 on 01/21 | 1.SR110034 2.SR114720 3.SR114803 | 1.Closed 2.Closed 3.Closed | SR114720 | SR114803
Boothbay - Wiscasset Road | ME | 49011.5 | 119498 | -70486.5 | -58.99% | 86567 | -37555.5 | -43.38% | 1.Site tripped offline from 11:15 to 11:45 on 01/13 due to technician was on site | 1. SR113647 | 1.Closed
Thorndike - Leonard Road | ME | 51355 | 122402.4 | -71047.4 | -58.04% | 123797.8 | -72442.8 | -58.52% | 1.Site production was low on 01/01, 01/07,01/11,01/15,01/17,01/18,01/25 due to snow
Topsham - Solarize LLC | ME | 58384 | 86203.84 | -27819.84 | -32.27% | 76396 | -18012 | -23.58% | 1.Site production was low on 01/07,01/17,01/18,01/19,01/25 to 01/27 due to snow 2.Weather station reading constant values during non production hours on 01/07 and again on 01/17
Cherryfield - 727 North Main St (IRA) | ME | 140386 | 200499 | -60113 | -29.98% | 150911.3 | -10525.3 | -6.974% | 1.Site tripped offline from 06:45 to 11:15 on 01/28 2.Site production was low on 01/01,01/07,01/17/01/18 due to snow | 1.SR115445,SR115446 | 1.Closed | SR115446
ME: Bucksport - 258 Route 1 (IRA) | ME | 123392 | 238592.704 | -115200.704 | -48.28% | 280249.318 | -156857.318 | -55.97% | 1.Site production was low on 01/01, 01/07,01/11,01/15,01/17,01/18,01/25 due to snow
ME: Union - Route 131 (IRA) | ME | 148160.25 | 224434.6 | -76274.35 | -33.99% | 147799 | 361.25 | 0.2444% | 1.Site started production at 11:45 on 01/01 and again at 13:15 on 01/07 2.Site production was low on 01/01, 01/07,01/11,01/15,01/17,01/18,01/25 due to snow

## Feb
ALIGNED |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Mar
ALIGNED |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Apr
ALIGNED |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## May
ALIGNED |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Jun
ALIGNED |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Jul
ALIGNED |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Aug
ALIGNED |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Sep
ALIGNED |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Oct
ALIGNED |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Nov
ALIGNED |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Dec
ALIGNED |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Conway -US 302 and Stirch Road | NH
Loudon - 7046 Pleasant Street | NH
Nashua - Pennichuck Water East | NH
Nashua - Pennichuck Water West | NH
Boothbay - Wiscasset Road | ME
Thorndike - Leonard Road | ME
Topsham - Solarize LLC | ME
Cherryfield - 727 North Main St (IRA) | ME
ME: Bucksport - 258 Route 1 (IRA) | ME
ME: Union - Route 131 (IRA) | ME

## Sites
Portfolio: | ALIGNED
Site DAS Name | Site | State | Update | DAS
Conway - Lake | Conway -US 302 and Stirch Road | NH | AEF | PowerTrack
Loudon Pleasant Street Solar GSSG | Loudon - 7046 Pleasant Street | NH | AEF | PowerTrack
Pennichuck Water East GSSG | Nashua - Pennichuck Water East | NH | AEF | PowerTrack
Pennichuck Water West GSSG | Nashua - Pennichuck Water West | NH | AEF | PowerTrack
Boothbay Solar | Boothbay - Wiscasset Road | ME |  | PowerTrack
Thorndike Solar | Thorndike - Leonard Road | ME |  | PowerTrack
Topsham Solar | Topsham - Solarize LLC | ME |  | PowerTrack
Cherryfield | Cherryfield - 727 North Main St (IRA) | ME |  | PowerTrack
Bucksport Solar 1, LLC | ME: Bucksport - 258 Route 1 (IRA) | ME |  | PowerTrack
Union ME 1, LLC | ME: Union - Route 131 (IRA) | ME |  | PowerTrack