## Year to Date
CITI |  |  | PPA Modeled Output | Production VS Acual | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1077899.7437 | 909255 | 118.5% | 1039151.21 | 38748.5337 | 3.729% | 1335057.45 | -257157.7063 | -19.26%
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 29907.75 | 26935 | 111% | 27636.82 | 2270.93 | 8.217% | 12815 | 17092.75 | 133.4%
CA: Antioch MC CUP - Citi | CA | 96221 | 88104 | 109.2% | 88887.57 | 7333.43 | 8.25% | 111394 | -15173 | -13.62%
CA: Clovis - Citi | CA | 38863 | 30338 | 128.1% | 45558.52 | -6695.52 | -14.7% | 48257 | -9394 | -19.47%
CA: Elk Grove MOB - Citi | CA | 59551 | 55259 | 107.8% | 48547.5 | 11003.5 | 22.67% | 70129 | -10578 | -15.08%
CA: Elk Grove Promenade - Citi | CA | 32332.75 | 30505 | 106% | 30049.47 | 2283.28 | 7.598% | 38777 | -6444.25 | -16.62%
CA: Fresno Sequioa - Citi | CA | 64964 | 54436 | 119.3% | 51750.83 | 13213.17 | 25.53% | 71651 | -6687 | -9.333%
CA: Fresno MOB - Citi | CA | 27137.12 | 21918 | 123.8% | 23916.15 | 3220.97 | 13.47% | 33060 | -5922.88 | -17.92%
CA: Modesto Bangs - Citi | CA | 14098.12 | 12108 | 116.4% | 13407.72 | 690.4 | 5.149% | 22338 | -8239.88 | -36.89%
CA: Napa Data Center - Citi | CA | 17610.1237 | 18607 | 94.64% | 19129.8 | -1519.6763 | -7.944% | 16949.86 | 660.2637 | 3.895%
CA: Petaluma MOB - Citi | CA | 42937 | 45402 | 94.57% | 43307.93 | -370.93 | -0.8565% | 35080.59 | 7856.41 | 22.4%
CA: Pleasanton Tec Ctr - Citi | CA | 64020.5 | 61178 | 104.6% | 61095.86 | 2924.64 | 4.787% | 76137 | -12116.5 | -15.91%
CA: Rancho Cordova - Citi | CA | 111012 | 89790 | 123.6% | 87785.72 | 23226.28 | 26.46% | 95489 | 15523 | 16.26%
CA: S Sacramento Wyndham - Citi | CA | 35963.5 | 47416 | 75.85% | 46976.74 | -11013.24 | -23.44% | 68199 | -32235.5 | -47.27%
CA: Sacramento Point West - Citi | CA | 91476 | 90699 | 100.9% | 93953.55 | -2477.55 | -2.637% | 126514 | -35038 | -27.69%
CA: San Jose FHC - Citi | CA | 20262.75 | 22812 | 88.82% | 19362.22 | 900.53 | 4.651% | 27948 | -7685.25 | -27.5%
CA: San Jose MOB - Citi | CA | 31665 | 37720 | 83.95% | 26392.12 | 5272.88 | 19.98% | 38060 | -6395 | -16.8%
CA: Selma - Citi | CA | 18075.5 | 15404 | 117.3% | 17013.05 | 1062.45 | 6.245% | 20927 | -2851.5 | -13.63%
CA: Vacaville Hospital | CA | 105512.25 | 130651 | 80.76% | 131445.6 | -25933.35 | -19.73% | 205828 | -100315.75 | -48.74%
CA: Manteca - KP Manteca Hospital | CA | 44133.63 | 29973 | 147.2% | 42733.64 | 1399.99 | 3.276% | 53533 | -9399.37 | -17.56%
Sacramento - KP South Sacramento HSP | CA | 132156.75 | 0 | 0 | 120200.4 | 11956.35 | 9.947% | 161971 | -29814.25 | -18.41%

## 1st Qtr
CITI |  |  | PPA Modeled Output | Production VS Acual | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1077899.7437 | 909255 | 118.5% | 1039151.21 | 38748.5337 | 3.729% | 1335057.45 | -257157.7063 | -19.26%
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 29907.75 | 26935 | 111% | 27636.82 | 2270.93 | 8.217% | 12815 | 17092.75 | 133.4%
CA: Antioch MC CUP - Citi | CA | 96221 | 88104 | 109.2% | 88887.57 | 7333.43 | 8.25% | 111394 | -15173 | -13.62%
CA: Clovis - Citi | CA | 38863 | 30338 | 128.1% | 45558.52 | -6695.52 | -14.7% | 48257 | -9394 | -19.47%
CA: Elk Grove MOB - Citi | CA | 59551 | 55259 | 107.8% | 48547.5 | 11003.5 | 22.67% | 70129 | -10578 | -15.08%
CA: Elk Grove Promenade - Citi | CA | 32332.75 | 30505 | 106% | 30049.47 | 2283.28 | 7.598% | 38777 | -6444.25 | -16.62%
CA: Fresno Sequioa - Citi | CA | 64964 | 54436 | 119.3% | 51750.83 | 13213.17 | 25.53% | 71651 | -6687 | -9.333%
CA: Fresno MOB - Citi | CA | 27137.12 | 21918 | 123.8% | 23916.15 | 3220.97 | 13.47% | 33060 | -5922.88 | -17.92%
CA: Modesto Bangs - Citi | CA | 14098.12 | 12108 | 116.4% | 13407.72 | 690.4 | 5.149% | 22338 | -8239.88 | -36.89%
CA: Napa Data Center - Citi | CA | 17610.1237 | 18607 | 94.64% | 19129.8 | -1519.6763 | -7.944% | 16949.86 | 660.2637 | 3.895%
CA: Petaluma MOB - Citi | CA | 42937 | 45402 | 94.57% | 43307.93 | -370.93 | -0.8565% | 35080.59 | 7856.41 | 22.4%
CA: Pleasanton Tec Ctr - Citi | CA | 64020.5 | 61178 | 104.6% | 61095.86 | 2924.64 | 4.787% | 76137 | -12116.5 | -15.91%
CA: Rancho Cordova - Citi | CA | 111012 | 89790 | 123.6% | 87785.72 | 23226.28 | 26.46% | 95489 | 15523 | 16.26%
CA: S Sacramento Wyndham - Citi | CA | 35963.5 | 47416 | 75.85% | 46976.74 | -11013.24 | -23.44% | 68199 | -32235.5 | -47.27%
CA: Sacramento Point West - Citi | CA | 91476 | 90699 | 100.9% | 93953.55 | -2477.55 | -2.637% | 126514 | -35038 | -27.69%
CA: San Jose FHC - Citi | CA | 20262.75 | 22812 | 88.82% | 19362.22 | 900.53 | 4.651% | 27948 | -7685.25 | -27.5%
CA: San Jose MOB - Citi | CA | 31665 | 37720 | 83.95% | 26392.12 | 5272.88 | 19.98% | 38060 | -6395 | -16.8%
CA: Selma - Citi | CA | 18075.5 | 15404 | 117.3% | 17013.05 | 1062.45 | 6.245% | 20927 | -2851.5 | -13.63%
CA: Vacaville Hospital | CA | 105512.25 | 130651 | 80.76% | 131445.6 | -25933.35 | -19.73% | 205828 | -100315.75 | -48.74%
CA: Manteca - KP Manteca Hospital | CA | 44133.63 | 29973 | 147.2% | 42733.64 | 1399.99 | 3.276% | 53533 | -9399.37 | -17.56%
Sacramento - KP South Sacramento HSP | CA | 132156.75 | 0 |  | 120200.4 | 11956.35 | 9.947% | 161971 | -29814.25

## 2nd Qtr
CITI |  |  | PPA Modeled Output | Production VS Acual | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Antioch MC CUP - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Clovis - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Elk Grove MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Elk Grove Promenade - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Fresno Sequioa - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Fresno MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Modesto Bangs - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Napa Data Center - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Petaluma MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Pleasanton Tec Ctr - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Rancho Cordova - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: S Sacramento Wyndham - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Sacramento Point West - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: San Jose FHC - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: San Jose MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Selma - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Vacaville Hospital | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Manteca - KP Manteca Hospital | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
Sacramento - KP South Sacramento HSP | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0

## 3rd Qtr
CITI |  |  | PPA Modeled Output | Production VS Acual | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Antioch MC CUP - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Clovis - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Elk Grove MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Elk Grove Promenade - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Fresno Sequioa - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Fresno MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Modesto Bangs - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Napa Data Center - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Petaluma MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Pleasanton Tec Ctr - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Rancho Cordova - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: S Sacramento Wyndham - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Sacramento Point West - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: San Jose FHC - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: San Jose MOB - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Selma - Citi | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Vacaville Hospital | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
CA: Manteca - KP Manteca Hospital | CA | 0 | 0 | #DIV/0! | 0 | 0 |  | 0 | 0
Sacramento - KP South Sacramento HSP | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0

## 4th Qtr
CITI |  |  | PPA Modeled Output | Production VS Acual | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | %
CA: Antioch Deer Valley - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Antioch MC CUP - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Clovis - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Elk Grove MOB - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Elk Grove Promenade - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Fresno Sequioa - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Fresno MOB - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Modesto Bangs - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Napa Data Center - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Petaluma MOB - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Pleasanton Tec Ctr - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Rancho Cordova - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: S Sacramento Wyndham - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Sacramento Point West - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: San Jose FHC - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: San Jose MOB - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Selma - Citi | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Vacaville Hospital | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
CA: Manteca - KP Manteca Hospital | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0
Sacramento - KP South Sacramento HSP | CA | 0 | 0 |  | 0 | 0 |  | 0 | 0

## Jan
CITI |  |  | PPA Modeled Output | Production VS Acual | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 1077899.7437 | 909255 | 118.5% | 1039151.21 | 38748.5337 | 3.729% | 1335057.45 | -257157.7063 | -19.26%
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
CA: Antioch Deer Valley - Citi | CA | 29907.75 | 26935 | 111% | 27636.82 | 2270.93 | 8.217% | 12815 | 17092.75 | 133.4% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear lower because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
CA: Antioch MC CUP - Citi | CA | 96221 | 88104 | 109.2% | 88887.57 | 7333.43 | 8.25% | 111394 | -15173 | -13.62% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
CA: Clovis - Citi | CA | 38863 | 30338 | 128.1% | 45558.52 | -6695.52 | -14.7% | 48257 | -9394 | -19.47% | 1. Inverter 1 was offline from 01/01 to 01/21 at 07:00. | 1. SR111334 | 1. closed
CA: Elk Grove MOB - Citi | CA | 59551 | 55259 | 107.8% | 48547.5 | 11003.5 | 22.67% | 70129 | -10578 | -15.08% | 1.1 Burnt / Damaged module identified on 2025 PM | 1.SR112807 | 1.Pending
CA: Elk Grove Promenade - Citi | CA | 32332.75 | 30505 | 106% | 30049.47 | 2283.28 | 7.598% | 38777 | -6444.25 | -16.62% | 1. Inverter 2.1 was tripped offline at 12:45 on 01/13 and back online on 08:15 on 01/15 and was again tripped offline at 12:45 on 01/27. | 1. SR115417, SR114544 | 1.Pending | SR114544
CA: Fresno Sequioa - Citi | CA | 64964 | 54436 | 119.3% | 51750.83 | 13213.17 | 25.53% | 71651 | -6687 | -9.333%
CA: Fresno MOB - Citi | CA | 27137.12 | 21918 | 123.8% | 23916.15 | 3220.97 | 13.47% | 33060 | -5922.88 | -17.92% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
CA: Modesto Bangs - Citi | CA | 14098.12 | 12108 | 116.4% | 13407.72 | 690.4 | 5.149% | 22338 | -8239.88 | -36.89% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
CA: Napa Data Center - Citi | CA | 17610.1237 | 18607 | 94.64% | 19129.8 | -1519.6763 | -7.944% | 16949.86 | 660.2637 | 3.895%
CA: Petaluma MOB - Citi | CA | 42937 | 45402 | 94.57% | 43307.93 | -370.93 | -0.8565% | 35080.59 | 7856.41 | 22.4% | 1. Inverter 10 and 11 has heavy shading at evening. 2. Inverter 14 being RMA'd. 3. Meter was not reporting full production of inverters for whole month. | 2. SR105254, SR109731 3. SR106156 | 2. Closed 3. Closed | SR109731 | SR106156
CA: Pleasanton Tec Ctr - Citi | CA | 64020.5 | 61178 | 104.6% | 61095.86 | 2924.64 | 4.787% | 76137 | -12116.5 | -15.91% | 1. Inverter 24 was offline at 07:00 on 01/16 and back online at 07:00 on 01/17. 2. Inverter 3 was offline at 09:15 on 12/16, and the technician later isolated the inverter. | 1. SR114690 2. SR112824 | 1. Closed 2. Pending | SR112824
CA: Rancho Cordova - Citi | CA | 111012 | 89790 | 123.6% | 87785.72 | 23226.28 | 26.46% | 95489 | 15523 | 16.26%
CA: S Sacramento Wyndham - Citi | CA | 35963.5 | 47416 | 75.85% | 46976.74 | -11013.24 | -23.44% | 68199 | -32235.5 | -47.27% | 1. The Pad 4 inverters tripped offline at 10:30 on 11/12 with the alarm ‘Grid Phase Voltage Out of Range’ and remained offline for the rest of the month. | 1. SR111062 | 1. Pending
CA: Sacramento Point West - Citi | CA | 91476 | 90699 | 100.9% | 93953.55 | -2477.55 | -2.637% | 126514 | -35038 | -27.69% | 1. Inverter 5.4 was tripped offline at 08:00 on 11/08 and reporting "arc protection" and remained offline for the rest of the month. | 1. SR111343 | 1. Pending
CA: San Jose FHC - Citi | CA | 20262.75 | 22812 | 88.82% | 19362.22 | 900.53 | 4.651% | 27948 | -7685.25 | -27.5% | 1. All inverters experiencing morning shading issue.
CA: San Jose MOB - Citi | CA | 31665 | 37720 | 83.95% | 26392.12 | 5272.88 | 19.98% | 38060 | -6395 | -16.8% | 1. Inverter 2 has been tripping on and off for most days of the month and is currently under RMA. | 1. SR112841, SR115482 | 1. New | SR115482
CA: Selma - Citi | CA | 18075.5 | 15404 | 117.3% | 17013.05 | 1062.45 | 6.245% | 20927 | -2851.5 | -13.63% | 1. Inverters 3 and 4 had morning shading and Inverter 1 is experiencing shading from midday to evening. | 1. SR101090 | 1. closed
CA: Vacaville Hospital | CA | 105512.25 | 130651 | 80.76% | 131445.6 | -25933.35 | -19.73% | 205828 | -100315.75 | -48.74% | 1. Inverters 35 to 47 were offline for whole month and was LOTO'd. 2. Inverter 24 started late on most days during the month and was reporting ‘insulation faults.’ After the technician reset the inverter, it came back online at 10:30 on 01/21. | 1. SR107287 2. SR114170 | 1. pending 2. Closed | SR114170
CA: Manteca - KP Manteca Hospital | CA | 44133.63 | 29973 | 147.2% | 42733.64 | 1399.99 | 3.276% | 53533 | -9399.37 | -17.56% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Sacramento - KP South Sacramento HSP | CA | 132156.75 |  |  | 120200.4 | 11956.35 | 9.947% | 161971 | -29814.25 | -18.41% | 1. Inverter 5.3 was derating intermittently for whole month. 2. Inverter 4.1 is derating and is under RMA. | 1. SR106356, SR112932 2. SR108432 | 1. Pending 2. Pending | SR112932 | SR108432

## Feb
CITI |  |  | PPA Modeled Output | Production VS Acual | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Mar
CITI |  |  | PPA Modeled Output | Production VS Acual | Q1 Production Vs PPA | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Apr
CITI |  |  | PPA Modeled Output | Production VS Acual | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## May
CITI |  |  | PPA Modeled Output | Production VS Acual | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Jun
CITI |  |  | PPA Modeled Output | Production VS Acual | Q2 Production Vs PPA | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Jul
CITI |  |  | PPA Modeled Output | Production VS Acual | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Aug
CITI |  |  | PPA Modeled Output | Production VS Acual | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Sep
CITI |  |  | PPA Modeled Output | Production VS Acual | Q3 Production Vs PPA | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 |  | 89% | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
CA: Antioch Deer Valley - Citi | CA
CA: Antioch MC CUP - Citi | CA
CA: Clovis - Citi | CA
CA: Elk Grove MOB - Citi | CA
CA: Elk Grove Promenade - Citi | CA
CA: Fresno Sequioa - Citi | CA
CA: Fresno MOB - Citi | CA
CA: Modesto Bangs - Citi | CA
CA: Napa Data Center - Citi | CA
CA: Petaluma MOB - Citi | CA
CA: Pleasanton Tec Ctr - Citi | CA
CA: Rancho Cordova - Citi | CA
CA: S Sacramento Wyndham - Citi | CA
CA: Sacramento Point West - Citi | CA
CA: San Jose FHC - Citi | CA
CA: San Jose MOB - Citi | CA
CA: Selma - Citi | CA
CA: Vacaville Hospital | CA
CA: Manteca - KP Manteca Hospital | CA
Sacramento - KP South Sacramento HSP | CA

## Oct
CITI |  |  | PPA Modeled Output | Production VS Actual | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA |  |  | #DIV/0!

## Nov
CITI |  |  | PPA Modeled Output | Production VS Acual | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Dec
CITI |  |  | PPA Modeled Output | Production VS Acual | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | #DIV/0! | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual |  |  | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
CA: Antioch Deer Valley - Citi | CA |  |  | #DIV/0!
CA: Antioch MC CUP - Citi | CA |  |  | #DIV/0!
CA: Clovis - Citi | CA |  |  | #DIV/0!
CA: Elk Grove MOB - Citi | CA |  |  | #DIV/0!
CA: Elk Grove Promenade - Citi | CA |  |  | #DIV/0!
CA: Fresno Sequioa - Citi | CA |  |  | #DIV/0!
CA: Fresno MOB - Citi | CA |  |  | #DIV/0!
CA: Modesto Bangs - Citi | CA |  |  | #DIV/0!
CA: Napa Data Center - Citi | CA |  |  | #DIV/0!
CA: Petaluma MOB - Citi | CA |  |  | #DIV/0!
CA: Pleasanton Tec Ctr - Citi | CA |  |  | #DIV/0!
CA: Rancho Cordova - Citi | CA |  |  | #DIV/0!
CA: S Sacramento Wyndham - Citi | CA |  |  | #DIV/0!
CA: Sacramento Point West - Citi | CA |  |  | #DIV/0!
CA: San Jose FHC - Citi | CA |  |  | #DIV/0!
CA: San Jose MOB - Citi | CA |  |  | #DIV/0!
CA: Selma - Citi | CA |  |  | #DIV/0!
CA: Vacaville Hospital | CA |  |  | #DIV/0!
CA: Manteca - KP Manteca Hospital | CA |  |  | #DIV/0!
Sacramento - KP South Sacramento HSP | CA

## Sites
Portfolio: | CITI
Site DAS Name | Site | State | Update | DAS
KP6 - Antioch Deer Valley - CN5701 | CA: Antioch Deer Valley - Citi | CA
KP6 - Antioch MC CUP - CN5701 | CA: Antioch MC CUP - Citi | CA
Clovis MOB - CN2950 | CA: Clovis - Citi | CA
Elk Grove MOB - CN73727 | CA: Elk Grove MOB - Citi | CA
Elk Grove Promenade - CN 6950 | CA: Elk Grove Promenade - Citi | CA
Fresno Sequioa Hospital | CA: Fresno Sequioa - Citi | CA
Fresno Medical Offices - CN7201 | CA: Fresno MOB - Citi | CA
Modesto Bangs MOB | CA: Modesto Bangs - Citi | CA
KP - Napa Data Center - CN2250 | CA: Napa Data Center - Citi | CA
Kaiser - Petaluma Medical Office - CN2001 | CA: Petaluma MOB - Citi | CA
Pleasanton PTC - Bldg B - CN470B | CA: Pleasanton Tec Ctr - Citi | CA
Rancho Cordova - Groundmount | CA: Rancho Cordova - Citi | CA
South Sacramento Wyndham CN6014 | CA: S Sacramento Wyndham - Citi | CA
Sacramento Point West MOB | CA: Sacramento Point West - Citi | CA
KP6 - San Jose FHC - CN6320 | CA: San Jose FHC - Citi | CA
KP6 - San Jose MOB - CN6310 | CA: San Jose MOB - Citi | CA
KP6 - Selma Medical Offices - CN8450 | CA: Selma - Citi | CA
Vacaville Hospital - CN6701 | CA: Vacaville Hospital | CA
Kaiser, KP6 - Manteca Hospital | CA: Manteca - KP Manteca Hospital | CA
KP6-South Sacramento Hospital | Sacramento - KP South Sacramento HSP | CA