## Year to Date
GoodFinch |  |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  |  | 673228.7572 | 830575.1228 | -157346.3656 | -18.94% | 1003576.6789 | -330347.9217 | -32.92%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | SOL-10748 | 9004.9933 | 7231.484 | 1773.5093 | 24.52% | 9510.242 | -505.2487 | -5.313%
AZ: Tempe - ASU - Fulton | AZ | SOL-10749 | 24570 | 34024.15 | -9454.15 | -27.79% | 33955.49 | -9385.49 | -27.64%
AZ: Superior - JFK Elementary | AZ | SOL-10758 | 16391.7252 | 0 | 16391.7252 |  | 15539.96 | 851.7652 | 5.481%
AZ: Tempe - ASU - Noble | AZ | SOL-10750 | 9327.4365 | 12169.46 | -2842.0235 | -23.35% | 6835.673 | 2491.7635 | 36.45%
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751 | 24354.65 | 16507.8 | 7846.85 | 47.53% | 20866.22 | 3488.43 | 16.72%
AZ: Tempe - ASU - PE East | AZ | SOL-10752 | 20670.7491 | 12989.08 | 7681.6691 | 59.14% | 29627.22 | -8956.4709 | -30.23%
AZ: Tempe - ASU - Schwada | AZ | SOL-10753 | 9491.8432 | 5347.702 | 4144.1412 | 77.49% | 13306.18 | -3814.3368 | -28.67%
AZ: Phoenix - Starshine Academy | AZ | SOL-10757 | 5271.3087 | 0 | 5271.3087 |  | 4784.971 | 486.3377 | 10.16%
AZ: Yuma Airport | AZ | SOL-10754 | 59418 | 76908.05 | -17490.05 | -22.74% | 57028 | 2390 | 4.191%
AZ: Globe - Gila CC | AZ | SOL-10751 | 12388.8416 | 0 | 12388.8416 |  | 10824 | 1564.8416 | 14.46%
AZ: Payson - Gila CC | AZ | SOL-10748 | 8293.3188 | 3762.081 | 4531.2378 | 120.4% | 6282 | 2011.3188 | 32.02%
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759 | 13026.26 | 0 | 13026.26 |  | 25751.68 | -12725.42 | -49.42%
AZ: Tempe - SCNM | AZ | SOL-10760 | 52887.75 | 25875.32 | 27012.43 | 104.4% | 50903.38 | 1984.37 | 3.898%
DE: Newark - Clayton Hall | DE | SOL-10820 | 5559 | 9437.86 | -3878.86 | -41.1% | 12566.5 | -7007.5 | -55.76%
DE: Newark - UOD Field House | DE | SOL-10821 | 26680 | 0 | 26680 |  | 30217.26 | -3537.26 | -11.71%
DE: Newark - UOD 461 Wyoming | DE | SOL-10819 | 7520 | 15243.92 | -7723.92 | -50.67% | 23591.7 | -16071.7 | -68.12%
MD: Presston - Bird-in-Hand | MD | SOL-10092 | 91304 | 117809.3 | -26505.3 | -22.5% | 122498.9 | -31194.9 | -25.47%
MD: Easton - Shortall | MD | SOL-10091 | 91515 | 80289.03 | 11225.97 | 13.98% | 134659.8 | -43144.8 | -32.04%
MA: Boston - Seaport Solar | MA | SOL-10772 | 18942.4008 | 18068.27 | 874.1308 | 4.838% | 25803.42 | -6861.0192 | -26.59%
MA: Dedham - Sprague Street | MA | SOL-10773 | 34505 | 0 | 34505 |  | 49368.09 | -14863.09 | -30.11%
MA: Boston - Summer Street | MA | SOL-10764 | 0 | 93696.96 | -93696.96 | -100% | 103373.9 | -103373.9 | -100%
MA: Leominster - Spectro Coatings | MA | SOL-10074 | 3325.25 | 12760.85 | -9435.6 | -73.94% | 8831.65 | -5506.4 | -62.35%
MA: Braintree - RCAB | MA | SOL-10838 | 15813.9004 | 39677.52 | -23863.6196 | -60.14% | 44518.44 | -28704.5396 | -64.48%
NH: Rochester - Portland Street | NH | SOL-10771 | 762.9 | 3328.5 | -2565.6 | -77.08% | 4408.9 | -3646 | -82.7%
NH: Portsmouth - Portsmouth HS | NH | SOL-10769 | 6125.875 | 14296.01 | -8170.135 | -57.15% | 8418.724 | -2292.849 | -27.24%
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770 | 6896.25 | 18208.68 | -11312.43 | -62.13% | 9313.232 | -2416.982 | -25.95%
NH: Rochester - Rochester MS | NH | SOL-10765 | 3176.5037 | 19895.92 | -16719.4163 | -84.03% | 7096.364 | -3919.8603 | -55.24%
NH Rochester - Spaulding HS | NH | SOL-10767 | 1456.3105 | 6125.802 | -4669.4915 | -76.23% | 2864.615 | -1408.3045 | -49.16%
NH: Rochester - McClelland ES | NH | SOL-10766 | 1064.4397 | 5483.281 | -4418.8413 | -80.59% | 2818.845 | -1754.4053 | -62.24%
NH: Rochester - Brock St Vocational | NH | SOL-10768 | 995.9985 | 5674.273 | -4678.2745 | -82.45% | 4588.097 | -3592.0985 | -78.29%
OH: Cleveland - CV Kinsman | OH | SOL-10762 | 2959.9922 | 54435.86 | -51475.8678 | -94.56% | 47598 | -44638.0078 | -93.78%
OH: Cleveland - CV Wooster | OH | SOL-10763 | 4648.75 | 0 | 4648.75 |  | 9342.087 | -4693.337 | -50.24%
PR: Aguadilla - Coca Cola | PR | SOL-10072 | 13384 | 14903.9 | -1519.9 | -10.2% | 9202.786 | 4181.214 | 45.43%
PR: Bayamon - Coca Cola | PR | SOL-10073 | 50249 | 63740.88 | -13491.88 | -21.17% | 32974.41 | 17274.59 | 52.39%
PR: Carolina - St. Francis | PR | SOL-10034 | 16195 | 33342.92 | -17147.92 | -51.43% | 17655.34 | -1460.34 | -8.271%
DC: Chevy Chase -Sinai | DC | SOL-10028 | 3308.31 | 6834.149 | -3525.839 | -51.59% | 4354.135 | -1045.825 | -24.02%
DC: Washington - Weinberg 1 | DC | SOL-10039 | 531 | 766.543 | -235.543 | -30.73% | 748.2426 | -217.2426 | -29.03%
DC: Washington - Weinberg 2 | DC | SOL-10045 | 567 | 849.3444 | -282.3444 | -33.24% | 705.4574 | -138.4574 | -19.63%
DC: Washington - Weinberg 3 | DC | SOL-10042 | 646 | 890.2234 | -244.2234 | -27.43% | 842.7679 | -196.7679 | -23.35%

## 1st Qtr
GoodFinch |  |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  |  | 673228.7572 | 830575.1228 | -157346.3656 | -18.94% | 1003576.6789 | -330347.9217 | -32.92%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | SOL-10748 | 9004.9933 | 7231.484 | 1773.5093 | 24.52% | 9510.242 | -505.2487 | -5.313%
AZ: Tempe - ASU - Fulton | AZ | SOL-10749 | 24570 | 34024.15 | -9454.15 | -27.79% | 33955.49 | -9385.49 | -27.64%
AZ: Superior - JFK Elementary | AZ | SOL-10758 | 16391.7252 | 0 | 16391.7252 |  | 15539.96 | 851.7652 | 5.481%
AZ: Tempe - ASU - Noble | AZ | SOL-10750 | 9327.4365 | 12169.46 | -2842.0235 | -23.35% | 6835.673 | 2491.7635 | 36.45%
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751 | 24354.65 | 16507.8 | 7846.85 | 47.53% | 20866.22 | 3488.43 | 16.72%
AZ: Tempe - ASU - PE East | AZ | SOL-10752 | 20670.7491 | 12989.08 | 7681.6691 | 59.14% | 29627.22 | -8956.4709 | -30.23%
AZ: Tempe - ASU - Schwada | AZ | SOL-10753 | 9491.8432 | 5347.702 | 4144.1412 | 77.49% | 13306.18 | -3814.3368 | -28.67%
AZ: Phoenix - Starshine Academy | AZ | SOL-10757 | 5271.3087 | 0 | 5271.3087 |  | 4784.971 | 486.3377 | 10.16%
AZ: Yuma Airport | AZ | SOL-10754 | 59418 | 76908.05 | -17490.05 | -22.74% | 57028 | 2390 | 4.191%
AZ: Globe - Gila CC | AZ | SOL-10751 | 12388.8416 | 0 | 12388.8416 |  | 10824 | 1564.8416 | 14.46%
AZ: Payson - Gila CC | AZ | SOL-10748 | 8293.3188 | 3762.081 | 4531.2378 | 120.4% | 6282 | 2011.3188 | 32.02%
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759 | 13026.26 | 0 | 13026.26 |  | 25751.68 | -12725.42 | -49.42%
AZ: Tempe - SCNM | AZ | SOL-10760 | 52887.75 | 25875.32 | 27012.43 | 104.4% | 50903.38 | 1984.37 | 3.898%
DE: Newark - Clayton Hall | DE | SOL-10820 | 5559 | 9437.86 | -3878.86 | -41.1% | 12566.5 | -7007.5 | -55.76%
DE: Newark - UOD Field House | DE | SOL-10821 | 26680 | 0 | 26680 |  | 30217.26 | -3537.26 | -11.71%
DE: Newark - UOD 461 Wyoming | DE | SOL-10819 | 7520 | 15243.92 | -7723.92 | -50.67% | 23591.7 | -16071.7 | -68.12%
MD: Presston - Bird-in-Hand | MD | SOL-10092 | 91304 | 117809.3 | -26505.3 | -22.5% | 122498.9 | -31194.9 | -25.47%
MD: Easton - Shortall | MD | SOL-10091 | 91515 | 80289.03 | 11225.97 | 13.98% | 134659.8 | -43144.8 | -32.04%
MA: Boston - Seaport Solar | MA | SOL-10772 | 18942.4008 | 18068.27 | 874.1308 | 4.838% | 25803.42 | -6861.0192 | -26.59%
MA: Dedham - Sprague Street | MA | SOL-10773 | 34505 | 0 | 34505 |  | 49368.09 | -14863.09 | -30.11%
MA: Boston - Summer Street | MA | SOL-10764 | 0 | 93696.96 | -93696.96 | -100% | 103373.9 | -103373.9 | -100%
MA: Leominster - Spectro Coatings | MA | SOL-10074 | 3325.25 | 12760.85 | -9435.6 | -73.94% | 8831.65 | -5506.4 | -62.35%
MA: Braintree - RCAB | MA | SOL-10838 | 15813.9004 | 39677.52 | -23863.6196 | -60.14% | 44518.44 | -28704.5396 | -64.48%
NH: Rochester - Portland Street | NH | SOL-10771 | 762.9 | 3328.5 | -2565.6 | -77.08% | 4408.9 | -3646 | -82.7%
NH: Portsmouth - Portsmouth HS | NH | SOL-10769 | 6125.875 | 14296.01 | -8170.135 | -57.15% | 8418.724 | -2292.849 | -27.24%
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770 | 6896.25 | 18208.68 | -11312.43 | -62.13% | 9313.232 | -2416.982 | -25.95%
NH: Rochester - Rochester MS | NH | SOL-10765 | 3176.5037 | 19895.92 | -16719.4163 | -84.03% | 7096.364 | -3919.8603 | -55.24%
NH Rochester - Spaulding HS | NH | SOL-10767 | 1456.3105 | 6125.802 | -4669.4915 | -76.23% | 2864.615 | -1408.3045 | -49.16%
NH: Rochester - McClelland ES | NH | SOL-10766 | 1064.4397 | 5483.281 | -4418.8413 | -80.59% | 2818.845 | -1754.4053 | -62.24%
NH: Rochester - Brock St Vocational | NH | SOL-10768 | 995.9985 | 5674.273 | -4678.2745 | -82.45% | 4588.097 | -3592.0985 | -78.29%
OH: Cleveland - CV Kinsman | OH | SOL-10762 | 2959.9922 | 54435.86 | -51475.8678 | -94.56% | 47598 | -44638.0078 | -93.78%
OH: Cleveland - CV Wooster | OH | SOL-10763 | 4648.75 | 0 | 4648.75 |  | 9342.087 | -4693.337 | -50.24%
PR: Aguadilla - Coca Cola | PR | SOL-10072 | 13384 | 14903.9 | -1519.9 | -10.2% | 9202.786 | 4181.214 | 45.43%
PR: Bayamon - Coca Cola | PR | SOL-10073 | 50249 | 63740.88 | -13491.88 | -21.17% | 32974.41 | 17274.59 | 52.39%
PR: Carolina - St. Francis | PR | SOL-10034 | 16195 | 33342.92 | -17147.92 | -51.43% | 17655.34 | -1460.34 | -8.271%
DC: Chevy Chase -Sinai | DC | SOL-10028 | 3308.31 | 6834.149 | -3525.839 | -51.59% | 4354.135 | -1045.825 | -24.02%
DC: Washington - Weinberg 1 | DC | SOL-10039 | 531 | 766.543 | -235.543 | -30.73% | 748.2426 | -217.2426 | -29.03%
DC: Washington - Weinberg 2 | DC | SOL-10045 | 567 | 849.3444 | -282.3444 | -33.24% | 705.4574 | -138.4574 | -19.63%
DC: Washington - Weinberg 3 | DC | SOL-10042 | 646 | 890.2234 | -244.2234 | -27.43% | 842.7679 | -196.7679 | -23.35%

## 2nd Qtr
GoodFinch |  |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | SOL-10748 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Fulton | AZ | SOL-10749 | 0 | 0 | 0 |  | 0 | 0
AZ: Superior - JFK Elementary | AZ | SOL-10758 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Noble | AZ | SOL-10750 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - PE East | AZ | SOL-10752 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Schwada | AZ | SOL-10753 | 0 | 0 | 0 |  | 0 | 0
AZ: Phoenix - Starshine Academy | AZ | SOL-10757 | 0 | 0 | 0 |  | 0 | 0
AZ: Yuma Airport | AZ | SOL-10754 | 0 | 0 | 0 |  | 0 | 0
AZ: Globe - Gila CC | AZ | SOL-10751 | 0 | 0 | 0 |  | 0 | 0
AZ: Payson - Gila CC | AZ | SOL-10748 | 0 | 0 | 0 |  | 0 | 0
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - SCNM | AZ | SOL-10760 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - Clayton Hall | DE | SOL-10820 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD Field House | DE | SOL-10821 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD 461 Wyoming | DE | SOL-10819 | 0 | 0 | 0 |  | 0 | 0
MD: Presston - Bird-in-Hand | MD | SOL-10092 | 0 | 0 | 0 |  | 0 | 0
MD: Easton - Shortall | MD | SOL-10091 | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Seaport Solar | MA | SOL-10772 | 0 | 0 | 0 |  | 0 | 0
MA: Dedham - Sprague Street | MA | SOL-10773 | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Summer Street | MA | SOL-10764 | 0 | 0 | 0 |  | 0 | 0
MA: Leominster - Spectro Coatings | MA | SOL-10074 | 0 | 0 | 0 |  | 0 | 0
MA: Braintree - RCAB | MA | SOL-10838 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Portland Street | NH | SOL-10771 | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth HS | NH | SOL-10769 | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | SOL-10765 | 0 | 0 | 0 |  | 0 | 0
NH Rochester - Spaulding HS | NH | SOL-10767 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - McClelland ES | NH | SOL-10766 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Brock St Vocational | NH | SOL-10768 | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Kinsman | OH | SOL-10762 | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Wooster | OH | SOL-10763 | 0 | 0 | 0 |  | 0 | 0
PR: Aguadilla - Coca Cola | PR | SOL-10072 | 0 | 0 | 0 |  | 0 | 0
PR: Bayamon - Coca Cola | PR | SOL-10073 | 0 | 0 | 0 |  | 0 | 0
PR: Carolina - St. Francis | PR | SOL-10034 | 0 | 0 | 0 |  | 0 | 0
DC: Chevy Chase -Sinai | DC | SOL-10028 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 1 | DC | SOL-10039 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 2 | DC | SOL-10045 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 3 | DC | SOL-10042 | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
GoodFinch |  |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | SOL-10748 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Fulton | AZ | SOL-10749 | 0 | 0 | 0 |  | 0 | 0
AZ: Superior - JFK Elementary | AZ | SOL-10758 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Noble | AZ | SOL-10750 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - PE East | AZ | SOL-10752 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Schwada | AZ | SOL-10753 | 0 | 0 | 0 |  | 0 | 0
AZ: Phoenix - Starshine Academy | AZ | SOL-10757 | 0 | 0 | 0 |  | 0 | 0
AZ: Yuma Airport | AZ | SOL-10754 | 0 | 0 | 0 |  | 0 | 0
AZ: Globe - Gila CC | AZ | SOL-10751 | 0 | 0 | 0 |  | 0 | 0
AZ: Payson - Gila CC | AZ | SOL-10748 | 0 | 0 | 0 |  | 0 | 0
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - SCNM | AZ | SOL-10760 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - Clayton Hall | DE | SOL-10820 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD Field House | DE | SOL-10821 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD 461 Wyoming | DE | SOL-10819 | 0 | 0 | 0 |  | 0 | 0
MD: Presston - Bird-in-Hand | MD | SOL-10092 | 0 | 0 | 0 |  | 0 | 0
MD: Easton - Shortall | MD | SOL-10091 | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Seaport Solar | MA | SOL-10772 | 0 | 0 | 0 |  | 0 | 0
MA: Dedham - Sprague Street | MA | SOL-10773 | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Summer Street | MA | SOL-10764 | 0 | 0 | 0 |  | 0 | 0
MA: Leominster - Spectro Coatings | MA | SOL-10074 | 0 | 0 | 0 |  | 0 | 0
MA: Braintree - RCAB | MA | SOL-10838 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Portland Street | NH | SOL-10771 | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth HS | NH | SOL-10769 | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | SOL-10765 | 0 | 0 | 0 |  | 0 | 0
NH Rochester - Spaulding HS | NH | SOL-10767 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - McClelland ES | NH | SOL-10766 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Brock St Vocational | NH | SOL-10768 | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Kinsman | OH | SOL-10762 | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Wooster | OH | SOL-10763 | 0 | 0 | 0 |  | 0 | 0
PR: Aguadilla - Coca Cola | PR | SOL-10072 | 0 | 0 | 0 |  | 0 | 0
PR: Bayamon - Coca Cola | PR | SOL-10073 | 0 | 0 | 0 |  | 0 | 0
PR: Carolina - St. Francis | PR | SOL-10034 | 0 | 0 | 0 |  | 0 | 0
DC: Chevy Chase -Sinai | DC | SOL-10028 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 1 | DC | SOL-10039 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 2 | DC | SOL-10045 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 3 | DC | SOL-10042 | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
GoodFinch |  |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | %
AZ: Tempe - ASU - Farmer | AZ | SOL-10748 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Fulton | AZ | SOL-10749 | 0 | 0 | 0 |  | 0 | 0
AZ: Superior - JFK Elementary | AZ | SOL-10758 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Noble | AZ | SOL-10750 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - PE East | AZ | SOL-10752 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - ASU - Schwada | AZ | SOL-10753 | 0 | 0 | 0 |  | 0 | 0
AZ: Phoenix - Starshine Academy | AZ | SOL-10757 | 0 | 0 | 0 |  | 0 | 0
AZ: Yuma Airport | AZ | SOL-10754 | 0 | 0 | 0 |  | 0 | 0
AZ: Globe - Gila CC | AZ | SOL-10751 | 0 | 0 | 0 |  | 0 | 0
AZ: Payson - Gila CC | AZ | SOL-10748 | 0 | 0 | 0 |  | 0 | 0
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759 | 0 | 0 | 0 |  | 0 | 0
AZ: Tempe - SCNM | AZ | SOL-10760 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - Clayton Hall | DE | SOL-10820 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD Field House | DE | SOL-10821 | 0 | 0 | 0 |  | 0 | 0
DE: Newark - UOD 461 Wyoming | DE | SOL-10819 | 0 | 0 | 0 |  | 0 | 0
MD: Presston - Bird-in-Hand | MD | SOL-10092 | 0 | 0 | 0 |  | 0 | 0
MD: Easton - Shortall | MD | SOL-10091 | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Seaport Solar | MA | SOL-10772 | 0 | 0 | 0 |  | 0 | 0
MA: Dedham - Sprague Street | MA | SOL-10773 | 0 | 0 | 0 |  | 0 | 0
MA: Boston - Summer Street | MA | SOL-10764 | 0 | 0 | 0 |  | 0 | 0
MA: Leominster - Spectro Coatings | MA | SOL-10074 | 0 | 0 | 0 |  | 0 | 0
MA: Braintree - RCAB | MA | SOL-10838 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Portland Street | NH | SOL-10771 | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth HS | NH | SOL-10769 | 0 | 0 | 0 |  | 0 | 0
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Rochester MS | NH | SOL-10765 | 0 | 0 | 0 |  | 0 | 0
NH Rochester - Spaulding HS | NH | SOL-10767 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - McClelland ES | NH | SOL-10766 | 0 | 0 | 0 |  | 0 | 0
NH: Rochester - Brock St Vocational | NH | SOL-10768 | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Kinsman | OH | SOL-10762 | 0 | 0 | 0 |  | 0 | 0
OH: Cleveland - CV Wooster | OH | SOL-10763 | 0 | 0 | 0 |  | 0 | 0
PR: Aguadilla - Coca Cola | PR | SOL-10072 | 0 | 0 | 0 |  | 0 | 0
PR: Bayamon - Coca Cola | PR | SOL-10073 | 0 | 0 | 0 |  | 0 | 0
PR: Carolina - St. Francis | PR | SOL-10034 | 0 | 0 | 0 |  | 0 | 0
DC: Chevy Chase -Sinai | DC | SOL-10028 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 1 | DC | SOL-10039 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 2 | DC | SOL-10045 | 0 | 0 | 0 |  | 0 | 0
DC: Washington - Weinberg 3 | DC | SOL-10042 | 0 | 0 | 0 |  | 0 | 0

## Jan
GoodFinch |  |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  |  | 673228.7572 | 830575.1228 | -157346.3656 | -18.94% | 1003576.6789 | -330347.9217 | -32.92%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
AZ: Tempe - ASU - Farmer | AZ | SOL-10748 | 9004.9933 | 7231.484 | 1773.5093 | 24.52% | 9510.242 | -505.2487 | -5.313% | 1. Weather station has evening shading.
AZ: Tempe - ASU - Fulton | AZ | SOL-10749 | 24570 | 34024.15 | -9454.15 | -27.79% | 33955.49 | -9385.49 | -27.64% | 1. Inverter has heavy evening shading for whole month.
AZ: Superior - JFK Elementary | AZ | SOL-10758 | 16391.7252 |  | 16391.7252 |  | 15539.96 | 851.7652 | 5.481%
AZ: Tempe - ASU - Noble | AZ | SOL-10750 | 9327.4365 | 12169.46 | -2842.0235 | -23.35% | 6835.673 | 2491.7635 | 36.45% | 1. Although the expected values and last year’s expected data were high, the site is producing as expected.
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751 | 24354.65 | 16507.8 | 7846.85 | 47.53% | 20866.22 | 3488.43 | 16.72% | 1. Inverter 2 has shading in the afternoon
AZ: Tempe - ASU - PE East | AZ | SOL-10752 | 20670.7491 | 12989.08 | 7681.6691 | 59.14% | 29627.22 | -8956.4709 | -30.23% | 1. Inverter 2 has shading in the afternoon 2. Site was barely produced on 01/07 due to snow.
AZ: Tempe - ASU - Schwada | AZ | SOL-10753 | 9491.8432 | 5347.702 | 4144.1412 | 77.49% | 13306.18 | -3814.3368 | -28.67% | 1. Site was barely produced on 01/07 due to snow.
AZ: Phoenix - Starshine Academy | AZ | SOL-10757 | 5271.3087 |  | 5271.3087 |  | 4784.971 | 486.3377 | 10.16%
AZ: Yuma Airport | AZ | SOL-10754 | 59418 | 76908.05 | -17490.05 | -22.74% | 57028 | 2390 | 4.191% | 1. Site has low production on 01/01 and 01/07 due to snow.
AZ: Globe - Gila CC | AZ | SOL-10751 | 12388.8416 |  | 12388.8416 |  | 10824 | 1564.8416 | 14.46% | 1. Site has low production on 01/01 and 01/07 due to snow. 2. The Expected value at the site was taken from a virtual weather station.
AZ: Payson - Gila CC | AZ | SOL-10748 | 8293.3188 | 3762.081 | 4531.2378 | 120.4% | 6282 | 2011.3188 | 32.02% | 1. The Expected value at the site was taken from a virtual weather station.
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759 | 13026.26 |  | 13026.26 |  | 25751.68 | -12725.42 | -49.42% | 1. Building 8 & 9 are offline mostly for whole month. 2. Meter building 5 & 6 intermittently underperforming by 20kW historically. meter building 8 & 9 underperforming by 70kW historically. These inverters may need repowers | 1. SR108009 , SR108679 2. SR108009 | 1.Pending 2.Pending | SR108679 | SR108009
AZ: Tempe - SCNM | AZ | SOL-10760 | 52887.75 | 25875.32 | 27012.43 | 104.4% | 50903.38 | 1984.37 | 3.898% | 1. The Expected value at the site was taken from a virtual weather station.
DE: Newark - Clayton Hall | DE | SOL-10820 | 5559 | 9437.86 | -3878.86 | -41.1% | 12566.5 | -7007.5 | -55.76% | 1. Inverter has a minor evening shading 2. Site was offline from 01/25 to end of the month.
DE: Newark - UOD Field House | DE | SOL-10821 | 26680 |  | 26680 |  | 30217.26 | -3537.26 | -11.71% | 1. Site production was low on 01/08, 01/10, 01/17, 01/18, 01/25 due to snow
DE: Newark - UOD 461 Wyoming | DE | SOL-10819 | 7520 | 15243.92 | -7723.92 | -50.67% | 23591.7 | -16071.7 | -68.12% | 1. Site production was low on 01/08, 01/10, 01/17, 01/18, 01/25 due to snow
MD: Presston - Bird-in-Hand | MD | SOL-10092 | 91304 | 117809.3 | -26505.3 | -22.5% | 122498.9 | -31194.9 | -25.47% | 1. All inverters have heavy seasonal shading.
MD: Easton - Shortall | MD | SOL-10091 | 91515 | 80289.03 | 11225.97 | 13.98% | 134659.8 | -43144.8 | -32.04% | 1. Site production was low on 01/08, 01/10, 01/17, 01/18, 01/25 due to snow
MA: Boston - Seaport Solar | MA | SOL-10772 | 18942.4008 | 18068.27 | 874.1308 | 4.838% | 25803.42 | -6861.0192 | -26.59% | 1. Inverter 4 tripped offline on 1/27 at 11 am and reporting "string 1 reverse connection alarm stop due to fault" and "insulation resistance is low (ISO-fit) stop due to fault". Inverter 3 tripped offline on 1/27 at 11 am and reporting "string 2 reverse connection alarm stop due to fault" and "inverter has detected that there is failure current stop due to fault". 2. Site producrtion was low in 01/08, 01/10, 01/19 to 01/21, 01/25 due to snow. | 1. SR115493
MA: Dedham - Sprague Street | MA | SOL-10773 | 34505 |  | 34505 |  | 49368.09 | -14863.09 | -30.11% | 1. Site producrtion was low in 01/08, 01/10, 01/19 to 01/21, 01/25 due to snow.
MA: Boston - Summer Street | MA | SOL-10764 | 0 | 93696.96 | -93696.96 | -100% | 103373.9 | -103373.9 | -100% | 1. Site was offline for whole month. | 1. SR114772 ,SR105609 | 1.New | SR105609
MA: Leominster - Spectro Coatings | MA | SOL-10074 | 3325.25 | 12760.85 | -9435.6 | -73.94% | 8831.65 | -5506.4 | -62.35% | 1. Inverter 1 is experiencing multiple tripping's need to replace DMGI 2. Site was offline from 01/18 to end of the month due to snow and has low production on 01/01, 01/17. | 1. SR111835, | 1.Pendng
MA: Braintree - RCAB | MA | SOL-10838 | 15813.9004 | 39677.52 | -23863.6196 | -60.14% | 44518.44 | -28704.5396 | -64.48% | 1. All inverters have heavy shading.
NH: Rochester - Portland Street | NH | SOL-10771 | 762.9 | 3328.5 | -2565.6 | -77.08% | 4408.9 | -3646 | -82.7% | 1. Sitewas offline from 01/17 to end of the month due to snow.
NH: Portsmouth - Portsmouth HS | NH | SOL-10769 | 6125.875 | 14296.01 | -8170.135 | -57.15% | 8418.724 | -2292.849 | -27.24% | 1. Inverter 3 has heavy shading in the morning and afternoon and inverter 4 has minor shading in the afternoon and all other inverters are experiencing a heavy shading in the evening. 2. Site production was low due to snow.
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770 | 6896.25 | 18208.68 | -11312.43 | -62.13% | 9313.232 | -2416.982 | -25.95% | 1. Inveters 5 and 7 have heavy shading in the morning. 2. Inverter 3 has heavy shading in afternoon and evening. 3. All inverters have a minor shading in the morning.
NH: Rochester - Rochester MS | NH | SOL-10765 | 3176.5037 | 19895.92 | -16719.4163 | -84.03% | 7096.364 | -3919.8603 | -55.24% | 1. All inverters have heavy shading in the morning and inverter 3 has shading in the afternoon.
NH Rochester - Spaulding HS | NH | SOL-10767 | 1456.3105 | 6125.802 | -4669.4915 | -76.23% | 2864.615 | -1408.3045 | -49.16% | 1. Inverters have shading in the morning and inverter 1 has heavy shading in morning and during the peak hours.
NH: Rochester - McClelland ES | NH | SOL-10766 | 1064.4397 | 5483.281 | -4418.8413 | -80.59% | 2818.845 | -1754.4053 | -62.24% | 1. Site was offline from 01/01 to 01/08 and from 01/17 to and of the month due to snow.
NH: Rochester - Brock St Vocational | NH | SOL-10768 | 995.9985 | 5674.273 | -4678.2745 | -82.45% | 4588.097 | -3592.0985 | -78.29% | 1. Site was offline from 01/01 to 01/08 and from 01/17 to and of the month due to snow.
OH: Cleveland - CV Kinsman | OH | SOL-10762 | 2959.9922 | 54435.86 | -51475.8678 | -94.56% | 47598 | -44638.0078 | -93.78% | 1. Inverter B was offline for whole month. 2.Inverter A offline on multipledays. On 12/24 technician confirmed Inverter B is kept offline to prevent constant cycling. Additional troubleshooting is required 3.All inverters not started for production since 01/15 | 1. SR092555 2. SR113092 3. SR114698 | 1.Pending 2.Pending 3.Pending | SR113092 | SR114698
OH: Cleveland - CV Wooster | OH | SOL-10763 | 4648.75 |  | 4648.75 |  | 9342.087 | -4693.337 | -50.24% | 1. 8 inverters are offline from 09/05/24 according to the SMA Sunny Portal and need to be replaced. Gen Cap will work directly with Rural Solar. | 1. SR092556 | 1.Pending
PR: Aguadilla - Coca Cola | PR | SOL-10072 | 13384 | 14903.9 | -1519.9 | -10.2% | 9202.786 | 4181.214 | 45.43% | 1. Inverter 2 & 3 are offline, reporting "Interference device." | 1. SR111264 | 1.Pending
PR: Bayamon - Coca Cola | PR | SOL-10073 | 50249 | 63740.88 | -13491.88 | -21.17% | 32974.41 | 17274.59 | 52.39% | 1. Inverter 14, 15 and 22 were offline for whole month and inverter 13 was underproducing by 18kW. inverters 16, 17 were underproducing due to a few strings down, and inverter 19 was overheating 2. Inverter 11 was offline on 11/17, reporting "Interference device." | 1.SR108732 2. SR111265 | 1.Clsoed 2.Pending | SR111265
PR: Carolina - St. Francis | PR | SOL-10034 | 16195 | 33342.92 | -17147.92 | -51.43% | 17655.34 | -1460.34 | -8.271% | 1. Inverter 16 was offline for whole month. 2. Inverter 7 ,13,5,17,2,14,10 are offline for whole month. | 1.SR092255 2. SR102198 | 1.closed 2.Pending | SR102198
DC: Chevy Chase -Sinai | DC | SOL-10028 | 3308.31 | 6834.149 | -3525.839 | -51.59% | 4354.135 | -1045.825 | -24.02% | 1. There are two trees that seem to shade one array for whole month. 2. Site was barely produced from 01/25 to end of the month due to snow | 1. SR110504 | 1.pending
DC: Washington - Weinberg 1 | DC | SOL-10039 | 531 | 766.543 | -235.543 | -30.73% | 748.2426 | -217.2426 | -29.03% | 1. Site was barely produced from 01/25 to end of the month due to snow
DC: Washington - Weinberg 2 | DC | SOL-10045 | 567 | 849.3444 | -282.3444 | -33.24% | 705.4574 | -138.4574 | -19.63% | 1. Site was barely produced from 01/25 to end of the month due to snow
DC: Washington - Weinberg 3 | DC | SOL-10042 | 646 | 890.2234 | -244.2234 | -27.43% | 842.7679 | -196.7679 | -23.35% | 1. Site was barely produced from 01/25 to end of the month due to snow

## Feb
GoodFinch |  |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Mar
GoodFinch |  |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
|  | #VALUE! | [9 empty] | SR098594 | SR098779 | SR098902
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!

## Apr
GoodFinch |  |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## May
GoodFinch |  |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Jun
GoodFinch |  |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Jul
GoodFinch |  |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Aug
GoodFinch |  |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Sep
GoodFinch |  |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Oct
GoodFinch |  |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Nov
GoodFinch |  |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Dec
GoodFinch |  |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | SOL# | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | status
AZ: Tempe - ASU - Farmer | AZ | SOL-10748
AZ: Tempe - ASU - Fulton | AZ | SOL-10749
AZ: Superior - JFK Elementary | AZ | SOL-10758
AZ: Tempe - ASU - Noble | AZ | SOL-10750
AZ: Tempe - ASU - Parking #3 | AZ | SOL-10751
AZ: Tempe - ASU - PE East | AZ | SOL-10752
AZ: Tempe - ASU - Schwada | AZ | SOL-10753
AZ: Phoenix - Starshine Academy | AZ | SOL-10757
AZ: Yuma Airport | AZ | SOL-10754
AZ: Globe - Gila CC | AZ | SOL-10751
AZ: Payson - Gila CC | AZ | SOL-10748
AZ: Mesa - Sequoia Charter School | AZ | SOL-10759
AZ: Tempe - SCNM | AZ | SOL-10760
DE: Newark - Clayton Hall | DE | SOL-10820
DE: Newark - UOD Field House | DE | SOL-10821
DE: Newark - UOD 461 Wyoming | DE | SOL-10819
MD: Presston - Bird-in-Hand | MD | SOL-10092
MD: Easton - Shortall | MD | SOL-10091
MA: Boston - Seaport Solar | MA | SOL-10772
MA: Dedham - Sprague Street | MA | SOL-10773
MA: Boston - Summer Street | MA | SOL-10764
MA: Leominster - Spectro Coatings | MA | SOL-10074
MA: Braintree - RCAB | MA | SOL-10838
NH: Rochester - Portland Street | NH | SOL-10771
NH: Portsmouth - Portsmouth HS | NH | SOL-10769
NH: Portsmouth - Portsmouth WTP | NH | SOL-10770
NH: Rochester - Rochester MS | NH | SOL-10765
NH Rochester - Spaulding HS | NH | SOL-10767
NH: Rochester - McClelland ES | NH | SOL-10766
NH: Rochester - Brock St Vocational | NH | SOL-10768
OH: Cleveland - CV Kinsman | OH | SOL-10762
OH: Cleveland - CV Wooster | OH | SOL-10763
PR: Aguadilla - Coca Cola | PR | SOL-10072
PR: Bayamon - Coca Cola | PR | SOL-10073
PR: Carolina - St. Francis | PR | SOL-10034
DC: Chevy Chase -Sinai | DC | SOL-10028
DC: Washington - Weinberg 1 | DC | SOL-10039
DC: Washington - Weinberg 2 | DC | SOL-10045
DC: Washington - Weinberg 3 | DC | SOL-10042

## Sites
Portfolio: | GoodFinch
Site DAS Name | Site | State | Update | DAS | SOL#
ASU - Farmer | AZ: Tempe - ASU - Farmer | AZ |  | PowerTrack | SOL-10748
ASU - Fulton | AZ: Tempe - ASU - Fulton | AZ | AEF | PowerTrack | SOL-10749
JFK Elementary | AZ: Superior - JFK Elementary | AZ | AF | PowerTrack | SOL-10758
ASU - Noble | AZ: Tempe - ASU - Noble | AZ | AEF | PowerTrack | SOL-10750
ASU - Parking #3 | AZ: Tempe - ASU - Parking #3 | AZ | AEF | PowerTrack | SOL-10751
ASU - PE East | AZ: Tempe - ASU - PE East | AZ | AEF | PowerTrack | SOL-10752
ASU - Schwada | AZ: Tempe - ASU - Schwada | AZ | AEF | PowerTrack | SOL-10753
Starshine | AZ: Phoenix - Starshine Academy | AZ |  | PowerTrack | SOL-10757
Yuma Airport | AZ: Yuma Airport | AZ | AEF | PowerTrack | SOL-10754
GCC Globe Solar PV | AZ: Globe - Gila CC | AZ |  | PowerTrack | SOL-10751
GCC Payson Solar PV | AZ: Payson - Gila CC | AZ |  | PowerTrack | SOL-10748
Sequoia Charter School | AZ: Mesa - Sequoia Charter School | AZ |  | PowerTrack | SOL-10759
Southwest College Naturopathic Medicine | AZ: Tempe - SCNM | AZ |  | PowerTrack | SOL-10760
Clayton Hall | DE: Newark - Clayton Hall | DE |  | PowerTrack | SOL-10820
Field House | DE: Newark - UOD Field House | DE |  | PowerTrack | SOL-10821
Wyoming Road | DE: Newark - UOD 461 Wyoming | DE |  | PowerTrack | SOL-10819
Bird in Hand | MD: Presston - Bird-in-Hand | MD |  | PowerTrack | SOL-10092
Shortal | MD: Easton - Shortall | MD |  | PowerTrack | SOL-10091
Seaport | MA: Boston - Seaport Solar | MA |  | PowerTrack | SOL-10772
Sprague St | MA: Dedham - Sprague Street | MA |  | PowerTrack | SOL-10773
Summer St | MA: Boston - Summer Street | MA |  | PowerTrack | SOL-10764
Claremont Flock | MA: Leominster - Spectro Coatings | MA |  | PowerTrack | SOL-10074
RCAB - Pastoral Center | MA: Braintree - RCAB | MA |  | PowerTrack | SOL-10838
Portland St | NH: Rochester - Portland Street | NH |  | PowerTrack | SOL-10771
Portsmouth HS | NH: Portsmouth - Portsmouth HS | NH |  | PowerTrack | SOL-10769
Portsmouth WTP | NH: Portsmouth - Portsmouth WTP | NH |  | PowerTrack | SOL-10770
Rochester Middle School (Brock Street) | NH: Rochester - Rochester MS | NH |  | PowerTrack | SOL-10765
Spaulding HS | NH Rochester - Spaulding HS | NH |  | PowerTrack | SOL-10767
McClelland ES | NH: Rochester - McClelland ES | NH |  | PowerTrack | SOL-10766
Rochester Technical School (Wakefield Street) | NH: Rochester - Brock St Vocational | NH |  | PowerTrack | SOL-10768
CV Kinsman | OH: Cleveland - CV Kinsman | OH | AEF | PowerTrack | SOL-10762
CV Wooster | OH: Cleveland - CV Wooster | OH | AF | PowerTrack | SOL-10763
Aguadilla | PR: Aguadilla - Coca Cola | PR |  | PowerTrack | SOL-10072
Bayamon | PR: Bayamon - Coca Cola | PR |  | PowerTrack | SOL-10073
St Francis | PR: Carolina - St. Francis | PR |  | PowerTrack | SOL-10034
Temple Sinai | DC: Chevy Chase -Sinai | DC |  | PowerTrack | SOL-10028
Weinberg 1 | DC: Washington - Weinberg 1 | DC | AEF | PowerTrack | SOL-10039
Weinberg 2 | DC: Washington - Weinberg 2 | DC | AEF | PowerTrack | SOL-10045
Weinberg 3 | DC: Washington - Weinberg 3 | DC | AEF | PowerTrack | SOL-10042