## Year to Date
KPCA Investment, LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 258840.9176 | 247924.444 | 10916.4736 | 4.403% | 268467.96 | -9627.0424 | -3.586%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Chino - 3750-3770 Grand Ave | CA | 11509.1683 | 14454.71 | -2945.5417 | -20.38% | 24617 | -13107.8317 | -53.25%
Murrieta - 28150 Keller Rd | CA | 52046.5 | 52187.51 | -141.01 | -0.2702% | 58271.39 | -6224.89 | -10.68%
La Habra - 601 E Imperial Way | CA | 11683.37 | 8956.294 | 2727.076 | 30.45% | 12856.88 | -1173.51 | -9.127%
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA | 47106.51 | 50038.6 | -2932.09 | -5.86% | 45205.4 | 1901.11 | 4.205%
Irwindale - 12761 Schabarum Ave | CA | 13273.88 | 10702.9 | 2570.98 | 24.02% | 16512.79 | -3238.91 | -19.61%
Santa Rosa - 2240 Mercury Way | CA | 39031.9893 | 38749.43 | 282.5593 | 0.7292% | 37988 | 1043.9893 | 2.748%
Dublin - 3100 Dublin Blvd | CA | 84189.5 | 72835 | 11354.5 | 15.59% | 73016.5 | 11173 | 15.3%

## 1st Qtr
KPCA Investment, LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 258840.9176 | 247924.444 | 10916.4736 | 4.403% | 268467.96 | -9627.0424 | -3.586%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Chino - 3750-3770 Grand Ave | CA | 11509.1683 | 14454.71 | -2945.5417 | -20.38% | 24617 | -13107.8317 | -53.25%
Murrieta - 28150 Keller Rd | CA | 52046.5 | 52187.51 | -141.01 | -0.2702% | 58271.39 | -6224.89 | -10.68%
La Habra - 601 E Imperial Way | CA | 11683.37 | 8956.294 | 2727.076 | 30.45% | 12856.88 | -1173.51 | -9.127%
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA | 47106.51 | 50038.6 | -2932.09 | -5.86% | 45205.4 | 1901.11 | 4.205%
Irwindale - 12761 Schabarum Ave | CA | 13273.88 | 10702.9 | 2570.98 | 24.02% | 16512.79 | -3238.91 | -19.61%
Santa Rosa - 2240 Mercury Way | CA | 39031.9893 | 38749.43 | 282.5593 | 0.7292% | 37988 | 1043.9893 | 2.748%
Dublin - 3100 Dublin Blvd | CA | 84189.5 | 72835 | 11354.5 | 15.59% | 73016.5 | 11173 | 15.3%

## 2nd Qtr
KPCA Investment, LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Chino - 3750-3770 Grand Ave | CA | 0 | 0 | 0 |  | 0 | 0
Murrieta - 28150 Keller Rd | CA | 0 | 0 | 0 |  | 0 | 0
La Habra - 601 E Imperial Way | CA | 0 | 0 | 0 |  | 0 | 0
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA | 0 | 0 | 0 |  | 0 | 0
Irwindale - 12761 Schabarum Ave | CA | 0 | 0 | 0 |  | 0 | 0
Santa Rosa - 2240 Mercury Way | CA | 0 | 0 | 0 |  | 0 | 0
Dublin - 3100 Dublin Blvd | CA | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
KPCA Investment, LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Chino - 3750-3770 Grand Ave | CA | 0 | 0 | 0 |  | 0 | 0
Murrieta - 28150 Keller Rd | CA | 0 | 0 | 0 |  | 0 | 0
La Habra - 601 E Imperial Way | CA | 0 | 0 | 0 |  | 0 | 0
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA | 0 | 0 | 0 |  | 0 | 0
Irwindale - 12761 Schabarum Ave | CA | 0 | 0 | 0 |  | 0 | 0
Santa Rosa - 2240 Mercury Way | CA | 0 | 0 | 0 |  | 0 | 0
Dublin - 3100 Dublin Blvd | CA | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
KPCA Investment, LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Chino - 3750-3770 Grand Ave | CA | 0 | 0 | 0 |  | 0 | 0
Murrieta - 28150 Keller Rd | CA | 0 | 0 | 0 |  | 0 | 0
La Habra - 601 E Imperial Way | CA | 0 | 0 | 0 |  | 0 | 0
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA | 0 | 0 | 0 |  | 0 | 0
Irwindale - 12761 Schabarum Ave | CA | 0 | 0 | 0 |  | 0 | 0
Santa Rosa - 2240 Mercury Way | CA | 0 | 0 | 0 |  | 0 | 0
Dublin - 3100 Dublin Blvd | CA | 0 | 0 | 0 |  | 0 | 0

## Jan
KPCA Investment, LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 258840.9176 | 247924.444 | 10916.4736 | 4.403% | 268467.96 | -9627.0424 | -3.586%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Chino - 3750-3770 Grand Ave | CA | 11509.1683 | 14454.71 | -2945.5417 | -20.38% | 24617 | -13107.8317 | -53.25% | 1. The meter was reporting the full production of the inverters since 01/06 2. Inverters 2 to 4 came back online at 14:00 on 01/22 but inverter 1 offline through out the month 3. Inverter 1 is underperforming by 5 kW down compared to its peer inverters since 06/16 at 14:00. | 1. SR108381 2. SR108510 3.SR103049 | 1.Closed 2.Closed 3.pending | SR108510 | SR103049
Murrieta - 28150 Keller Rd | CA | 52046.5 | 52187.51 | -141.01 | -0.2702% | 58271.39 | -6224.89 | -10.68% | 1. Site was producing as expected
La Habra - 601 E Imperial Way | CA | 11683.37 | 8956.294 | 2727.076 | 30.45% | 12856.88 | -1173.51 | -9.127% | 1.Inverter 1 started late production at 09:45 on 01/03
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA | 47106.51 | 50038.6 | -2932.09 | -0.058597 | 45205.4 | 1901.11 | 4.205% | 1.Inverter 12 back online on 01/02 2.Inverter 14 was offline on 01/14 an it came back online at 13:45 on 01/11 3.Inverter 13 was offline on 01/21 and it came back online on 01/22 4.Inverter 18 started late for production at 08:15 on 01/27 | 1.SR113701 2.SR114362 3. SR114823 4. SR115371 | 1.Closed 2.Closed 3.pending 4.Closed | SR114362 | SR114823 | SR115371
Irwindale - 12761 Schabarum Ave | CA | 13273.88 | 10702.9 | 2570.98 | 24.02% | 16512.79 | -3238.91 | -19.61% | 1. Inverter 5 String 4 has low performance. 2. Inverters have morning and evening shading | 1.SR102034 | 1.pending
Santa Rosa - 2240 Mercury Way | CA | 39031.9893 | 38749.43 | 282.5593 | 0.7292% | 37988 | 1043.9893 | 2.748%
Dublin - 3100 Dublin Blvd | CA | 84189.5 | 72835 | 11354.5 | 15.59% | 73016.5 | 11173 | 15.3% | 1.Inverter 3 was offline on 01/04 2.Inverter 24 started late for production through out the month | 1 SR114072 2. SR114174 | 1.Closed 2.Closed | SR114174

## Feb
KPCA Investment, LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Mar
KPCA Investment, LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Apr
KPCA Investment, LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## May
KPCA Investment, LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Jun
KPCA Investment, LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Jul
KPCA Investment, LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Aug
KPCA Investment, LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Sep
KPCA Investment, LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Oct
KPCA Investment, LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Nov
KPCA Investment, LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA

## Dec
KPCA Investment, LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Chino - 3750-3770 Grand Ave | CA
Murrieta - 28150 Keller Rd | CA
La Habra - 601 E Imperial Way | CA
Kaiser - KP3 - SCA Skyport - CN7901 Site | CA
Irwindale - 12761 Schabarum Ave | CA
Santa Rosa - 2240 Mercury Way | CA
Dublin - 3100 Dublin Blvd | CA
Note on C4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: As meter is not reporting full production due to bad CT actual energy was taken from total inverter energy

## Sites
Portfolio: | KPCA Investment, LLC
Site DAS Name | Site | State | Update | DAS
Kaiser - KP3 - Chino Grand CA6581 | Chino - 3750-3770 Grand Ave | CA | AEF | PowerTrack
Murrietta MOB - CA5341 | Murrieta - 28150 Keller Rd | CA | AEF | PowerTrack
Kaiser - KP3 - La Habra - CA3841 Site | La Habra - 601 E Imperial Way | CA | AEF | PowerTrack
San Jose - Skyport | Kaiser - KP3 - SCA Skyport - CN7901 Site | CA |  | PowerTrack
Kaiser - KP3 - Irwindale MOB & Garage - CA5681 Site | Irwindale - 12761 Schabarum Ave | CA | AEF | PowerTrack
Santa Rosa 6 - CN7001 | Santa Rosa - 2240 Mercury Way | CA | AEF | PowerTrack
Kaiser - KP3 - Dublin - CN2A99 Site | Dublin - 3100 Dublin Blvd | CA |  | PowerTrack