## Year to Date
Kendall Sustainable Infrastructure, LLC |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 482352.715 | 714490.82 | -232138.105 | -32.49% | 696202.16 | -213849.445 | -30.72%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barre - 56 Bridge St | VT | 16770.75 | 36827.79 | -20057.04 | -54.46% | 24372.18 | -7601.43 | -31.19%
Barre - 181 Allen St | VT | 12060 | 40713.77 | -28653.77 | -70.38% | 29354.71 | -17294.71 | -58.92%
West Greenwich - 200 Robin Hollow Rd | RI | 28263.02 | 305423.9 | -277160.88 | -90.75% | 228364.7 | -200101.68 | -87.62%
Rockingham - 25 Jackson Rd | VT | 28085 | 31476 | -3391 | -10.77% | 47767 | -19682 | -41.2%
East Hardwick - 55 Arsene Ave | VT | 6038 | 37369 | -31331 | -83.84% | 16601.7 | -10563.7 | -63.63%
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY | 69600 | 0 | 69600 |  | 158841.9 | -89241.9 | -56.18%
Millbrook - Bacon Triangle (Cary Institute) | NY | 23776 | 53744.7 | -29968.7 | -55.76% | 0 | 0
Rockingham - 2029 Rockingham Rd | VT | 40586.875 | 51871.56 | -11284.685 | -21.76% | 32521.57 | 8065.305 | 24.8%
OR: Molalla - 34035 S HWY 213 | OR | 135039.3 | 157064.1 | -22024.8 | -14.02% | 158378.4 | -23339.1 | -14.74%
OR: Willamina - Apricus Solar | OR | 122133.77 | 0 | 122133.77 |  | 0 | 0

## 1st Qtr
Kendall Sustainable Infrastructure, LLC |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 482352.715 | 714490.82 | -232138.105 | -32.49% | 696202.16 | -213849.445 | -30.72%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barre - 56 Bridge St | VT | 16770.75 | 36827.79 | -20057.04 | -54.46% | 24372.18 | -7601.43 | -31.19%
Barre - 181 Allen St | VT | 12060 | 40713.77 | -28653.77 | -70.38% | 29354.71 | -17294.71 | -58.92%
West Greenwich - 200 Robin Hollow Rd | RI | 28263.02 | 305423.9 | -277160.88 | -90.75% | 228364.7 | -200101.68 | -87.62%
Rockingham - 25 Jackson Rd | VT | 28085 | 31476 | -3391 | -10.77% | 47767 | -19682 | -41.2%
East Hardwick - 55 Arsene Ave | VT | 6038 | 37369 | -31331 | -83.84% | 16601.7 | -10563.7 | -63.63%
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY | 69600 | 0 | 69600 |  | 158841.9 | -89241.9 | -56.18%
Millbrook - Bacon Triangle (Cary Institute) | NY | 23776 | 53744.7 | -29968.7 | -55.76% | 0 | 0
Rockingham - 2029 Rockingham Rd | VT | 40586.875 | 51871.56 | -11284.685 | -21.76% | 32521.57 | 8065.305 | 24.8%
OR: Molalla - 34035 S HWY 213 | OR | 135039.3 | 157064.1 | -22024.8 | -14.02% | 158378.4 | -23339.1 | -14.74%
OR: Willamina - Apricus Solar | OR | 122133.77 | 0 | 122133.77 |  | 0 | 0

## 2nd Qtr
Kendall Sustainable Infrastructure, LLC |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barre - 56 Bridge St | VT | 0 | 0 | 0 |  | 0 | 0
Barre - 181 Allen St | VT | 0 | 0 | 0 |  | 0 | 0
West Greenwich - 200 Robin Hollow Rd | RI | 0 | 0 | 0 |  | 0 | 0
Rockingham - 25 Jackson Rd | VT | 0 | 0 | 0 |  | 0 | 0
East Hardwick - 55 Arsene Ave | VT | 0 | 0 | 0 |  | 0 | 0
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY | 0 | 0 | 0 |  | 0 | 0
Millbrook - Bacon Triangle (Cary Institute) | NY | 0 | 0 | 0 |  | 0 | 0
Rockingham - 2029 Rockingham Rd | VT | 0 | 0 | 0 |  | 0 | 0
OR: Molalla - 34035 S HWY 213 | OR | 0 | 0 | 0 |  | 0 | 0
OR: Willamina - Apricus Solar | OR | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Kendall Sustainable Infrastructure, LLC |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barre - 56 Bridge St | VT | 0 | 0 | 0 |  | 0 | 0
Barre - 181 Allen St | VT | 0 | 0 | 0 |  | 0 | 0
West Greenwich - 200 Robin Hollow Rd | RI | 0 | 0 | 0 |  | 0 | 0
Rockingham - 25 Jackson Rd | VT | 0 | 0 | 0 |  | 0 | 0
East Hardwick - 55 Arsene Ave | VT | 0 | 0 | 0 |  | 0 | 0
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY | 0 | 0 | 0 |  | 0 | 0
Millbrook - Bacon Triangle (Cary Institute) | NY | 0 | 0 | 0 |  | 0 | 0
Rockingham - 2029 Rockingham Rd | VT | 0 | 0 | 0 |  | 0 | 0
OR: Molalla - 34035 S HWY 213 | OR | 0 | 0 | 0 |  | 0 | 0
OR: Willamina - Apricus Solar | OR | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Kendall Sustainable Infrastructure, LLC |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Barre - 56 Bridge St | VT | 0 | 0 | 0 |  | 0 | 0
Barre - 181 Allen St | VT | 0 | 0 | 0 |  | 0 | 0
West Greenwich - 200 Robin Hollow Rd | RI | 0 | 0 | 0 |  | 0 | 0
Rockingham - 25 Jackson Rd | VT | 0 | 0 | 0 |  | 0 | 0
East Hardwick - 55 Arsene Ave | VT | 0 | 0 | 0 |  | 0 | 0
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY | 0 | 0 | 0 |  | 0 | 0
Millbrook - Bacon Triangle (Cary Institute) | NY | 0 | 0 | 0 |  | 0 | 0
Rockingham - 2029 Rockingham Rd | VT | 0 | 0 | 0 |  | 0 | 0
OR: Molalla - 34035 S HWY 213 | OR | 0 | 0 | 0 |  | 0 | 0
OR: Willamina - Apricus Solar | OR | 0 | 0 | 0 |  | 0 | 0

## Jan
Kendall Sustainable Infrastructure, LLC |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 482352.715 | 714490.82 | -232138.105 | -32.49% | 696202.16 | -213849.445 | -30.72%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Barre - 56 Bridge St | VT | 16770.75 | 36827.79 | -20057.04 | -54.46% | 24372.18 | -7601.43 | -31.19% | 1. Site has low production on 01/03, 01/04, 01/07, 01/14, 01/15, 01/17, 01/18, 01/20, 01/25 to end of the month due to snow.
Barre - 181 Allen St | VT | 12060 | 40713.77 | -28653.77 | -70.38% | 29354.71 | -17294.71 | -58.92% | 1. Site production was low on 01/01, 01/03, 01/04, 01/07, 01/08, 01/12, 01/15, 01/17, 01/18, 01/20, 01/25 to end of the month due to snow
West Greenwich - 200 Robin Hollow Rd | RI | 28263.02 | 305423.9 | -277160.88 | -90.75% | 228364.7 | -200101.68 | -87.62% | 1.Site tripped offline at 08:45 on 01/12 and it came back online at 21:30 on 01/12 2.Inverters offline from 01/13 to end of the month. 3.Site was offline from 11:45 to 13:00 on 01/26 | 1. SR114409 2. SR114519 3. SR115335 | 1.Closed 2.New 3.Closed | SR114519 | SR115335
Rockingham - 25 Jackson Rd | VT | 28085 | 31476 | -3391 | -0.10773 | 47767 | -19682 | -41.2% | 1. Site was barely producing from 01/25 to end of the month due to snow.
East Hardwick - 55 Arsene Ave | VT | 6038 | 37369 | -31331 | -83.84% | 16601.7 | -10563.7 | -63.63% | 1. Site was barely producing on 01/01 to 01/08, 01/12, 01/13, 01/15, 01/17, 01/20, 01/23, 01/25 to end of the month due to snow.
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY | 69600 | N/A |  |  | 158841.9 | -89241.9 | -56.18% | 1.Site was offline at 09:10 on 01/09 and it came back online at 11:45 on 01/13 2.Site was offline at 09:55 on 01/15 and it came back online at 13:00 on 01/16 3.The meter is experiencing intermittent communications throughout the day. | 1. SR114374 2. SR114617 3. SR113634 | 1.Closed 2.Closed 3.Pending | SR114617 | SR113634
Millbrook - Bacon Triangle (Cary Institute) | NY | 23776 | 53744.7 | -29968.7 | -55.76% | N/A |  |  | 1.1 module being replaced 2. Inverter 1 was derated by 5kW for whole month. | 1. SR110596 2.SR109579 | 1.Pending 2.Closed | SR109579
Rockingham - 2029 Rockingham Rd | VT | 40586.875 | 51871.56 | -11284.685 | -0.21755 | 32521.57 | 8065.305 | 24.8% | 1.Site production was low on 01/17,01/18,01/25,01/26,01/27 due to snow
OR: Molalla - 34035 S HWY 213 | OR | 135039.3 | 157064.1 | -22024.8 | -14.02% | 158378.4 | -23339.1 | -14.74% | 1. All inverters have heavy shading in morning and evening 2. Inverter 6 was offline from 11:00 to 13:30 on 01/23.
OR: Willamina - Apricus Solar | OR | 122133.77 | N/A |  |  | N/A |  |  | 1. All inverters have heavy shading in morning and evening

## Feb
Kendall Sustainable Infrastructure, LLC |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Mar
Kendall Sustainable Infrastructure, LLC |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Apr
Kendall Sustainable Infrastructure, LLC |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## May
Kendall Sustainable Infrastructure, LLC |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Jun
Kendall Sustainable Infrastructure, LLC |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Jul
Kendall Sustainable Infrastructure, LLC |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Aug
Kendall Sustainable Infrastructure, LLC |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Sep
Kendall Sustainable Infrastructure, LLC |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Oct
Kendall Sustainable Infrastructure, LLC |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Nov
Kendall Sustainable Infrastructure, LLC |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Dec
Kendall Sustainable Infrastructure, LLC |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Barre - 56 Bridge St | VT
Barre - 181 Allen St | VT
West Greenwich - 200 Robin Hollow Rd | RI
Rockingham - 25 Jackson Rd | VT
East Hardwick - 55 Arsene Ave | VT
Red Hook - 44 MM Ham Memorial Firehouse Ln | NY
Millbrook - Bacon Triangle (Cary Institute) | NY
Rockingham - 2029 Rockingham Rd | VT
OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR

## Sites
Portfolio: | Kendall Sustainable Infrastructure, LLC
Site DAS Name | Site | State | Update | DAS
8.02) Novus Bridge Solar, LLC | Barre - 56 Bridge St | VT | AEF | PowerTrack
8.03) Novus Allen Solar, LLC | Barre - 181 Allen St | VT | AEF | PowerTrack
5.03) University Solar 2, LLC | West Greenwich - 200 Robin Hollow Rd | RI | AEF | PowerTrack
1.02) Novus Rockingham Solar, LLC | Rockingham - 25 Jackson Rd | VT |  | LocusNOC
3.01) Novus Hardwick | East Hardwick - 55 Arsene Ave | VT |  | LocusNOC
3.02) Red Hook Solar | Red Hook - 44 MM Ham Memorial Firehouse Ln | NY |  | LocusNOC
2.05) Bacon Triangle (YSG Cary) | Millbrook - Bacon Triangle (Cary Institute) | NY |  | Meto Control
10.02) Novus Rock Pit Solar LLC | Rockingham - 2029 Rockingham Rd | VT | AEF | PowerTrack
OR: Molalla - 34035 S HWY 213 | OR: Molalla - 34035 S HWY 213 | OR
OR: Willamina - Apricus Solar | OR: Willamina - Apricus Solar | OR |  | PowerTrack