## Year to Date
Renewable Properties |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1090729.5 | 3089441.91 | -1998712.41 | -64.69% | 2860668.28 | -1769938.78 | -61.87%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 36668 | 63476.11 | -26808.11 | -42.23% | 41455.2 | -4787.2 | -11.55%
Bullis | NY | 107107 | 241574.5 | -134467.5 | -55.66% | 262737.5 | -155630.5 | -59.23%
Rock Island | NY | 165393 | 299522.2 | -134129.2 | -44.78% | 245101 | -79708 | -32.52%
Winslow - Roderick | ME | 222085 | 493283.5 | -271198.5 | -54.98% | 307900 | -85815 | -27.87%
Minoa - Clemons Rd | NY | 75309.5 | 149411.9 | -74102.4 | -49.6% | 190437.2 | -115127.7 | -60.45%
Manchester - Western | ME | 31198 | 71210.5 | -40012.5 | -56.19% | 45770.18 | -14572.18 | -31.84%
Batavia - Pike Rd | NY | 105213.5 | 221392.4 | -116178.9 | -52.48% | 218224.8 | -113011.3 | -51.79%
Slayton A & B | NY | 206991 | 506582.4 | -299591.4 | -59.14% | 396842.6 | -189851.6 | -47.84%
Batavia - Alexander Rd | NY | 43531.5 | 133417.4 | -89885.9 | -67.37% | 109759.8 | -66228.3 | -60.34%
NC: Gibson – Henry Gibson Solar | NC | -4470 | 537539.2 | -542009.2 | -100.8% | 648494 | -652964 | -100.7%
Bangor - Pushaw | ME | 101703 | 372031.8 | -270328.8 | -72.66% | 393946 | -292243 | -74.18%

## 1st Qtr
Renewable Properties |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1090729.5 | 3089441.91 | -1998712.41 | -64.69% | 2860668.28 | -1769938.78 | -61.87%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 36668 | 63476.11 | -26808.11 | -42.23% | 41455.2 | -4787.2 | -11.55%
Bullis | NY | 107107 | 241574.5 | -134467.5 | -55.66% | 262737.5 | -155630.5 | -59.23%
Rock Island | NY | 165393 | 299522.2 | -134129.2 | -44.78% | 245101 | -79708 | -32.52%
Winslow - Roderick | ME | 222085 | 493283.5 | -271198.5 | -54.98% | 307900 | -85815 | -27.87%
Minoa - Clemons Rd | NY | 75309.5 | 149411.9 | -74102.4 | -49.6% | 190437.2 | -115127.7 | -60.45%
Manchester - Western | ME | 31198 | 71210.5 | -40012.5 | -56.19% | 45770.18 | -14572.18 | -31.84%
Batavia - Pike Rd | NY | 105213.5 | 221392.4 | -116178.9 | -52.48% | 218224.8 | -113011.3 | -51.79%
Slayton A & B | NY | 206991 | 506582.4 | -299591.4 | -59.14% | 396842.6 | -189851.6 | -47.84%
Batavia - Alexander Rd | NY | 43531.5 | 133417.4 | -89885.9 | -67.37% | 109759.8 | -66228.3 | -60.34%
NC: Gibson – Henry Gibson Solar | NC | -4470 | 537539.2 | -542009.2 | -100.8% | 648494 | -652964 | -100.7%
Bangor - Pushaw | ME | 101703 | 372031.8 | -270328.8 | -72.66% | 393946 | -292243 | -74.18%

## 2nd Qtr
Renewable Properties |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 0 | 0 | 0 |  | 0 | 0
Bullis | NY | 0 | 0 | 0 |  | 0 | 0
Rock Island | NY | 0 | 0 | 0 |  | 0 | 0
Winslow - Roderick | ME | 0 | 0 | 0 |  | 0 | 0
Minoa - Clemons Rd | NY | 0 | 0 | 0 |  | 0 | 0
Manchester - Western | ME | 0 | 0 | 0 |  | 0 | 0
Batavia - Pike Rd | NY | 0 | 0 | 0 |  | 0 | 0
Slayton A & B | NY | 0 | 0 | 0 |  | 0 | 0
Batavia - Alexander Rd | NY | 0 | 0 | 0 |  | 0 | 0
NC: Gibson – Henry Gibson Solar | NC | 0 | 0 | 0 |  | 0 | 0
Bangor - Pushaw | ME | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Renewable Properties |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 0 | 0 | 0 |  | 0 | 0
Bullis | NY | 0 | 0 | 0 |  | 0 | 0
Rock Island | NY | 0 | 0 | 0 |  | 0 | 0
Winslow - Roderick | ME | 0 | 0 | 0 |  | 0 | 0
Minoa - Clemons Rd | NY | 0 | 0 | 0 |  | 0 | 0
Manchester - Western | ME | 0 | 0 | 0 |  | 0 | 0
Batavia - Pike Rd | NY | 0 | 0 | 0 |  | 0 | 0
Slayton A & B | NY | 0 | 0 | 0 |  | 0 | 0
Batavia - Alexander Rd | NY | 0 | 0 | 0 |  | 0 | 0
NC: Gibson – Henry Gibson Solar | NC | 0 | 0 | 0 |  | 0 | 0
Bangor - Pushaw | ME | 0 | 0 | 0 |  | 0 | 0

## 4th Qtr
Renewable Properties |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Cedar Swamp Rd | MA | 0 | 0 | 0 |  | 0 | 0
Bullis | NY | 0 | 0 | 0 |  | 0 | 0
Rock Island | NY | 0 | 0 | 0 |  | 0 | 0
Winslow - Roderick | ME | 0 | 0 | 0 |  | 0 | 0
Minoa - Clemons Rd | NY | 0 | 0 | 0 |  | 0 | 0
Manchester - Western | ME | 0 | 0 | 0 |  | 0 | 0
Batavia - Pike Rd | NY | 0 | 0 | 0 |  | 0 | 0
Slayton A & B | NY | 0 | 0 | 0 |  | 0 | 0
Batavia - Alexander Rd | NY | 0 | 0 | 0 |  | 0 | 0
NC: Gibson – Henry Gibson Solar | NC | 0 | 0 | 0 |  | 0 | 0
Bangor - Pushaw | ME | 0 | 0 | 0 |  | 0 | 0

## Jan
Renewable Properties |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 1090729.5 | 3089441.91 | -1998712.41 | -64.69% | 2860668.28 | -1769938.78 | -61.87%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Cedar Swamp Rd | MA | 36668 | 63476.11 | -26808.11 | -42.23% | 41455.2 | -4787.2 | -11.55% | 1.Inverters 1 and 2 are experiencing a morning shading issue. 2.Site production was low on 01/07,01/11,01/18,01/25 due to snow
Bullis | NY | 107107 | 241574.5 | -134467.5 | -55.66% | 262737.5 | -155630.5 | -59.23% | 1.Site production was low on 01/22 to 01/28 due to snow
Rock Island | NY | 165393 | 299522.2 | -134129.2 | -44.78% | 245101 | -79708 | -32.52% | 1.Site production was low on 01/01 to 01/07 due to snow
Winslow - Roderick | ME | 222085 | 493283.5 | -271198.5 | -54.98% | 307900 | -85815 | -27.87% | 1.Site production was low on 01/01,01/07, 01/11,01/17 to 01/19,01/26 to 01/28 due to snow
Minoa - Clemons Rd | NY | 75309.5 | 149411.9 | -74102.4 | -49.6% | 190437.2 | -115127.7 | -60.45% | 1.NCU 01 TCU 18, 28, 39, 46, & 50 NCU 02 TCU 12 & 47 has been stuck later technician has replaced fuses and RMA'd 3 TCUs on 11/23. 2.Site production was low on 01/07, 01/24 to 01/28 due to snow 3.Site tripped offline at 20:15 on 01/29 and remained offline throughouth the month | 1.SR113646 3.SR115492 | 1.Pending 2.Pending | SR115492
Manchester - Western | ME | 31198 | 71210.5 | -40012.5 | -56.19% | 45770.18 | -14572.18 | -31.84% | 1.Site production was low on 01/01,01/07, 01/11,01/17 to 01/19,01/26 to 01/28 due to snow
Batavia - Pike Rd | NY | 105213.5 | 221392.4 | -116178.9 | -52.48% | 218224.8 | -113011.3 | -51.79% | 1.TCUs 81 & 100 and TCUs 4 and setpoint, 65, and 117 are stuck. 2.Site production was low on 01/07,01/14,01/25 due to snow | 1.SR111075 | 1.Pending
Slayton A & B | NY | 206991 | 506582.4 | -299591.4 | -59.14% | 396842.6 | -189851.6 | -47.84% | 1.NCU-A.01 tracker 132 and NCU-A.02 tracker 70 are stuck. ON 12/31 tech has disabled tracker 132 due to structural damage 2.Pad B inverters has tripped offline at 13:15 on 01/04 and remained offline throughouth the month | 1.SR111761 2.SR113751 | 1.Closed 2.Pending | SR113751
Batavia - Alexander Rd | NY | 43531.5 | 133417.4 | -89885.9 | -67.37% | 109759.8 | -66228.3 | -60.34% | 1. NCU 1 trackers are tracking again, NCU 2 has 14 trackers stuck (#7 through 13, 34, 46 through 52, & 56) from 07:00 to 14:00 on 12/29 and later back again tracking from 01/20 2.NCU 1 TCU 5 is currently stuck from 01/27. | 1.SR113733 2.SR115377 | 1.Closed 2.Pending | SR115377
NC: Gibson – Henry Gibson Solar | NC | -4470 | 537539.2 | -542009.2 | -100.8% | 648494 | -652964 | -100.7% | 1.Site was offline from 12/22 and remained offline throughouth the month | 1.SR114159 | 1.Pending
Bangor - Pushaw | ME | 101703 | 372031.8 | -270328.8 | -72.66% | 393946 | -292243 | -74.18% | 1.Site production was low on 01/01 to 01/07 due to snow

## Feb
Renewable Properties |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Mar
Renewable Properties |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC | [9 empty] | SR099057
Bangor - Pushaw | ME

## Apr
Renewable Properties |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## May
Renewable Properties |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Jun
Renewable Properties |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Jul
Renewable Properties |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Aug
Renewable Properties |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Sep
Renewable Properties |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Oct
Renewable Properties |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Nov
Renewable Properties |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Dec
Renewable Properties |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Cedar Swamp Rd | MA
Bullis | NY
Rock Island | NY
Winslow - Roderick | ME
Minoa - Clemons Rd | NY
Manchester - Western | ME
Batavia - Pike Rd | NY
Slayton A & B | NY
Batavia - Alexander Rd | NY
NC: Gibson – Henry Gibson Solar | NC
Bangor - Pushaw | ME

## Sites
Portfolio: | Renewable Properties
Site DAS Name | Site | State | Update | DAS
60 Cedar Swamp Rd. (Renewable Properties) | Cedar Swamp Rd | MA |  | PowerTrack
Bullis | Bullis | NY | AEF | PowerTrack
Rock Island NY (Renew Prop) | Rock Island | NY |  | PowerTrack
Roderick Road | Winslow - Roderick | ME |  | PowerTrack
Clemons Road | Minoa - Clemons Rd | NY |  | PowerTrack
Western Ave Solar | Manchester - Western | ME |  | PowerTrack
Batavia - Pike Rd | Batavia - Pike Rd | NY |  | PowerTrack
Lockport - Slayton A & B | Slayton A & B | NY |  | PowerTrack
Alexander Road | Batavia - Alexander Rd | NY |  | PowerTrack
Henry Gibson | NC: Gibson – Henry Gibson Solar | NC | AEF | PowerTrack
Pushaw | Bangor - Pushaw | ME | AEF | PowerTrack