## Year to Date
Silicon Ranch |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 1984478.15 | 1107350 | 877128.15 | 79.21% | 1915460.74 | 69017.41 | 3.603%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 6816 | 6764 | 52 | 0.7688% | 12840.66 | -6024.66 | -46.92% | -6024.66
Kohls - Auburn | NY | 645 | 645 | 0 | 0% | 4715.29 | -4070.29 | -86.32% | -4070.29
Kohls - Bensalem | PA | 10621 | 0 | 10621 |  | 15534.61 | -4913.61 | -31.63% | -4913.61
Kohls - Brick | NJ | 12552 | 12511 | 41 | 0.3277% | 16463.56 | -3911.56 | -23.76% | -3911.56
Kohls - Buffalo | NY | 3229 | 0 | 3229 |  | 7932.35 | -4703.35 | -59.29% | -4703.35
Kohls - Canton | CT | 1564 | 1330 | 234 | 17.59% | 5755.92 | -4191.92 | -72.83% | -4191.92
Kohls - East Amherst | NY | 1721 | 1585 | 136 | 8.58% | 8364.35 | -6643.35 | -79.42% | -6643.35
Kohls - East Brunswick | NJ | 13312.05 | 0 | 13312.05 |  | 22969.47 | -9657.42 | -42.04% | -9657.42
Kohls - Edgewood | MD | 69205 | 68059 | 1146 | 1.684% | 134337.97 | -65132.97 | -48.48% | -65132.97
Kohls - Granite Run | PA | 9634 | 9462 | 172 | 1.818% | 15797.45 | -6163.45 | -39.02% | -6163.45
Kohls - Greece | NY | 2440 | 2296 | 144 | 6.272% | 9292.71 | -6852.71 | -73.74% | -6852.71
Kohls - Hanover | PA | 13956 | 13682 | 274 | 2.003% | 18615.25 | -4659.25 | -25.03% | -4659.25
Kohls - Horsehead | NY | 7602 | 7428 | 174 | 2.342% | 12592.49 | -4990.49 | -39.63% | -4990.49
Kohls - Hudson | NY | 5478 | 0 | 5478 |  | 12675.21 | -7197.21 | -56.78% | -7197.21
Kohls - Ithaca | NY | 5406 | 5279 | 127 | 2.406% | 11746.86 | -6340.86 | -53.98% | -6340.86
Kohls - Kingston | NY | 5082 | 5015 | 67 | 1.336% | 22069.03 | -16987.03 | -76.97% | -16987.03
Kohls - Mechanicsburg | PA | 13803 | 13468 | 335 | 2.487% | 21317.04 | -7514.04 | -35.25% | -7514.04
Kohls - Middletown | NJ | 18759 | 18144 | 615 | 3.39% | 29222.37 | -10463.37 | -35.81% | -10463.37
Kohls - North Amherst | NY | 2216 | 2114 | 102 | 4.825% | 6434.12 | -4218.12 | -65.56% | -4218.12
Kohls - Staten Island | NY | 7744 | 0 | 7744 |  | 15260.77 | -7516.77 | -49.26% | -7516.77
Kohls - Warminster | PA | 11746 | 11528 | 218 | 1.891% | 19268.71 | -7522.71 | -39.04% | -7522.71
Kohls - Waterbury | CT | 6175 | 6085 | 90 | 1.479% | 15189.49 | -9014.49 | -59.35% | -9014.49
Mojave Water Agency - Headquarters | CA | 26259 | 26144 | 115 | 0.4399% | 25672.5 | 586.5 | 2.285% | 586.5
CSU - Bakersfield | CA | 61123 | 60461 | 662 | 1.095% | 60206.76 | 916.24 | 1.522% | 916.24
Greenfield USD - Fairfield ES | CA | 6362 | 6298 | 64 | 1.016% | 6700.67 | -338.67 | -5.054% | -338.67
Greenfield USD - Granite Point ES | CA | 20053 | 19951 | 102 | 0.5113% | 17528.38 | 2524.62 | 14.4% | 2524.62
Greenfield USD - Greenfield MS | CA | 8745 | 8723 | 22 | 0.2522% | 12096.14 | -3351.14 | -27.7% | -3351.14
Greenfield USD - Horizon ES | CA | 19976 | 19760 | 216 | 1.093% | 17758.17 | 2217.83 | 12.49% | 2217.83
Greenfield USD - McKee MS | CA | 5085 | 3700 | 1385 | 37.43% | 10873.66 | -5788.66 | -53.24% | -5788.66
Greenfield USD - Plantation ES | CA | 8003 | 7982 | 21 | 0.2631% | 7785.28 | 217.72 | 2.797% | 217.72
Greenfield USD - Planz ES | CA | 8297 | 8233 | 64 | 0.7774% | 8649.29 | -352.29 | -4.073% | -352.29
Greenfield USD - Raffaello Palla ES | CA | 17711 | 17200 | 511 | 2.971% | 19651.64 | -1940.64 | -9.875% | -1940.64
Greenfield USD - Valle Verde ES | CA | 11095 | 11046 | 49 | 0.4436% | 18530.26 | -7435.26 | -40.12% | -7435.26
Greenfield USD - W.A. Kendrick ES | CA | 7387 | 0 | 7387 |  | 7151.06 | 235.94 | 3.299% | 235.94
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 23447.83 | -23447.83 | -100% | -23447.83
Muroc Joint USD - W. Boron ES | CA | 7080 | 7052 | 28 | 0.3971% | 8694.49 | -1614.49 | -18.57% | -1614.49
Colusa - WTP | CA | 14057 | 0 | 14057 |  | 0 | 0 |  | 14057
CDCR-North Kern State Prision | CA | 62226 | 61499 | 727 | 1.182% | 79757.61 | -17531.61 | -21.98% | -17531.61
Muroc Joint USD - District Office | CA | 7120 | 7105 | 15 | 0.2111% | 6135.9 | 984.1 | 16.04% | 984.1
Whole Foods - Manhattan Beach | CA | 13065 | 13027 | 38 | 0.2917% | 13690.88 | -625.88 | -4.572% | -625.88
Pioneer USD - Frontier ES | CA | 2844 | 0 | 2844 |  | 11753.84 | -8909.84 | -75.8% | -8909.84
Pioneer USD - Pioneer ES | CA | 12485 | 0 | 12485 |  | 11589.4 | 895.6 | 7.728% | 895.6
Pioneer USD - Pioneer MS | CA | 20024 | 0 | 20024 |  | 15741.5 | 4282.5 | 27.21% | 4282.5
Kingsburg Joint UHSD - Kingsburg HS | CA | 43493 | 0 | 43493 |  | 35400.98 | 8092.02 | 22.86% | 8092.02
CADRB | CA | 182200 | 0 | 182200 |  | 404452 | -222252 | -54.95% | -222252
CDCR-CA State Prison LA County | CA | 184043 | 183347 | 696 | 0.3796% | 266789.69 | -82746.69 | -31.02% | -82746.69
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0 |  | 0
CUSD - District Office | CA | 5231 | 5179 | 52 | 1.004% | 9998.91 | -4767.91 | -47.68% | -4767.91
Parlier - WTP | CA | 22445 | 22289 | 156 | 0.6999% | 24046.92 | -1601.92 | -6.662% | -1601.92
Snowline SD - Quail Valley MS | CA | 21133 | 0 | 21133 |  | 23410.67 | -2277.67 | -9.729% | -2277.67
Snowline SD - Serrano HS - Middle Lot | CA | 28683 | 28597 | 86 | 0.3007% | 26474.09 | 2208.91 | 8.344% | 2208.91
Snowline SD - Pinon Hills ES | CA | 17533 | 17486 | 47 | 0.2688% | 14938.58 | 2594.42 | 17.37% | 2594.42
Ramona - Santa Maria WTP | CA | 48081 | 46414 | 1667 | 3.592% | 57154.88 | -9073.88 | -15.88% | -9073.88
Kohls - Redding | CA | 15248 | 0 | 15248 |  | 12683.27 | 2564.73 | 20.22% | 2564.73
Kohls - Salinas | CA | 25871 | 25385 | 486 | 1.915% | 24168.97 | 1702.03 | 7.042% | 1702.03
Kohls - Sonora | CA | 16236 | 16103 | 133 | 0.8259% | 14564.36 | 1671.64 | 11.48% | 1671.64
CUSD - Stratford ES | CA | 12662 | 12560 | 102 | 0.8121% | 8731.13 | 3930.87 | 45.02% | 3930.87
Taft - City Hall | CA | 6060.67 | 0 | 6060.67 |  | 4111.83 | 1948.84 | 47.4% | 1948.84
Taft - Federal Prison | CA | 11593 | 11541 | 52 | 0.4506% | 7357.48 | 4235.52 | 57.57% | 4235.52
Taft - Police Department | CA | 6662 | 6449 | 213 | 3.303% | 4732.48 | 1929.52 | 40.77% | 1929.52
Taft - WTP | CA | 50292.8 | 37054 | 13238.8 | 35.73% | 32415.45 | 17877.35 | 55.15% | 17877.35
CDCR - CA Correctional Institution | CA | 74538 | 73920 | 618 | 0.836% | 105328.53 | -30790.53 | -29.23% | -30790.53
CDCR - CA Correctional Institution II | CA | 145341 | 144585 | 756 | 0.5229% | 0 | 0 |  | 145341
Snowline SD - Vista Verde ES | CA | 15353 | 12865 | 2488 | 19.34% | 16889.58 | -1536.58 | -9.098% | -1536.58
North Stonington | CT | 482520 | 0 | 482520 |  | 0 | 0 |  | 482520
CT: Torrington - 2-298 Rossi Road | CT | 555.63 | 0 | 555.63 |  | 0 | 0

## 1st Qtr
Silicon Ranch |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 1984478.15 | 1107350 | 877128.15 | 79.21% | 1915460.74 | 69017.41 | 3.603%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 6816 | 6764 | 52 | 0.7688% | 12840.66 | -6024.66 | -46.92%
Kohls - Auburn | NY | 645 | 645 | 0 | 0% | 4715.29 | -4070.29 | -86.32%
Kohls - Bensalem | PA | 10621 | 0 | 10621 |  | 15534.61 | -4913.61 | -31.63%
Kohls - Brick | NJ | 12552 | 12511 | 41 | 0.3277% | 16463.56 | -3911.56 | -23.76%
Kohls - Buffalo | NY | 3229 | 0 | 3229 |  | 7932.35 | -4703.35 | -59.29%
Kohls - Canton | CT | 1564 | 1330 | 234 | 17.59% | 5755.92 | -4191.92 | -72.83%
Kohls - East Amherst | NY | 1721 | 1585 | 136 | 8.58% | 8364.35 | -6643.35 | -79.42%
Kohls - East Brunswick | NJ | 13312.05 | 0 | 13312.05 |  | 22969.47 | -9657.42 | -42.04%
Kohls - Edgewood | MD | 69205 | 68059 | 1146 | 1.684% | 134337.97 | -65132.97 | -48.48%
Kohls - Granite Run | PA | 9634 | 9462 | 172 | 1.818% | 15797.45 | -6163.45 | -39.02%
Kohls - Greece | NY | 2440 | 2296 | 144 | 6.272% | 9292.71 | -6852.71 | -73.74%
Kohls - Hanover | PA | 13956 | 13682 | 274 | 2.003% | 18615.25 | -4659.25 | -25.03%
Kohls - Horsehead | NY | 7602 | 7428 | 174 | 2.342% | 12592.49 | -4990.49 | -39.63%
Kohls - Hudson | NY | 5478 | 0 | 5478 |  | 12675.21 | -7197.21 | -56.78%
Kohls - Ithaca | NY | 5406 | 5279 | 127 | 2.406% | 11746.86 | -6340.86 | -53.98%
Kohls - Kingston | NY | 5082 | 5015 | 67 | 1.336% | 22069.03 | -16987.03 | -76.97%
Kohls - Mechanicsburg | PA | 13803 | 13468 | 335 | 2.487% | 21317.04 | -7514.04 | -35.25%
Kohls - Middletown | NJ | 18759 | 18144 | 615 | 3.39% | 29222.37 | -10463.37 | -35.81%
Kohls - North Amherst | NY | 2216 | 2114 | 102 | 4.825% | 6434.12 | -4218.12 | -65.56%
Kohls - Staten Island | NY | 7744 | 0 | 7744 |  | 15260.77 | -7516.77 | -49.26%
Kohls - Warminster | PA | 11746 | 11528 | 218 | 1.891% | 19268.71 | -7522.71 | -39.04%
Kohls - Waterbury | CT | 6175 | 6085 | 90 | 1.479% | 15189.49 | -9014.49 | -59.35%
Mojave Water Agency - Headquarters | CA | 26259 | 26144 | 115 | 0.4399% | 25672.5 | 586.5 | 2.285%
CSU - Bakersfield | CA | 61123 | 60461 | 662 | 1.095% | 60206.76 | 916.24 | 1.522%
Greenfield USD - Fairfield ES | CA | 6362 | 6298 | 64 | 1.016% | 6700.67 | -338.67 | -5.054%
Greenfield USD - Granite Point ES | CA | 20053 | 19951 | 102 | 0.5113% | 17528.38 | 2524.62 | 14.4%
Greenfield USD - Greenfield MS | CA | 8745 | 8723 | 22 | 0.2522% | 12096.14 | -3351.14 | -27.7%
Greenfield USD - Horizon ES | CA | 19976 | 19760 | 216 | 1.093% | 17758.17 | 2217.83 | 12.49%
Greenfield USD - McKee MS | CA | 5085 | 3700 | 1385 | 37.43% | 10873.66 | -5788.66 | -53.24%
Greenfield USD - Plantation ES | CA | 8003 | 7982 | 21 | 0.2631% | 7785.28 | 217.72 | 2.797%
Greenfield USD - Planz ES | CA | 8297 | 8233 | 64 | 0.7774% | 8649.29 | -352.29 | -4.073%
Greenfield USD - Raffaello Palla ES | CA | 17711 | 17200 | 511 | 2.971% | 19651.64 | -1940.64 | -9.875%
Greenfield USD - Valle Verde ES | CA | 11095 | 11046 | 49 | 0.4436% | 18530.26 | -7435.26 | -40.12%
Greenfield USD - W.A. Kendrick ES | CA | 7387 | 0 | 7387 |  | 7151.06 | 235.94 | 3.299%
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 23447.83 | -23447.83 | -100%
Muroc Joint USD - W. Boron ES | CA | 7080 | 7052 | 28 | 0.3971% | 8694.49 | -1614.49 | -18.57%
Colusa - WTP | CA | 14057 | 0 | 14057 |  | 0 | 0
CDCR-North Kern State Prision | CA | 62226 | 61499 | 727 | 1.182% | 79757.61 | -17531.61 | -21.98%
Muroc Joint USD - District Office | CA | 7120 | 7105 | 15 | 0.2111% | 6135.9 | 984.1 | 16.04%
Whole Foods - Manhattan Beach | CA | 13065 | 13027 | 38 | 0.2917% | 13690.88 | -625.88 | -4.572%
Pioneer USD - Frontier ES | CA | 2844 | 0 | 2844 |  | 11753.84 | -8909.84 | -75.8%
Pioneer USD - Pioneer ES | CA | 12485 | 0 | 12485 |  | 11589.4 | 895.6 | 7.728%
Pioneer USD - Pioneer MS | CA | 20024 | 0 | 20024 |  | 15741.5 | 4282.5 | 27.21%
Kingsburg Joint UHSD - Kingsburg HS | CA | 43493 | 0 | 43493 |  | 35400.98 | 8092.02 | 22.86%
CADRB | CA | 182200 | 0 | 182200 |  | 404452 | -222252 | -54.95%
CDCR-CA State Prison LA County | CA | 184043 | 183347 | 696 | 0.3796% | 266789.69 | -82746.69 | -31.02%
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - District Office | CA | 5231 | 5179 | 52 | 1.004% | 9998.91 | -4767.91 | -47.68%
Parlier - WTP | CA | 22445 | 22289 | 156 | 0.6999% | 24046.92 | -1601.92 | -6.662%
Snowline SD - Quail Valley MS | CA | 21133 | 0 | 21133 |  | 23410.67 | -2277.67 | -9.729%
Snowline SD - Serrano HS - Middle Lot | CA | 28683 | 28597 | 86 | 0.3007% | 26474.09 | 2208.91 | 8.344%
Snowline SD - Pinon Hills ES | CA | 17533 | 17486 | 47 | 0.2688% | 14938.58 | 2594.42 | 17.37%
Ramona - Santa Maria WTP | CA | 48081 | 46414 | 1667 | 3.592% | 57154.88 | -9073.88 | -15.88%
Kohls - Redding | CA | 15248 | 0 | 15248 |  | 12683.27 | 2564.73 | 20.22%
Kohls - Salinas | CA | 25871 | 25385 | 486 | 1.915% | 24168.97 | 1702.03 | 7.042%
Kohls - Sonora | CA | 16236 | 16103 | 133 | 0.8259% | 14564.36 | 1671.64 | 11.48%
CUSD - Stratford ES | CA | 12662 | 12560 | 102 | 0.8121% | 8731.13 | 3930.87 | 45.02%
Taft - City Hall | CA | 6060.67 | 0 | 6060.67 |  | 4111.83 | 1948.84 | 47.4%
Taft - Federal Prison | CA | 11593 | 11541 | 52 | 0.4506% | 7357.48 | 4235.52 | 57.57%
Taft - Police Department | CA | 6662 | 6449 | 213 | 3.303% | 4732.48 | 1929.52 | 40.77%
Taft - WTP | CA | 50292.8 | 37054 | 13238.8 | 35.73% | 32415.45 | 17877.35 | 55.15%
CDCR - CA Correctional Institution | CA | 74538 | 73920 | 618 | 0.836% | 105328.53 | -30790.53 | -29.23%
CDCR - CA Correctional Institution II | CA | 145341 | 144585 | 756 | 0.5229% | 0 | 0
Snowline SD - Vista Verde ES | CA | 15353 | 12865 | 2488 | 19.34% | 16889.58 | -1536.58 | -9.098%
North Stonington | CT | 482520 | 0 | 482520 |  | 0 | 0
CT: Torrington - 2-298 Rossi Road | CT | 555.63 | 0 | 555.63 |  | 0 | 0

## 2nd Qtr
Silicon Ranch |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 0 | 0 | 0 |  | 0 | 0
Kohls - Auburn | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Bensalem | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Brick | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - Buffalo | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Canton | CT | 0 | 0 | 0 |  | 0 | 0
Kohls - East Amherst | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - East Brunswick | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - Edgewood | MD | 0 | 0 | 0 |  | 0 | 0
Kohls - Granite Run | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Greece | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Hanover | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Horsehead | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Hudson | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Ithaca | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Kingston | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Mechanicsburg | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Middletown | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - North Amherst | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Staten Island | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Warminster | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Waterbury | CT | 0 | 0 | 0 |  | 0 | 0
Mojave Water Agency - Headquarters | CA | 0 | 0 | 0 |  | 0 | 0
CSU - Bakersfield | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Fairfield ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Granite Point ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Greenfield MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Horizon ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - McKee MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Plantation ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Planz ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Raffaello Palla ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Valle Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - W. Boron ES | CA | 0 | 0 | 0 |  | 0 | 0
Colusa - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-North Kern State Prision | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Whole Foods - Manhattan Beach | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Frontier ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer MS | CA | 0 | 0 | 0 |  | 0 | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 0 | 0 | 0 |  | 0 | 0
CADRB | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-CA State Prison LA County | CA | 0 | 0 | 0 |  | 0 | 0
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Parlier - WTP | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Quail Valley MS | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Serrano HS - Middle Lot | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  | 0 | 0
Ramona - Santa Maria WTP | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Redding | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Salinas | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Sonora | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - Stratford ES | CA | 0 | 0 | 0 |  | 0 | 0
Taft - City Hall | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Federal Prison | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Police Department | CA | 0 | 0 | 0 |  | 0 | 0
Taft - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution II | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Vista Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
North Stonington | CT | 0 | 0 | 0 |  | 0 | 0
CT: Torrington - 2-298 Rossi Road | CT | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Silicon Ranch |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 0 | 0 | 0 |  | 0 | 0
Kohls - Auburn | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Bensalem | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Brick | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - Buffalo | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Canton | CT | 0 | 0 | 0 |  | 0 | 0
Kohls - East Amherst | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - East Brunswick | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - Edgewood | MD | 0 | 0 | 0 |  | 0 | 0
Kohls - Granite Run | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Greece | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Hanover | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Horsehead | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Hudson | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Ithaca | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Kingston | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Mechanicsburg | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Middletown | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - North Amherst | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Staten Island | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Warminster | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Waterbury | CT | 0 | 0 | 0 |  | 0 | 0
Mojave Water Agency - Headquarters | CA | 0 | 0 | 0 |  | 0 | 0
CSU - Bakersfield | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Fairfield ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Granite Point ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Greenfield MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Horizon ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - McKee MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Plantation ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Planz ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Raffaello Palla ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Valle Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - W. Boron ES | CA | 0 | 0 | 0 |  | 0 | 0
Colusa - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-North Kern State Prision | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Whole Foods - Manhattan Beach | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Frontier ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer MS | CA | 0 | 0 | 0 |  | 0 | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 0 | 0 | 0 |  | 0 | 0
CADRB | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-CA State Prison LA County | CA | 0 | 0 | 0 |  | 0 | 0
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Parlier - WTP | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Quail Valley MS | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Serrano HS - Middle Lot | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  | 0 | 0
Ramona - Santa Maria WTP | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Redding | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Salinas | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Sonora | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - Stratford ES | CA | 0 | 0 | 0 |  | 0 | 0
Taft - City Hall | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Federal Prison | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Police Department | CA | 0 | 0 | 0 |  | 0 | 0
Taft - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution II | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Vista Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
North Stonington | CT | 0 | 0 | 0 |  | 0 | 0
CT: Torrington - 2-298 Rossi Road | CT | 0 | 0 | 0 |  | 0 | 0
[6 empty] | 0 | 0

## 4th Qtr
Silicon Ranch |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
Iron Mountain - Windsor | CT | 0 | 0 | 0 |  | 0 | 0
Kohls - Auburn | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Bensalem | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Brick | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - Buffalo | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Canton | CT | 0 | 0 | 0 |  | 0 | 0
Kohls - East Amherst | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - East Brunswick | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - Edgewood | MD | 0 | 0 | 0 |  | 0 | 0
Kohls - Granite Run | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Greece | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Hanover | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Horsehead | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Hudson | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Ithaca | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Kingston | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Mechanicsburg | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Middletown | NJ | 0 | 0 | 0 |  | 0 | 0
Kohls - North Amherst | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Staten Island | NY | 0 | 0 | 0 |  | 0 | 0
Kohls - Warminster | PA | 0 | 0 | 0 |  | 0 | 0
Kohls - Waterbury | CT | 0 | 0 | 0 |  | 0 | 0
Mojave Water Agency - Headquarters | CA | 0 | 0 | 0 |  | 0 | 0
CSU - Bakersfield | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Fairfield ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Granite Point ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Greenfield MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Horizon ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - McKee MS | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Plantation ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Planz ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Raffaello Palla ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - Valle Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
Greenfield USD - W.A. Kendrick ES | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - W. Boron ES | CA | 0 | 0 | 0 |  | 0 | 0
Colusa - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-North Kern State Prision | CA | 0 | 0 | 0 |  | 0 | 0
Muroc Joint USD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Whole Foods - Manhattan Beach | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Frontier ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer ES | CA | 0 | 0 | 0 |  | 0 | 0
Pioneer USD - Pioneer MS | CA | 0 | 0 | 0 |  | 0 | 0
Kingsburg Joint UHSD - Kingsburg HS | CA | 0 | 0 | 0 |  | 0 | 0
CADRB | CA | 0 | 0 | 0 |  | 0 | 0
CDCR-CA State Prison LA County | CA | 0 | 0 | 0 |  | 0 | 0
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - District Office | CA | 0 | 0 | 0 |  | 0 | 0
Parlier - WTP | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Quail Valley MS | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Serrano HS - Middle Lot | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Pinon Hills ES | CA | 0 | 0 | 0 |  | 0 | 0
Ramona - Santa Maria WTP | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Redding | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Salinas | CA | 0 | 0 | 0 |  | 0 | 0
Kohls - Sonora | CA | 0 | 0 | 0 |  | 0 | 0
CUSD - Stratford ES | CA | 0 | 0 | 0 |  | 0 | 0
Taft - City Hall | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Federal Prison | CA | 0 | 0 | 0 |  | 0 | 0
Taft - Police Department | CA | 0 | 0 | 0 |  | 0 | 0
Taft - WTP | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution | CA | 0 | 0 | 0 |  | 0 | 0
CDCR - CA Correctional Institution II | CA | 0 | 0 | 0 |  | 0 | 0
Snowline SD - Vista Verde ES | CA | 0 | 0 | 0 |  | 0 | 0
North Stonington | CT | 0 | 0 | 0 |  | 0 | 0
CT: Torrington - 2-298 Rossi Road | CT | 0 | 0 | 0 |  | 0 | 0
|  | 0 | 0 | 0 |  | 0 | 0

## Jan
Silicon Ranch |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 1984478.15 | 1107350 | 877128.15 | 79.21% | 1915460.74 | 69017.41 | 3.603%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Iron Mountain - Windsor | CT | 6816 | 6764 | 52 | 0.7688% | 12840.66 | -6024.66 | -46.92% | 1. Site production was low on 01/17 to 01/22, 01/25 to 01/27 due to snow.
Kohls - Auburn | NY | 645 | 645 | 0 | 0% | 4715.29 | -4070.29 | -86.32% | 1. Site was barely producing from 01/12 to 01/22 and was offline from 01/25 to 01/27 due to snow.
Kohls - Bensalem | PA | 10621 | 0 | 10621 |  | 15534.61 | -4913.61 | -31.63% | 1.Meter was not communicated for whole month but production can be verified at interver 2. Inverter was offline from 11:00 on 01/17 to end of the month due to snow. | 1. SR111409 2. SR114708 | 1.pending 2. Pending | SR114708
Kohls - Brick | NJ | 12552 | 12511 | 41 | 0.3277% | 16463.56 | -3911.56 | -23.76% | 1. Site production was low from 01/25 to end of the month due to snow. 2. Inverter was offline from 09:40 to 10:40 on 01/02. | 1. SR113990 | 1. Closed
Kohls - Buffalo | NY | 3229 | 0 | 3229 |  | 7932.35 | -4703.35 | -59.29% | 1. Site production was low on 01/04, 01/05, 01/07,01/11,01/15,01/22, 01/29,01/30due to snow.
Kohls - Canton | CT | 1564 | 1330 | 234 | 17.59% | 5755.92 | -4191.92 | -72.83% | 1. Site was not communicated from 01:40 on 01/15 to end of the month. | 1. SR114652 | 1. Work in progress
Kohls - East Amherst | NY | 1721 | 1585 | 136 | 8.58% | 8364.35 | -6643.35 | -79.42% | 1. Site production was low most of the days in month due to snow
Kohls - East Brunswick | NJ | 13312.05 | 0 | 13312.05 |  | 22969.47 | -9657.42 | -42.04% | 1. Meter was not communicated for whole month but production can be verified at interver 2. Inverter was offline from 01/25 to end of the month due to snow. | 1.SR108676 | 1.pending
Kohls - Edgewood | MD | 69205 | 68059 | 1146 | 1.684% | 134337.97 | -65132.97 | -48.48% | 1. Meter 3 stopped communicating at 16:23 from 06/23 but production can be verified at inverter level. Meter has failed and needs to be replaced. Due to this the overall meter is reporting 200kW down than the produced value. 2. Site production was low on 01/25 to end of the month due to snow. | 1. SR107924 | 1.Deined
Kohls - Granite Run | PA | 9634 | 9462 | 172 | 1.818% | 15797.45 | -6163.45 | -39.02% | 1. Site production was low on 01/25 to end of the month due to snow.
Kohls - Greece | NY | 2440 | 2296 | 144 | 6.272% | 9292.71 | -6852.71 | -73.74% | 1. Site production was low on 01/25 to end of the month due to snow.
Kohls - Hanover | PA | 13956 | 13682 | 274 | 2.003% | 18615.25 | -4659.25 | -25.03% | 1. Site production was low on 01/17 to 01/22, 01/25 to 01/27 due to snow.
Kohls - Horsehead | NY | 7602 | 7428 | 174 | 2.342% | 12592.49 | -4990.49 | -39.63% | 1. Site production was low on 01/25 to end of the month due to snow. 2. Inverter started late for production on 01/17 at 09:10. | 2. SR095654 | 1. closed
Kohls - Hudson | NY | 5478 | 0 | 5478 |  | 12675.21 | -7197.21 | -56.78% | 1. Meter was not communicated for whole month but production can be verified at interver 2. Site production was low on 01/25 to end of the month due to snow. | 1. SR103499 | 1.closed
Kohls - Ithaca | NY | 5406 | 5279 | 127 | 2.406% | 11746.86 | -6340.86 | -53.98% | 1. Site production was low on 01/17 to 01/22, 01/25 to 01/27 due to snow.
Kohls - Kingston | NY | 5082 | 5015 | 67 | 1.336% | 22069.03 | -16987.03 | -76.97% | 1. Site production was low on 01/25 to end of the month due to snow. 2. Site was offline from 12/27 to 01/07. | 2. SR114087 | 2. Completed
Kohls - Mechanicsburg | PA | 13803 | 13468 | 335 | 2.487% | 21317.04 | -7514.04 | -35.25% | 1. Site production was low on 01/25 to end of the month due to snow.
Kohls - Middletown | NJ | 18759 | 18144 | 615 | 3.39% | 29222.37 | -10463.37 | -35.81% | 1. Site production was low on 01/25 to end of the month due to snow.
Kohls - North Amherst | NY | 2216 | 2114 | 102 | 4.825% | 6434.12 | -4218.12 | -65.56% | 1. Inverter is barely producing, mostly remained offline and reporting "AC Surge Warning" from 11/27. There was snow accumulation and clearing at the site from past couple of days | 1. SR111831 | 1.pending
Kohls - Staten Island | NY | 7744 | 0 | 7744 |  | 15260.77 | -7516.77 | -49.26% | 1. 13 modules nee to bereplaced. 2. Inverter 8, 20, 21 were offline for whole month. 3. Pyronometer was displaying 0w/m2 for whole month. | 1. SR105403 2. SR095623 3. SR108240 | 1. Pending 2. Pending 3. Denied | SR095623 | SR108240
Kohls - Warminster | PA | 11746 | 11528 | 218 | 1.891% | 19268.71 | -7522.71 | -39.04% | 1. Site was barely producing from 01/17 to 01/22 and also from 01/25 to end of the month due to snow.
Kohls - Waterbury | CT | 6175 | 6085 | 90 | 1.479% | 15189.49 | -9014.49 | -59.35% | 1. Site was barely producing from 01/17 to 01/22 and also from 01/25 to end of the month due to snow.
Mojave Water Agency - Headquarters | CA | 26259 | 26144 | 115 | 0.4399% | 25672.5 | 586.5 | 2.285%
CSU - Bakersfield | CA | 61123 | 60461 | 662 | 1.095% | 60206.76 | 916.24 | 1.522%
Greenfield USD - Fairfield ES | CA | 6362 | 6298 | 64 | 1.016% | 6700.67 | -338.67 | -5.054%
Greenfield USD - Granite Point ES | CA | 20053 | 19951 | 102 | 0.5113% | 17528.38 | 2524.62 | 14.4% | 1. Inverter 1 PAD 1 was offline form 10/14and back online at 12:10 on 01/02. | 1. SR109478 | 1. Closed
Greenfield USD - Greenfield MS | CA | 8745 | 8723 | 22 | 0.2522% | 12096.14 | -3351.14 | -27.7% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance
Greenfield USD - Horizon ES | CA | 19976 | 19760 | 216 | 1.093% | 17758.17 | 2217.83 | 12.49% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance
Greenfield USD - McKee MS | CA | 5085 | 3700 | 1385 | 37.43% | 10873.66 | -5788.66 | -53.24% | 1. 12 additional damaged modules. Combiner left offline. 2.Weather station reporting 0W/M^2 from 01/25 | 1. SR109483 | 1.pending
Greenfield USD - Plantation ES | CA | 8003 | 7982 | 21 | 0.2631% | 7785.28 | 217.72 | 2.797% | 1. 1 module need to be replaced. | 1. SR109260 | 1. Pending
Greenfield USD - Planz ES | CA | 8297 | 8233 | 64 | 0.7774% | 8649.29 | -352.29 | -4.073%
Greenfield USD - Raffaello Palla ES | CA | 17711 | 17200 | 511 | 2.971% | 19651.64 | -1940.64 | -9.875% | 1. 14 modules need to be replaced. 2. Meter intermettently drops to zero but production can be verified at inverter. 3. CB 460 was offline for whole month. | 1. SR110823 2. SR091550 3. SR110826 | 1. Pending 2. Pending 3. Pending | SR091550 | SR110826
Greenfield USD - Valle Verde ES | CA | 11095 | 11046 | 49 | 0.4436% | 18530.26 | -7435.26 | -40.12% | 1. 5 Modules need to be replaced. 2.As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance | 1. SR111114 | 1. Pending
Greenfield USD - W.A. Kendrick ES | CA | 7387 | 0 | 7387 |  | 7151.06 | 235.94 | 3.299% | 1.Meter reporting half of inverter production since 6/11/22 waiting for client approval for investigation. | 1.SR106741 | 1.pending
Muroc Joint USD - Boron HS | CA | 0 | 0 | 0 |  | 23447.83 | -23447.83 | -100% | 1. Site was not communicated for whole month GPM recommended NPort failure. | 1.SR111715 | 1.pending
Muroc Joint USD - W. Boron ES | CA | 7080 | 7052 | 28 | 0.3971% | 8694.49 | -1614.49 | -18.57% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance
Colusa - WTP | CA | 14057 | 0 | 14057 |  | N/A |  |  | 1. The meter has been reporting 60 kW of production onsite since 07/25. 2. 14 replacement modules and connector repairs are needed onsite, along with 16 strings that require repair. 3. Inverter was offline from 12/20 to 12:20 on 01/18 and was again offline from 12:50 to 16:50 on 01/26. | 1.SR105065 2.SR105063 3. SR113382 | 1.pending 2.pending 3. Pending | SR105063 | SR113382
CDCR-North Kern State Prision | CA | 62226 | 61499 | 727 | 1.182% | 79757.61 | -17531.61 | -21.98% | 1. Site was not offline from 10:20 to 11:55 on 01/16. 2. Site was offline from 08:10 on 01/06 to 09:15 on 01/07 and was offline from 08:25 to 13:30on 01/05. | 2. SR114200 | 2. Closed
Muroc Joint USD - District Office | CA | 7120 | 7105 | 15 | 0.2111% | 6135.9 | 984.1 | 16.04% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance
Whole Foods - Manhattan Beach | CA | 13065 | 13027 | 38 | 0.2917% | 13690.88 | -625.88 | -4.572% | 1. Inverter 9 has been offline since 12:30 on 07/05. 2. Inverter 1 tripped offline at 08:40 on 06/02/25, reporting "Ground Fault", and has remained offline since then. 3. Inverter 8 is offline Since 02/07/2024 and inverter is under RMA'd. 4. Inverters 3 was offline since 08/23/2024 and inverter is under RMA'd. | 1. SR104027 2. SR102346 3. SR090375, SR105124, SR112520 4. SR089461, SR105124, SR101136 | 1.Closed 2.Closed 3.Pending 4.Closed | SR102346 | SR090375 | SR105124 | SR112520 | SR089461 | SR105124 | SR101136
Pioneer USD - Frontier ES | CA | 2844 | 0 | 2844 |  | 11753.84 | -8909.84 | -75.8% | 1. Inverter 1 was offline from 09/12 to 08:35 on 01/27. 2. Weather station was not communicated for whole month. | 1. SR113878 2. SR092276 | 1. Pending 2. Pending | SR092276
Pioneer USD - Pioneer ES | CA | 12485 | 0 | 12485 |  | 11589.4 | 895.6 | 7.728% | 1. PAD 1 meter was offline from 09:20 on 01/05 to 14:20 on 01/06. | 1. SR114191 | 1. Pending
Pioneer USD - Pioneer MS | CA | 20024 | 0 | 20024 |  | 15741.5 | 4282.5 | 27.21%
Kingsburg Joint UHSD - Kingsburg HS | CA | 43493 | 0 | 43493 |  | 35400.98 | 8092.02 | 22.86% | 1. Weather station reporting zero from 16:20 on 05/20/25. Pending PO for weather station sensor 2. Combiner Box 1-4 - Multiple Strings reading low - string 1 has a blown fuse. Combiner Box 1-3 - string one reading low due to modules have some sort of fading in the front, Combiner Box 1-5 - May have multiple strings low on this one | 1.SR105133 2. SR110453 | 1. Closed 2. Pending | SR110453
CADRB | CA | 182200 | 0 | 182200 |  | 404452 | -222252 | -54.95% | 1. Inverter 3 was offline for whole month and Meter energy values are inaccurate. 2. POA 1 was reporting zero for whole month. 3. Trackers NCU 1 SPC 1.1.13, 1.1.16, 1.2.17, 1.2.38 and NCU 2 SPC 2.2.07, 2.2.22, 2.2.37, 2.2.38 were stuck for whole month. | 1. SR111285, SR112280 2. SR111737 3. SR108289 | 1. Work inprogress, Pending 2. Pending 3. Pending | SR112280 | SR111737 | SR108289
CDCR-CA State Prison LA County | CA | 184043 | 183347 | 696 | 0.3796% | 266789.69 | -82746.69 | -31.02% | 1. Several modules need to be replaced 2. Inverter 1 was offline from 12:30 on 01/05 to 12:45 on 01/08. | 1. SR105129 2. SR114173 | 1. Pending 2. Completed | SR114173
Central USD Akers ES | CA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site had no communications since 07/03 and need to replace Modem and Datalogger. 2.One inverter was offline or due to the active comms failure. | 1. SR104249, SR110688 2. SR108213, SR104249 | 1.Pending 2. closed | SR110688 | SR108213 | SR104249
CUSD - District Office | CA | 5231 | 5179 | 52 | 1.004% | 9998.91 | -4767.91 | -47.68% | 1. Inverters 1 and 2 tripped offline at 13:55 on 05/29 due to bad circuit breakers. Until the CBs are replaced, the inverters will remain offline. | 1. SR105759, SR109811 | 1.closed, deined | SR109811
Parlier - WTP | CA | 22445 | 22289 | 156 | 0.6999% | 24046.92 | -1601.92 | -6.662% | 1. 16 modules need to be replaced. 2. Inverter 2 was derated to 52 kW from 10:20 to 14:40 on 01/12 | 1. SR109932 2. SR108694 | 1. Pending 2. Pending | SR108694
Snowline SD - Quail Valley MS | CA | 21133 | 0 | 21133 |  | 23410.67 | -2277.67 | -9.729% | 1.Meter lost communication but inverter reporting production. 2. Inverter was intermitently dropping to zero. | 1.SR112430 2. SR114794 | 1.pending 2. Completed | SR114794
Snowline SD - Serrano HS - Middle Lot | CA | 28683 | 28597 | 86 | 0.3007% | 26474.09 | 2208.91 | 8.344%
Snowline SD - Pinon Hills ES | CA | 17533 | 17486 | 47 | 0.2688% | 14938.58 | 2594.42 | 17.37%
Ramona - Santa Maria WTP | CA | 48081 | 46414 | 1667 | 3.592% | 57154.88 | -9073.88 | -15.88% | 1. Weather station has intermittent communication issue(irradiance is dropping to zero intermittently) | 1. SR110590 | 1.Pending
Kohls - Redding | CA | 15248 | 0 | 15248 |  | 12683.27 | 2564.73 | 20.22% | 1.Site was offline at 11:25 on 01/04 and it came back online at 12:10 on 01/08 2.Weather station is reporting 0w/m2 during day time. | 1. SR114127 2.SR107807 | 1.Completed 2.Closed | SR107807
Kohls - Salinas | CA | 25871 | 25385 | 486 | 1.915% | 24168.97 | 1702.03 | 7.042% | 1.Inverter 4 is tripping offline during high irradiance, reading increased DC voltage. | 1. SR113032 | 1.Closed
Kohls - Sonora | CA | 16236 | 16103 | 133 | 0.8259% | 14564.36 | 1671.64 | 11.48% | 1. Inverters 7 and 12 were offline for whole month. 2. Inverter 2 was offline for whole month. | 1.SR111374 2.SR105126 | 1.pending 2.Pending | SR105126
CUSD - Stratford ES | CA | 12662 | 12560 | 102 | 0.8121% | 8731.13 | 3930.87 | 45.02% | 1. Inverter 1 was underproduced by 30kW compared to inverter 2 for whole month | 1.SR108137 , SR112530 | 1.Pending | SR112530
Taft - City Hall | CA | 6060.67 | 0 | 6060.67 |  | 4111.83 | 1948.84 | 47.4% | 1. The production meter is reporting incorrect energy values, so the actual energy has been taken from the inverter total energy instead. Since the expected energy is calculated using the PR derived from the meter’s actual value, the expected energy data is also erroneous. Reached out to GPM support on this. | 1.SR110601 | 1.pending
Taft - Federal Prison | CA | 11593 | 11541 | 52 | 0.4506% | 7357.48 | 4235.52 | 57.57% | 1. The forecasted (theoretical) values appear lower because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Taft - Police Department | CA | 6662 | 6449 | 213 | 3.303% | 4732.48 | 1929.52 | 40.77% | 1. The forecasted (theoretical) values appear lower because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Taft - WTP | CA | 50292.8 | 37054 | 13238.8 | 35.73% | 32415.45 | 17877.35 | 55.15% | 1. PAD A meter reporting zero for whole month. | 1.SR114198 | 1.pending
CDCR - CA Correctional Institution | CA | 74538 | 73920 | 618 | 0.836% | 105328.53 | -30790.53 | -29.23% | 1.Site tripped offline at 10:40 on 01/15 and it came back online at 10:30 on 01/21 | 1.SR114782 | 1.Completed
CDCR - CA Correctional Institution II | CA | 145341 | 144585 | 756 | 0.5229% | N/A |  |  | 1.Site tripped offline at 10:40 on 01/15 and it came back online at 10:30 on 01/21 | 1.SR114783 | 1.Compleetd
Snowline SD - Vista Verde ES | CA | 15353 | 12865 | 2488 | 19.34% | 16889.58 | -1536.58 | -9.098% | 1. Inverter 1 is derating and constantly producing ~18kW as per meter data and inverter has no communication | 1.SR114203 | 1.Pending
North Stonington | CT | 482520 | N/A |  |  | N/A |  |  | 1.Inverter A.02.15 RMAD | 1.SR114892 | 1.pending
CT: Torrington - 2-298 Rossi Road | CT | 555.63 | N/A |  |  | N/A |  |  | 1. Pad 1 is not communication but online and producing on site. 2. Inverter D07.12 back online at 13:20 on 01/23 3.Site was offline at 18:15 on 01/08 and it came back online at 08:25 on 01/13 | 1.SR112560 2.SR113885 3.SR114419 | 1.Pending 2.Completed 3.Completed | SR113885 | SR114419

## Feb
Silicon Ranch |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA |  |  | 0
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Mar
Silicon Ranch |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Apr
Silicon Ranch |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## May
Silicon Ranch |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA | [9 empty] | SR101285 | SR102153
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Jun
Silicon Ranch |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Jul
Silicon Ranch |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | #VALUE!
Kohls - Auburn
Kohls - Bensalem
Kohls - Brick
Kohls - Buffalo
Kohls - Canton
Kohls - East Amherst
Kohls - East Brunswick
Kohls - Edgewood
Kohls - Granite Run
Kohls - Greece
Kohls - Hanover
Kohls - Horsehead
Kohls - Hudson
Kohls - Ithaca
Kohls - Kingston
Kohls - Mechanicsburg
Kohls - Middletown
Kohls - North Amherst
Kohls - Staten Island
Kohls - Warminster
Kohls - Waterbury
Mojave Water Agency - Headquarters
CSU - Bakersfield
Greenfield USD - Fairfield ES
Greenfield USD - Granite Point ES
Greenfield USD - Greenfield MS
Greenfield USD - Horizon ES
Greenfield USD - McKee MS
Greenfield USD - Plantation ES
Greenfield USD - Planz ES
Greenfield USD - Raffaello Palla ES
Greenfield USD - Valle Verde ES
Greenfield USD - W.A. Kendrick ES
Muroc Joint USD - Boron HS | 0
Muroc Joint USD - W. Boron ES
Colusa - WTP
CDCR-North Kern State Prision
Muroc Joint USD - District Office
Whole Foods - Manhattan Beach
Pioneer USD - Frontier ES
Pioneer USD - Pioneer ES
Pioneer USD - Pioneer MS
Kingsburg Joint UHSD - Kingsburg HS
CADRB
CDCR-CA State Prison LA County
Central USD Akers ES
CUSD - District Office
Parlier - WTP
Snowline SD - Quail Valley MS
Snowline SD - Serrano HS - Middle Lot
Snowline SD - Pinon Hills ES
Ramona - Santa Maria WTP
Kohls - Redding
Kohls - Salinas
Kohls - Sonora
CUSD - Stratford ES
Taft - City Hall
Taft - Federal Prison
Taft - Police Department
Taft - WTP
CDCR - CA Correctional Institution
CDCR - CA Correctional Institution II
Snowline SD - Vista Verde ES
North Stonington
CT: Torrington - 2-298 Rossi Road

## Aug
Silicon Ranch |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA | [9 empty] | SR105124 | SR101136
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA | [9 empty] | SR104174
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Sep
Silicon Ranch |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA | [9 empty] | SR105124 | SR101136
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA | [9 empty] | SR104174
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Oct
Silicon Ranch |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA | [10 empty] | SR089461 | SR105124 | SR101136
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Nov
Silicon Ranch |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA | [10 empty] | SR089461 | SR105124 | SR101136
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Actual energy is taken from total inverter energy
Note on C11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Actual energy is taken from total inverter energy
Note on C37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Actual energy is taken from total inverter energy

## Dec
Silicon Ranch |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Iron Mountain - Windsor | CT
Kohls - Auburn | NY
Kohls - Bensalem | PA
Kohls - Brick | NJ
Kohls - Buffalo | NY
Kohls - Canton | CT
Kohls - East Amherst | NY
Kohls - East Brunswick | NJ
Kohls - Edgewood | MD
Kohls - Granite Run | PA
Kohls - Greece | NY
Kohls - Hanover | PA
Kohls - Horsehead | NY
Kohls - Hudson | NY
Kohls - Ithaca | NY
Kohls - Kingston | NY
Kohls - Mechanicsburg | PA
Kohls - Middletown | NJ
Kohls - North Amherst | NY
Kohls - Staten Island | NY
Kohls - Warminster | PA
Kohls - Waterbury | CT
Mojave Water Agency - Headquarters | CA
CSU - Bakersfield | CA
Greenfield USD - Fairfield ES | CA
Greenfield USD - Granite Point ES | CA
Greenfield USD - Greenfield MS | CA
Greenfield USD - Horizon ES | CA
Greenfield USD - McKee MS | CA
Greenfield USD - Plantation ES | CA
Greenfield USD - Planz ES | CA
Greenfield USD - Raffaello Palla ES | CA
Greenfield USD - Valle Verde ES | CA
Greenfield USD - W.A. Kendrick ES | CA
Muroc Joint USD - Boron HS | CA
Muroc Joint USD - W. Boron ES | CA
Colusa - WTP | CA
CDCR-North Kern State Prision | CA
Muroc Joint USD - District Office | CA
Whole Foods - Manhattan Beach | CA | [10 empty] | SR105124 | SR101136
Pioneer USD - Frontier ES | CA
Pioneer USD - Pioneer ES | CA
Pioneer USD - Pioneer MS | CA
Kingsburg Joint UHSD - Kingsburg HS | CA
CADRB | CA
CDCR-CA State Prison LA County | CA
Central USD Akers ES | CA
CUSD - District Office | CA
Parlier - WTP | CA
Snowline SD - Quail Valley MS | CA
Snowline SD - Serrano HS - Middle Lot | CA
Snowline SD - Pinon Hills ES | CA
Ramona - Santa Maria WTP | CA
Kohls - Redding | CA
Kohls - Salinas | CA
Kohls - Sonora | CA
CUSD - Stratford ES | CA
Taft - City Hall | CA
Taft - Federal Prison | CA
Taft - Police Department | CA
Taft - WTP | CA
CDCR - CA Correctional Institution | CA
CDCR - CA Correctional Institution II | CA
Snowline SD - Vista Verde ES | CA
North Stonington | CT
CT: Torrington - 2-298 Rossi Road | CT

## Sites
Portfolio: | Silicon Ranch
Site DAS Name | Site | State | Column1 | DAS
zz.Iron Mountain - Windsor | Iron Mountain - Windsor | CT | FA | Green Power Monitor
zz.Kohls - Auburn | Kohls - Auburn | NY | FA | Green Power Monitor
zz.Kohls - Bensalem | Kohls - Bensalem | PA | FA | Green Power Monitor
zz.Kohls - Brick | Kohls - Brick | NJ | FA | Green Power Monitor
zz.Kohls - Buffalo | Kohls - Buffalo | NY | FA | Green Power Monitor
zz.Kohls - Canton | Kohls - Canton | CT | FA | Green Power Monitor
zz.Kohls - East Amherst | Kohls - East Amherst | NY | FA | Green Power Monitor
zz.Kohls - East Brunswick | Kohls - East Brunswick | NJ | FA | Green Power Monitor
zz.Kohls - Edgewood | Kohls - Edgewood | MD | FA | Green Power Monitor
zz.Kohls - Granite Run | Kohls - Granite Run | PA | FA | Green Power Monitor
zz.Kohls - Greece | Kohls - Greece | NY | FA | Green Power Monitor
zz.Kohls - Hanover | Kohls - Hanover | PA | FA | Green Power Monitor
zz.Kohls - Horsehead | Kohls - Horsehead | NY | FA | Green Power Monitor
zz.Kohls - Hudson | Kohls - Hudson | NY | FA | Green Power Monitor
zz.Kohls - Ithaca | Kohls - Ithaca | NY | FA | Green Power Monitor
zz.Kohls - Kingston | Kohls - Kingston | NY | FA | Green Power Monitor
zz.Kohls - Mechanicsburg | Kohls - Mechanicsburg | PA | FA | Green Power Monitor
zz.Kohls - Middletown | Kohls - Middletown | NJ | FA | Green Power Monitor
zz.Kohls - North Amherst | Kohls - North Amherst | NY | FA | Green Power Monitor
zz.Kohls - Staten Island | Kohls - Staten Island | NY | FA | Green Power Monitor
zz.Kohls - Warminster | Kohls - Warminster | PA | FA | Green Power Monitor
zz.Kohls - Waterbury | Kohls - Waterbury | CT | FA | Green Power Monitor
zz.Mojave Water Agency - Headquarters | Mojave Water Agency - Headquarters | CA | FA | Green Power Monitor
zz.CSU - Bakersfield | CSU - Bakersfield | CA | FA | Green Power Monitor
zz.Greenfield USD - Fairfield ES | Greenfield USD - Fairfield ES | CA | FA | Green Power Monitor
zz.Greenfield USD - Granite Point ES | Greenfield USD - Granite Point ES | CA | FA | Green Power Monitor
zz.Greenfield USD - Greenfield MS | Greenfield USD - Greenfield MS | CA | FA | Green Power Monitor
zz.Greenfield USD - Horizon ES | Greenfield USD - Horizon ES | CA | FA | Green Power Monitor
zz.Greenfield USD - McKee MS | Greenfield USD - McKee MS | CA | FA | Green Power Monitor
zz.Greenfield USD - Plantation ES | Greenfield USD - Plantation ES | CA | FA | Green Power Monitor
zz.Greenfield USD - Planz ES | Greenfield USD - Planz ES | CA | FA | Green Power Monitor
zz.Greenfield USD - Raffaello Palla ES | Greenfield USD - Raffaello Palla ES | CA | FA | Green Power Monitor
zz.Greenfield USD - Valle Verde ES | Greenfield USD - Valle Verde ES | CA | FA | Green Power Monitor
zz.Greenfield USD - W.A. Kendrick ES | Greenfield USD - W.A. Kendrick ES | CA | FA | Green Power Monitor
zz.Muroc Joint USD - Boron HS | Muroc Joint USD - Boron HS | CA | FA | Green Power Monitor
zz.Muroc Joint USD - W. Boron ES | Muroc Joint USD - W. Boron ES | CA | FA | Green Power Monitor
zz.Colusa - WTP | Colusa - WTP | CA | FA | Green Power Monitor
zz.CDCR-North Kern State Prision | CDCR-North Kern State Prision | CA |  | Green Power Monitor
zz.Muroc Joint USD - District Office | Muroc Joint USD - District Office | CA | FA | Green Power Monitor
zz.Whole Foods - Manhattan Beach | Whole Foods - Manhattan Beach | CA | FA | Green Power Monitor
zz.Pioneer USD - Frontier ES | Pioneer USD - Frontier ES | CA | FA | Green Power Monitor
zz.Pioneer USD - Pioneer ES | Pioneer USD - Pioneer ES | CA | FA | Green Power Monitor
zz.Pioneer USD - Pioneer MS | Pioneer USD - Pioneer MS | CA | FA | Green Power Monitor
zz.Kingsburg Joint UHSD - Kingsburg HS | Kingsburg Joint UHSD - Kingsburg HS | CA | FA | Green Power Monitor
CADRB | CADRB | CA | FA | Green Power Monitor
zz.CDCR-CA State Prison LA County | CDCR-CA State Prison LA County | CA |  | Green Power Monitor
zz.Central USD Akers ES | Central USD Akers ES | CA |  | Green Power Monitor
zz.CUSD - District Office | CUSD - District Office | CA | FA | Green Power Monitor
zz.Parlier - WTP | Parlier - WTP | CA |  | Green Power Monitor
zz.Snowline SD - Quail Valley MS | Snowline SD - Quail Valley MS | CA | FA | Green Power Monitor
zz.Snowline SD - Serrano HS - Middle Lot | Snowline SD - Serrano HS - Middle Lot | CA |  | Green Power Monitor
zz.Snowline SD - Pinon Hills ES | Snowline SD - Pinon Hills ES | CA | FA | Green Power Monitor
zz.Ramona - Santa Maria WTP | Ramona - Santa Maria WTP | CA | FA | Green Power Monitor
zz.Kohls - Redding | Kohls - Redding | CA | FA | Green Power Monitor
zz.Kohls - Salinas | Kohls - Salinas | CA | FA | Green Power Monitor
zz.Kohls - Sonora | Kohls - Sonora | CA | FA | Green Power Monitor
zz.CUSD - Stratford ES | CUSD - Stratford ES | CA | FA | Green Power Monitor
zz.Taft - City Hall | Taft - City Hall | CA | FA | Green Power Monitor
zz.Taft - Federal Prison | Taft - Federal Prison | CA | FA | Green Power Monitor
zz.Taft - Police Department | Taft - Police Department | CA | FA | Green Power Monitor
zz.Colusa - WTP | Taft - WTP | CA |  | Green Power Monitor
zz.CDCR - CA Correctional Institution | CDCR - CA Correctional Institution | CA |  | Green Power Monitor
zz.CDCR - CA Correctional Institution II | CDCR - CA Correctional Institution II | CA |  | Green Power Monitor
zz.Snowline SD - Vista Verde ES | Snowline SD - Vista Verde ES | CA | FA | Green Power Monitor
North Stonington - 450 Providence-New London Tpk | North Stonington | CT |  | Green Power Monitor
Litchfield | CT: Torrington - 2-298 Rossi Road | CT |  | Green Power Monitor