## Year to Date
Wells Fargo |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total | 1139669.8038 | 1251030.8159 | -111361.0121 | -8.902% | 1283420.2811 | -143750.4773 | -11.2%
Site | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 68153.6705 | 61975.617 | 6178.0535 | 9.969% | 74698.394 | -6544.7235 | -8.762%
CO | 12717.1923 | 14574.416 | -1857.2237 | -12.74% | 13249.6 | -532.4077 | -4.018%
CT | 34.6 | 391.1425 | -356.5425 | -91.15% | 647.9245 | -613.3245 | -94.66%
FL | 662.6044 | 4236.788 | -3574.1836 | -84.36% | 3416 | -2753.3956 | -80.6%
IA | 158231.5 | 182371.45 | -24139.95 | -13.24% | 158543.48 | -311.98 | -0.1968%
NC | 91934.3 | 93258.401 | -1324.101 | -1.42% | 108350.378 | -16416.078 | -15.15%
NJ | 25827.0016 | 38938.4954 | -13111.4938 | -33.67% | 39314.4646 | -13487.463 | -34.31%
TX | 502655.1562 | 542020.71 | -39365.5537 | -7.263% | 540479.5 | -37824.3438 | -6.998%
AZ | 279453.7787 | 313263.796 | -33810.0173 | -10.79% | 344720.54 | -65266.7613 | -18.93%

## 1st Qtr
Wells Fargo |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total | 1139669.8038 | 1251030.8159 | -111361.0121 | -8.902% | 1283420.2811 | -143750.4773 | -11.2%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 68153.6705 | 61975.617 | 6178.0535 | 9.969% | 74698.394 | -6544.7235 | -8.762%
CO | 12717.1923 | 14574.416 | -1857.2237 | -12.74% | 13249.6 | -532.4077 | -4.018%
CT | 34.6 | 391.1425 | -356.5425 | -91.15% | 647.9245 | -613.3245 | -94.66%
FL | 662.6044 | 4236.788 | -3574.1836 | -84.36% | 3416 | -2753.3956 | -80.6%
IA | 158231.5 | 182371.45 | -24139.95 | -13.24% | 158543.48 | -311.98 | -0.1968%
NC | 91934.3 | 93258.401 | -1324.101 | -1.42% | 108350.378 | -16416.078 | -15.15%
NJ | 25827.0016 | 38938.4954 | -13111.4938 | -33.67% | 39314.4646 | -13487.463 | -34.31%
TX | 502655.1562 | 542020.71 | -39365.5537 | -7.263% | 540479.5 | -37824.3438 | -6.998%
AZ | 279453.7787 | 313263.796 | -33810.0173 | -10.79% | 344720.54 | -65266.7613 | -18.93%

## 2nd Qtr
Wells Fargo |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total | 0 | 0 | 0 | 0% | 0 | 0 | 0%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 0 | 0 | 0 |  | 0 | 0
CO | 0 | 0 | 0 |  | 0 | 0
CT | 0 | 0 | 0 |  | 0 | 0
FL | 0 | 0 | 0 |  | 0 | 0
IA | 0 | 0 | 0 |  | 0 | 0
NC | 0 | 0 | 0 |  | 0 | 0
NJ | 0 | 0 | 0 |  | 0 | 0
TX | 0 | 0 | 0 |  | 0 | 0
AZ | 0 | 0 | 0 |  | 0 | 0

## 3rd Qtr
Wells Fargo |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total | 0 | 0 | 0 | 0% | 0 | 0 | 0%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA
CO
CT
FL
IA
NC
NJ
TX
AZ

## 4th Qtr
Wells Fargo |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total | 0 | 0 | 0 | 0% | 0 | 0 | 0%
State | Actual | Expected | Delta | % | Forecasted | Delta | %
CA | 0 | 0 | 0 |  | 0 | 0
CO | 0 | 0 | 0 |  | 0 | 0
CT | 0 | 0 | 0 |  | 0 | 0
FL | 0 | 0 | 0 |  | 0 | 0
IA | 0 | 0 | 0 |  | 0 | 0
NC | 0 | 0 | 0 |  | 0 | 0
NJ | 0 | 0 | 0 |  | 0 | 0
TX | 0 | 0 | 0 |  | 0 | 0
AZ | 0 | 0 | 0 |  | 0 | 0

## Jan
Wells Fargo |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 344030.4978 | 381964.5477 | -37934.0499 | -9.931% | 385301.5565 | -41271.0587 | -10.71% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Adams & Broadway | CA | 665.1 | 2313.944 | -1648.844 | -71.26% | 661 | 4.1 | 0.6203% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
Otay Mesa | CA | 39.5 | N/A |  |  | N/A |  |  | 1. Production data taken from consumption meter.
San Leandro | CA | 0 | 0 | 0 |  | 0 | 0 |  | 1. Site was not communicated for whole month. | 1. SR099548 | 1. Pending
Van Nuys | CA | 1175.2 | N/A |  |  | 1313.97 | -138.77 | -10.56% | 1. Inverter 1 has heavy shading from afternoon to evening.
Lodi - Lodi Vineyard | CA | 17201.8125 | 18075.58 | -873.7675 | -4.834% | 17814 | -612.1875 | -3.437% | 1. Inverter 1 and 7 have morning to afternoon shading.
Arden Fair Mall | CA | 8795.25 | 10365.24 | -1569.99 | -15.15% | 10608 | -1812.75 | -17.09% | 1. Inverter 2 has heavy shading in the morning.
Modesto - Modesto Main | CA | 6088.9375 | 8165.521 | -2076.5835 | -25.43% | 10217.37 | -4128.4325 | -40.41% | 1. Inverters 1, 4, and 5 have some afternoon shading. Inverter 5 is underperforming by 3kW; likely soiling. | 1. SR101247 | 1. Closed
Stevens Creek | CA | 2947.9049 | 2514.951 | 432.9539 | 17.22% | 2416 | 531.9049 | 22.02%
Covina Main | CA | 2249.8 | 1759.853 | 489.947 | 27.84% | 2134 | 115.8 | 5.426%
Old Ranch Town Center | CA | 750.1895 | N/A |  |  | 910 | -159.8105 | -17.56% | 1. The plant is performing as expected. The forecasted (theoretical) values may appear higher because they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance.
Mountain Gate Plaza | CA | 5234.9057 | N/A |  |  | 6591 | -1356.0943 | -20.57% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Arcadia Main | CA | 2384.6684 | N/A |  |  | 3550 | -1165.3316 | -32.83% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Fairfield | CA | 1818.8125 | 2026.964 | -208.1515 | -10.27% | 2037 | -218.1875 | -10.71% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Los Gatos | CA | 1103.5741 | 1020.455 | 83.1191 | 8.145% | 0 | 1103.5741
San Marino | CA | 2323.3035 | 2283.149 | 40.1545 | 1.759% | 2880.538 | -557.2345 | -19.34% | 1. Inverter 1 is underperforming by 13kW and inverter 2 by 10kW. Pending quote for return visit. | 1. SR104629 | 1. Closed
Buenaventura | CA | 3254.2737 | 2391.687 | 862.5867 | 36.07% | 3912.548 | -658.2743 | -16.82% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
BE 199502 - Westgate | CA | 1025.1 | N/A |  |  | N/A |  |  | 1. The plant is performing as expected. The forecasted (theoretical) values may appear higher because they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance.
98th & Grant | CO | 1246.8 | N/A |  |  | 1170 | 76.8 | 6.564%
Arapahoe Crossings | CO | 0 | 0 | 0 |  | 0 | 0 |  | 1. No communication to the inverters, As per technician visit on 08/08 inverter 3 is offline and inverter 1 is underperforming. 2. Site stopped communicating to the DAS at 23:00 on 11/02 because the modem is not powering up. The modem is currently under RMA. | 1. SR105604 2. SR111494 | 1. Closed 2. Pending | SR111494
Aurora City Center | CO | 712.9 | N/A |  |  | 1050 | -337.1 | -32.1% | 1. The plant is performing as expected. The forecasted (theoretical) values may appear higher because they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance.
Dry Creek | CO | 877.3923 | 0 | 877.3923 |  | 1261 | -383.6077 | -30.42% | 1. Meter phase A and B currents dropped to 18 amps on 10/01, and the meter also showed a production drop of 5–6 kW, possibly due to thermal damage to the CTs. Additionally, on 01/15, a technician found that the inverter was offline at the site. | 1. SR110707 | 1. Closed
Highlands Ranch S. | CO | 1027.3 | 4024.53 | -2997.23 | -74.47% | 1109 | -81.7 | -7.367% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Lone Tree | CO | 1408.4 | 3086.863 | -1678.463 | -54.37% | 2554 | -1145.6 | -44.86% | 1. Inverter 2 was offline for the entire month. | 1. SR101743 | 1. Closed
Meridian | CO | 1691.7 | N/A |  |  | 1505 | 186.7 | 12.41%
Southglenn | CO | 1653.4 | N/A |  |  | 1619.6 | 33.8 | 2.087%
Standley Lake | CO | 2227.7 | 7463.023 | -5235.323 | -70.15% | 2142 | 85.7 | 4.001% | 1. The plant is performing as expected. The forecasted (theoretical) values may appear higher because they are based on long-term average weather data (typically over 10–15 years). In contrast, the actual vs. expected generation reflects real-time weather conditions during the period, offering a more accurate representation of current performance. 2. Weather station reporting erroneous 1237.82w/m^2 values since commissioning
Havana Gardens | CO | 1871.6 | N/A |  |  | 839 | 1032.6 | 123.1%
East Hartford | CT | 123.5 | 266.2267 | -142.7267 | -53.61% | 269.7242 | -146.2242 | -54.21% | 1. The Site was offline for most days during the month due to snow.
Norwalk | CT | -88.9 | 124.9158 | -213.8158 | -171.2% | 378.2003 | -467.1003 | -123.5% | 1. Weather station reporting erroneous values from 07/04/2024. Will investigate next time onsite 2. An intermittent issue with Meter Phase C/Power Factor is slightly affecting the reported energy production. A case has been created with AlsoEnergy, and they have confirmed a site visit for further investigation | 1. SR107668, SR088667, SR107670 2. SR077700, SR113568 | 1. Pending 2. Denied | SR088667 | SR107670 | SR077700 | SR113568
Hialeah Gardens | FL | 662.6044 | 4236.788 | -3574.1836 | -84.36% | 3416 | -2753.3956 | -80.6% | 1. Site underperforming by ~15 kW. Production appears capped at 1.6 kW on high irradiance days, with brief spikes. Will be investigating during next site visit. | 1. SR098782 | 1. Closed
W. Des Moines Campus EAST | IA | 104686.5 | 116276.6 | -11590.1 | -9.968% | 103900 | 786.5 | 0.757%
W. Des Moines Campus SW | IA | 53545 | 66094.85 | -12549.85 | -18.99% | 54643.48 | -1098.48 | -2.01% | 1. Phase A on the meter is lower than phases B and C, corresponding to the meter not capturing full inverter production since 01/12. | 1. SR114480 | 1. Pending
WF - CIC | NC | 90929 | 91687.46 | -758.46 | -0.8272% | 106712 | -15783 | -14.79% | 1. The production was low on 01/02,01/03,01/05,01/09,01/10,01/14,01/17,01/18 and 01/22 to 01/25 due to snow.
Charlotte - Wells Fargo - DUC | NC | 1005.3 | 1570.941 | -565.641 | -36.01% | 1638.378 | -633.078 | -38.64% | 1. All inverters have morning shading.
East Windsor | NJ | 274.5 | 539.5706 | -265.0706 | -49.13% | 404.4261 | -129.9261 | -32.13% | 1. The Site was offline for most days during the month due to snow.
Burlington | NJ | 830.2 | 1183.541 | -353.341 | -29.85% | 1081.357 | -251.157 | -23.23% | 1. Site production was low most of the days in a month due to snow.
Bayonne | NJ | 309.2 | 879.3118 | -570.1118 | -64.84% | 1991.37 | -1682.17 | -84.47% | 1. The site stopped communicating to the DAS at 11:00 on 11/14, possibly due to being offline after installed with new roof and back online at 07:00 on 01/14. 2. The Site was offline for most days during the month due to snow. | 1. SR111319 | 1. Pending
Clifton | NJ | 980.1875 | 1527.246 | -547.0585 | -35.82% | 2497.083 | -1516.8955 | -60.75% | 1. Site production was minimal from 01/17 to 01/21, 01/25 to 01/31 due to snow.
North Elizabeth | NJ | 771.1 | 1132.049 | -360.949 | -31.88% | 1342.594 | -571.494 | -42.57% | 1. Site production was low most of the days in a month due to snow.
Haddon Westmont Plaza | NJ | 566.2 | 1181.194 | -614.994 | -52.07% | 956.643 | -390.443 | -40.81% | 1. Site production was low most of the days in a month due to snow.
Parsippany | NJ | 678.8 | 1054.906 | -376.106 | -35.65% | 1069.962 | -391.162 | -36.56% | 1. Site production was low most of the days in a month due to snow.
Clark | NJ | 632.5 | 1071.215 | -438.715 | -40.95% | 910.9589 | -278.4589 | -30.57% | 1. Site production was low most of the days in a month due to snow.
Closter | NJ | 79.7 | 171.441 | -91.741 | -53.51% | 459.993 | -380.293 | -82.67% | 1. Site production was low most of the days in a month due to snow.
Holmdel | NJ | 489.4 | 4241.451 | -3752.051 | -88.46% | 799.5786 | -310.1786 | -38.79% | 1. Site production was low most of the days in a month due to snow.
Ellisburg Circle Center | NJ | 276.9 | 564.3406 | -287.4406 | -50.93% | 448.525 | -171.625 | -38.26% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
Nutley | NJ | 1005.3 | 1570.941 | -565.641 | -36.01% | 1638.378 | -633.078 | -38.64% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Marlton | NJ | 1120.5 | 1478.388 | -357.888 | -24.21% | 1592.2 | -471.7 | -29.63% | 1. Site production was low most of the days in a month due to snow.
Middletown | NJ | 1163.2 | 970.8718 | 192.3282 | 19.81% | 1612.789 | -449.589 | -27.88% | 1. Site production was low most of the days in a month due to snow.
Whiting Crestwood | NJ | 1984.8 | 2727.172 | -742.372 | -27.22% | 2429.949 | -445.149 | -18.32% | 1. The production was low on 01/02,01/03,01/06,01/10,01/17,01/18,01/25 to 01/28 due to snow.
Barnegat | NJ | 2083.5625 | 2071.108 | 12.4545 | 0.6013% | 1997.496 | 86.0665 | 4.309%
Manchester | NJ | 1421.2 | 1655.599 | -234.399 | -14.16% | 2125.511 | -704.311 | -33.14% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
West Deptford - Woodbury | NJ | 1648.4 | 2213.697 | -565.297 | -25.54% | 1933.755 | -285.355 | -14.76% | 1. The production was low on 01/02,01/10,01/17,01/18 and 01/25 due to snow.
Edison | NJ | 1121.7 | 1102.456 | 19.244 | 1.746% | 1456.599 | -334.899 | -22.99% | 1. The production was low on 01/02,01/05,01/10,01/14,01/17 to 01/21 and 01/25 to 01/30 due to snow.
Flemington | NJ | 822.7 | 1037.301 | -214.601 | -20.69% | 1229.156 | -406.456 | -33.07% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
Route 22 | NJ | 998.7 | 2218.883 | -1220.183 | -54.99% | 1377.887 | -379.187 | -27.52% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
Laurelton | NJ | [7 empty] | 1. The Laurelton Site has been closed down and sold as of 7/31/25 | 1. SR108795 | 1. Closed
Mahwah | NJ | 579.8 | 473.237 | 106.563 | 22.52% | 1012.181 | -432.381 | -42.72% | 1. Weather station is frequently reporting erroneous values ( 0 w/m^2) during mid days.We have reached out to AlsoEnergy for remote assistance and waiting for their response 2. The Site production was low most days during the month due to snow. | 1. SR100593 | 1. Closed
Franklin Township WF | NJ | 763.9 | 1235.231 | -471.331 | -38.16% | 1704.574 | -940.674 | -55.19% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Bordentown | NJ | 858.8 | 1050.842 | -192.042 | -18.28% | 1116.252 | -257.452 | -23.06% | 1. The production was low on 01/02,01/10,01/14,01/17 to 01/20 and 01/25 to 01/28 due to snow.
South Plainfield | NJ | 504.1 | 496.7494 | 7.3506 | 1.48% | 739.8504 | -235.7504 | -31.86% | 1. The production was low on 01/02,01/03,01/05,01/10,01/14,01/17 to 01/21 and 01/25 to 01/28 due to snow.
Somerset | NJ | 741.9 | 1327.963 | -586.063 | -44.13% | 1050.556 | -308.656 | -29.38% | 1. The production was low on 01/02,01/03,01/05,01/10,01/14,01/17 to 01/21 and 01/25 to 01/28 due to snow.
Clinton Main Relo | NJ | 684.7188 | 1038.301 | -353.5822 | -34.05% | 1069.124 | -384.4053 | -35.96% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value. 2. The production was low on 01/02,01/05,01/10,01/14,01/17 to 01/21 and 01/25 to 01/28 due to snow.
North Brunswick | NJ | 863.7 | 992.2006 | -128.5006 | -12.95% | 1377.274 | -513.574 | -37.29% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value. 2. The production was low on 01/02,01/05,01/10,01/14,01/17 to 01/21 and 01/25 to 01/29 due to snow.
Cherry Hill | NJ | 708.6328 | 839.7292 | -131.0964 | -15.61% | 905.0132 | -196.3804 | -21.7% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value. 2. The production was low on 01/02,01/10,01/14,01/17 to 01/19 and 01/25 to 01/31 due to snow.
Hainesport | NJ | 862.7 | 891.5594 | -28.8594 | -3.237% | 983.4294 | -120.7294 | -12.28% | 1. The production was low on 01/02,01/03,01/05,01/10,01/14,01/17 to 01/19 and 01/25 due to snow.
San Antonio - Ops Ctr (Bldg 106) | TX | 27013.625 | 33514.99 | -6501.365 | -19.4% | 34509.79 | -7496.165 | -21.72% | 1. Inverter 5 is underproducing by about 20kw. 2. Inverter 6 is offline from 13:30 on 12/11 and back online at 09:00 on 01/12. | 1. SR113672, SR112821 2. SR112821 | 1. Closed 2. Closed | SR112821 | SR112821
San Antonio - Ops Ctr GM | TX | 272769.5 | 305575.6 | -32806.1 | -10.74% | 286543 | -13773.5 | -4.807% | 1. Inverter 4 was offline at 07:00 on 09/18/25 and after technician replaced the inverter is back online at 11:15 on 01/08. | 1. SR112934 | 1. Closed
San Antonio - Ctr (Bldg 201) | TX | 30983 | 33270.23 | -2287.23 | -6.875% | 35248.62 | -4265.62 | -12.1% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
San Antonio - Ops Ctr (Bldg 203) | TX | 35232 | 34378.18 | 853.82 | 2.484% | 36296.38 | -1064.38 | -2.932%
San Antonio - Ops Ctr (Bldg 205) | TX | 28456.625 | 30316.54 | -1859.915 | -6.135% | 32830.44 | -4373.815 | -13.32% | 1. Inverter 4 is down a string from 02/16/25. | 1. SR097581 | 1. Closed
San Antonio - Ops Ctr (Bldg 307) | TX | 31917 | 32971 | -1054 | -3.197% | 34021.82 | -2104.82 | -6.187% | 1. Compared to last year’s delta values, we can still see a negative variance for this site, which suggests an issue with the forecasted value.
San Antonio - Ctr (Bldg 308) | TX | 32279.875 | 32215.61 | 64.265 | 0.1995% | 33663.72 | -1383.845 | -4.111% | 1.Inverter 4 underperformed by 6kW from 08/17 | 1.SR106526 | 1.Closed
San Antonio - Ops Ctr (Bldg 104) | TX | 8430.5312 | 10097.17 | -1666.6388 | -16.51% | 10049.53 | -1618.9988 | -16.11% | 1. The Weather station was a virtual weather station of San Antonio 203.
San Antonio - Ops Ctr (Bldg 102) | TX | 35573 | 29681.39 | 5891.61 | 19.85% | 37316.2 | -1743.2 | -4.671% | 1. The Weather station was a virtual weather station of San Antonio 203.
N Black Canyon Hwy, Phoenix - North | AZ | 58428.75 | 54421.37 | 4007.38 | 7.364% | 57066 | 1362.75 | 2.388%
N Black Canyon Hwy, Phoenix - South | AZ | 63226.125 | 59583.18 | 3642.945 | 6.114% | 63382 | -155.875 | -0.2459%
Building 2222, Rose Garden Ln, Phoenix | AZ | 59822.75 | 63148.56 | -3325.81 | -5.267% | 65567 | -5744.25 | -8.761%
Building 2202, Rose Garden Ln, Phoenix | AZ | 60683.0362 | 52135.07 | 8547.9662 | 16.4% | 49972.54 | 10710.4962 | 21.43%
99TH Ave & BELL | AZ | 11191.6012 | 7975.283 | 3216.3182 | 40.33% | 13506 | -2314.3988 | -17.14% | 1. As per site weather station data, the plant is performing as expected. The forecasted (theoretical) values appear higher because they are based on long-term average weather data (typically 10–15 years). In contrast, actual vs expected generation reflects real-time weather conditions during the period, providing a more accurate measure of current performance.
Rincon | AZ | 5433.0625 | 3833.262 | 1599.8005 | 41.73% | 4593 | 840.0625 | 18.29%
Tucson Main Parking Garage | AZ | -52565.64 | 8358.131 | -60923.771 | -728.9% | 8400 | -60965.64 | -725.8% | 1. Meter A and C phase are underreporting. Meter A and B power factor are less than 1 and on 08/21 phase C currents are showing more amps additional troubleshoot required Actual energy is taken from total inverters data | 1. SR104705 | 1. Closed
AZ: Chandler - Chandler Campus - Bldg A | AZ | 5851.7188 | 12876.3 | -7024.5812 | -54.55% | 13585 | -7733.2812 | -56.93% | 1. Inverter 2 has been tripped offline since 06:15 on 06/18/25 and is currently under RMA. | 1.SR112285 | 1.Pending
AZ: Phoenix - Pinnacle Peak Ops | AZ | 67382.375 | 50932.64 | 16449.735 | 32.3% | 68649 | -1266.625 | -1.845%
CA: Alhambra - North Alhambra | CA | 0 | 0 | 0 |  | 0 | 0 |  | 1. The site stopped communicating with the DAS at 11:00 on 09/25/25 and is possibly offline. | 1.SR112290 | 1.Pending
CA: La Canada - La Canada | CA | 3748.0035 | 4271.944 | -523.9405 | -12.26% | 2384.74 | 1363.2635 | 57.17% | 1. Inverter 2 having morning and afetrnoon shading.
CA: Laguna Beach - LAGUNA BEACH | CA | 4073.6391 | 3480.006 | 593.6331 | 17.06% | 4317.862 | -244.2229 | -5.656% | 1. Inverter 2 has shading for whole day.
CA: Newport Beach - MARINERS | CA | 3273.6955 | 3306.323 | -32.6275 | -0.9868% | 2950.366 | 323.3295 | 10.96%

## Feb
Wells Fargo |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Mar
Wells Fargo |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Apr
Wells Fargo |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## May
Wells Fargo |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Jun
Wells Fargo |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Jul
Wells Fargo |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!) |  | Performance vs Prior Year | Notes
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | + or -
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Aug
| Wells Fargo |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
| Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
| Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
1 | Adams & Broadway
2 | Otay Mesa
3 | San Leandro
4 | Van Nuys
5 | Lodi - Lodi Vineyard
6 | Arden Fair Mall
7 | Modesto - Modesto Main
8 | Stevens Creek
9 | Covina Main
10 | Old Ranch Town Center
11 | Mountain Gate Plaza
12 | Arcadia Main
13 | Fairfield
14 | Los Gatos
15 | San Marino
16 | Buenaventura
17 | BE 199502 - Westgate
18 | 98th & Grant
19 | Arapahoe Crossings
20 | Aurora City Center
21 | Dry Creek
22 | Highlands Ranch S.
23 | Lone Tree
24 | Meridian
25 | Southglenn
26 | Standley Lake
27 | Havana Gardens
28 | East Hartford
29 | Norwalk
30 | Hialeah Gardens
31 | W. Des Moines Campus EAST
32 | W. Des Moines Campus SW
33 | WF - CIC
34 | Charlotte - Wells Fargo - DUC
35 | East Windsor
36 | Burlington
37 | Bayonne
38 | Clifton
39 | North Elizabeth
40 | Haddon Westmont Plaza
41 | Parsippany
42 | Clark
43 | Closter
44 | Holmdel
45 | Ellisburg Circle Center
46 | Nutley
47 | Marlton
48 | Middletown
49 | Whiting Crestwood
50 | Barnegat
51 | Manchester
52 | West Deptford - Woodbury
53 | Edison
54 | Flemington
55 | Route 22
56 | Laurelton
57 | Mahwah
58 | Franklin Township WF
59 | Bordentown
60 | South Plainfield
61 | Somerset
62 | Clinton Main Relo
63 | North Brunswick
64 | Cherry Hill
65 | Hainesport
66 | San Antonio - Ops Ctr (Bldg 106)
67 | San Antonio - Ops Ctr GM
68 | San Antonio - Ctr (Bldg 201)
69 | San Antonio - Ops Ctr (Bldg 203)
70 | San Antonio - Ops Ctr (Bldg 205)
71 | San Antonio - Ops Ctr (Bldg 307)
72 | San Antonio - Ctr (Bldg 308)
73 | San Antonio - Ops Ctr (Bldg 104)
74 | San Antonio - Ops Ctr (Bldg 102)
75 | N Black Canyon Hwy, Phoenix - North
76 | N Black Canyon Hwy, Phoenix - South
77 | Building 2222, Rose Garden Ln, Phoenix
78 | Building 2202, Rose Garden Ln, Phoenix
79 | 99TH Ave & BELL
80 | Rincon
81 | Tucson Main Parking Garage
AZ: Chandler - Chandler Campus - Bldg A
AZ: Phoenix - Pinnacle Peak Ops
CA: Alhambra - North Alhambra
CA: La Canada - La Canada
CA: Laguna Beach - LAGUNA BEACH
CA: Newport Beach - MARINERS
Actual vs weather adjusted (August 2025)
| Negative | 23 | 28.4%
| No Change | 18 | 22.22%
| Positive | 40 | 49.38%
Actual vs forecasted (August 2025)
| Negative | 58 | 71.6%
| No Change | 8 | 9.88%
| Positive | 15 | 18.52%

## Sep
Wells Fargo |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Oct
Wells Fargo |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA

## Nov
Wells Fargo |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA
Note on C84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Actual energy is taken from total inverters data

## Dec
Wells Fargo |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 0 | 0 | 0 | 0% | 0 | 0 | 0% | Some sites are missing actual data; if new sites were added, make sure they are aligned correctly (including prior months!)
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
Adams & Broadway | CA
Otay Mesa | CA
San Leandro | CA
Van Nuys | CA
Lodi - Lodi Vineyard | CA
Arden Fair Mall | CA
Modesto - Modesto Main | CA
Stevens Creek | CA
Covina Main | CA
Old Ranch Town Center | CA
Mountain Gate Plaza | CA
Arcadia Main | CA
Fairfield | CA
Los Gatos | CA
San Marino | CA
Buenaventura | CA
BE 199502 - Westgate | CA
98th & Grant | CO
Arapahoe Crossings | CO
Aurora City Center | CO
Dry Creek | CO
Highlands Ranch S. | CO
Lone Tree | CO
Meridian | CO
Southglenn | CO
Standley Lake | CO
Havana Gardens | CO
East Hartford | CT
Norwalk | CT
Hialeah Gardens | FL
W. Des Moines Campus EAST | IA
W. Des Moines Campus SW | IA
WF - CIC | NC
Charlotte - Wells Fargo - DUC | NC
East Windsor | NJ
Burlington | NJ
Bayonne | NJ
Clifton | NJ
North Elizabeth | NJ
Haddon Westmont Plaza | NJ
Parsippany | NJ
Clark | NJ
Closter | NJ
Holmdel | NJ
Ellisburg Circle Center | NJ
Nutley | NJ
Marlton | NJ
Middletown | NJ
Whiting Crestwood | NJ
Barnegat | NJ
Manchester | NJ
West Deptford - Woodbury | NJ
Edison | NJ
Flemington | NJ
Route 22 | NJ
Laurelton | NJ
Mahwah | NJ
Franklin Township WF | NJ
Bordentown | NJ
South Plainfield | NJ
Somerset | NJ
Clinton Main Relo | NJ
North Brunswick | NJ
Cherry Hill | NJ
Hainesport | NJ
San Antonio - Ops Ctr (Bldg 106) | TX
San Antonio - Ops Ctr GM | TX
San Antonio - Ctr (Bldg 201) | TX
San Antonio - Ops Ctr (Bldg 203) | TX
San Antonio - Ops Ctr (Bldg 205) | TX
San Antonio - Ops Ctr (Bldg 307) | TX
San Antonio - Ctr (Bldg 308) | TX
San Antonio - Ops Ctr (Bldg 104) | TX
San Antonio - Ops Ctr (Bldg 102) | TX
N Black Canyon Hwy, Phoenix - North | AZ
N Black Canyon Hwy, Phoenix - South | AZ
Building 2222, Rose Garden Ln, Phoenix | AZ
Building 2202, Rose Garden Ln, Phoenix | AZ
99TH Ave & BELL | AZ
Rincon | AZ
Tucson Main Parking Garage | AZ
AZ: Chandler - Chandler Campus - Bldg A | AZ
AZ: Phoenix - Pinnacle Peak Ops | AZ
CA: Alhambra - North Alhambra | CA
CA: La Canada - La Canada | CA
CA: Laguna Beach - LAGUNA BEACH | CA
CA: Newport Beach - MARINERS | CA
Note on C84: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Actual energy is taken from total inverters data

## Sites
Portfolio: | Wells Fargo
Site DAS Name | Site | State | Update | DAS
BE 191334 - Adams & Broadway | Adams & Broadway | CA | AEF | PowerTrack
BE 196270 - Otay Mesa (ATM) | Otay Mesa | CA |  | PowerTrack
BE 144682 - San Leandro Ops Center | San Leandro | CA | AEF | PowerTrack
BE 191705 - Van Nuys | Van Nuys | CA | AF | PowerTrack
BE 105499 - Lodi Vineyard | Lodi - Lodi Vineyard | CA | AEF | PowerTrack
BE 144486 - Arden Fair Mall | Arden Fair Mall | CA | AEF | PowerTrack
BE 199250 - Modesto Main | Modesto - Modesto Main | CA | AEF | PowerTrack
BE 199506 - Stevens Creek | Stevens Creek | CA | AEF | PowerTrack
BE 101173 - Covina Main | Covina Main | CA | AEF | PowerTrack
BE 144507 - Old Ranch Town Center | Old Ranch Town Center | CA | AF | PowerTrack
BE 191411 - Mountain Gate Plaza | Mountain Gate Plaza | CA | AF | PowerTrack
BE 144410 - Arcadia Main | Arcadia Main | CA | AF | PowerTrack
BE 199190 - Fairfield | Fairfield | CA | AEF | PowerTrack
BE 199487 - Los Gatos | Los Gatos | CA | AEF | PowerTrack
BE 199892 - San Marino | San Marino | CA | AEF | PowerTrack
BE 199924 - Buenaventura | Buenaventura | CA | AEF | PowerTrack
CA: San Jose - Westgate | BE 199502 - Westgate | CA |  | PowerTrack
BE 103541 - 98th & Grant | 98th & Grant | CO | AF | PowerTrack
BE 101451 - Arapahoe Crossings | Arapahoe Crossings | CO | AF | PowerTrack
BE 120617 - Aurora City Center | Aurora City Center | CO | AF | PowerTrack
BE 101995 - Dry Creek | Dry Creek | CO | AEF | PowerTrack
BE 102040 - Highlands Ranch South | Highlands Ranch S. | CO | AEF | PowerTrack
BE 120717 - Lone Tree | Lone Tree | CO | AEF | PowerTrack
BE 103553 - Meridian | Meridian | CO | AF | PowerTrack
BE 105797 - Southglenn Relocation | Southglenn | CO |  | PowerTrack
BE 120768 - Standley Lake | Standley Lake | CO | AEF | PowerTrack
BE 106004 - Havana Gardens | Havana Gardens | CO | AF | PowerTrack
BE 144783 - East Hartford | East Hartford | CT | AEF | PowerTrack
BE 144725 - Norwalk Post Road | Norwalk | CT | AEF | PowerTrack
BE 107447 - Hialeah Gardens | Hialeah Gardens | FL | AEF | PowerTrack
BE 150496 - West Des Moines Campus - East | W. Des Moines Campus EAST | IA | AEF | PowerTrack
BE 150496 - West Des Moines Campus - SW | W. Des Moines Campus SW | IA | AEF | PowerTrack
BE 141278 - CIC | WF - CIC | NC |  | PowerTrack
BE 141954 - DUC | Charlotte - Wells Fargo - DUC | NC |  | PowerTrack
BE 140171 - East Windsor | East Windsor | NJ | AEF | PowerTrack
BE 141423 - Burlington Springside | Burlington | NJ | AEF | PowerTrack
BE 141327 - Bayonne Office | Bayonne | NJ | AEF | PowerTrack
BE 141382 - Clifton Office | Clifton | NJ | AEF | PowerTrack
BE 141427 - North Elizabeth Office | North Elizabeth | NJ | AEF | PowerTrack
BE 145739 - Westmont Plaza | Haddon Westmont Plaza | NJ | AEF | PowerTrack
BE 141464 - Parsippany Route 46 | Parsippany | NJ | AEF | PowerTrack
BE 141467 - Clark Office | Clark | NJ | AEF | PowerTrack
BE 141468 - Closter Office | Closter | NJ | AEF | PowerTrack
BE 140216 - Holmdel - Rt. 35 | Holmdel | NJ | AEF | PowerTrack
BE 144566 - Ellisburg Circle Center | Ellisburg Circle Center | NJ | AEF | PowerTrack
BE 141317 - Nutley Franklin | Nutley | NJ | AEF | PowerTrack
BE 140334 - Marlton | Marlton | NJ | AEF | PowerTrack
BE 140262 - Middletown - UC | Middletown | NJ | AEF | PowerTrack
BE 141443 - Whiting Crestwood | Whiting Crestwood | NJ | AEF | PowerTrack
BE 141441 - Barnegat Office | Barnegat | NJ | AEF | PowerTrack
BE 141445 - Manchester Office | Manchester | NJ | AEF | PowerTrack
BE 144269 - West Deptford / Woodbury | West Deptford - Woodbury | NJ | AEF | PowerTrack
BE 141344 - Edison Office | Edison | NJ | AEF | PowerTrack
BE 142050 - Flemington | Flemington | NJ | AEF | PowerTrack
BE 140332 - Rt. 22 Springfield | Route 22 | NJ | AEF | PowerTrack
BE 141466 - Laurelton Office | Laurelton | NJ |  | PowerTrack
BE 142088 - Mahwah | Mahwah | NJ | AEF | PowerTrack
BE 144110 - Franklin Township | Franklin Township WF | NJ | AEF | PowerTrack
BE 144103 - Bordentown | Bordentown | NJ | AEF | PowerTrack
BE 141918 - South Plainfield Oak Park | South Plainfield | NJ | AEF | PowerTrack
BE 144813 - Somerset | Somerset | NJ | AEF | PowerTrack
BE 145709 - Clinton | Clinton Main Relo | NJ |  | PowerTrack
BE 143233 - North Brunswick Financial Ctr | North Brunswick | NJ | AEF | PowerTrack
BE 141916 - Cherry Hill Short Hills | Cherry Hill | NJ | AEF | PowerTrack
BE 142875 - Hainesport Crossroads | Hainesport | NJ | AEF | PowerTrack
BE 144679 - 106 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 106) | TX |  | PowerTrack
BE 144679 - GM - San Antonio Ops | San Antonio - Ops Ctr GM | TX |  | PowerTrack
BE 144679 - 201 - San Antonio Ops | San Antonio - Ctr (Bldg 201) | TX |  | PowerTrack
BE 144679 - 203 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 203) | TX |  | PowerTrack
BE 144679 - 205 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 205) | TX |  | PowerTrack
BE 144679 - 307 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 307) | TX |  | PowerTrack
BE 144679 - 308 - San Antonio Ops | San Antonio - Ctr (Bldg 308) | TX |  | PowerTrack
BE 144679 - 104 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 104) | TX |  | PowerTrack
BE 144679 - 102 - San Antonio Ops | San Antonio - Ops Ctr (Bldg 102) | TX |  | PowerTrack
BE 101497 - N Black Canyon Hwy, Phoenix - North | N Black Canyon Hwy, Phoenix - North | AZ | AEF | PowerTrack
BE 101497 - N Black Canyon Hwy, Phoenix - South | N Black Canyon Hwy, Phoenix - South | AZ | AEF | PowerTrack
BE 102073 - Building 2222, Rose Garden Ln, Phoenix | Building 2222, Rose Garden Ln, Phoenix | AZ | AEF | PowerTrack
BE 102566 - Building 2202, Rose Garden Ln, Phoenix | Building 2202, Rose Garden Ln, Phoenix | AZ | AEF | PowerTrack
BE 192010 - 99TH Ave & BELL | 99TH Ave & BELL | AZ | AEF | PowerTrack
BE 192156 - Rincon | Rincon | AZ | AEF | PowerTrack
BE 198359 - Tucson Main Parking Garage | Tucson Main Parking Garage | AZ | AEF | PowerTrack
BE 101969 - A Building, Chandler Campus | AZ: Chandler - Chandler Campus - Bldg A | AZ | AEF | PowerTrack
BE 102493 - Pinnacle Peak Operation Center | AZ: Phoenix - Pinnacle Peak Ops | AZ | AEF | PowerTrack
BE 191231 - North Alhambra | CA: Alhambra - North Alhambra | CA | AF | PowerTrack
BE 144444 - La Cañada | CA: La Canada - La Canada | CA | AEF | PowerTrack
BE 199475 - Laguna Beach | CA: Laguna Beach - LAGUNA BEACH | CA | AEF | PowerTrack
BE 191839 - Mariners | CA: Newport Beach - MARINERS | CA | AEF | PowerTrack