## Year to Date
MA: Palmer - 105 North Street |  |  | Year to Date Actual v. Expected |  |  | Year to Date Actual v. Forecasted
Total |  | 2835852 | 0 | 2835852 | 0% | 0 | 2835852 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 2835852 | 0 | 2835852 |  | 0 | 0

## 1st Qtr
MA: Palmer - 105 North Street |  |  | 1st Quarter Actual v. Expected |  |  | 1st Quarter Actual v. Forecasted
Total |  | 552922 | 0 | 552922 | 0% | 0 | 552922 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 552922 | 0 | 552922 |  | 0 | 0

## 2nd Qtr
MA: Palmer - 105 North Street |  |  | 2nd Quarter Actual v. Expected |  |  | 2nd Quarter Actual v. Forecasted
Total |  | 836450 | 0 | 836450 | 0% | 0 | 836450 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 836450 | 0 | 836450 |  | 0 | 0

## 3rd Qtr
MA: Palmer - 105 North Street |  |  | 3rd Quarter Actual v. Expected |  |  | 3rd Quarter Actual v. Forecasted
Total |  | 936877 | 0 | 936877 | 0% | 0 | 936877 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 936877 | 0 | 936877 |  | 0 | 0

## 4th Qtr
MA: Palmer - 105 North Street |  |  | 4th Quarter Actual v. Expected |  |  | 4th Quarter Actual v. Forecasted
Total |  | 509603 | 0 | 509603 | 0% | 0 | 509603 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | %
MA: Palmer - 105 North Street | MA | 509603 | 0 | 509603 |  | 0 | 0

## Jan
MA: Palmer - 105 North Street |  |  | January Actual v. Expected |  |  | January Actual v. Forecasted
Total |  | 143914 | 0 | 143914 | 0% | 0 | 143914 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 143914 | N/A |  |  | N/A |  |  | 1.Inverter 2 is showing low production on 01/22 and is offline and inverter was back to normal production from 01/26 | 1.SR095926

## Feb
MA: Palmer - 105 North Street |  |  | February Actual v. Expected |  |  | February Actual v. Forecasted
Total |  | 138085 | 0 | 138085 | 0% | 0 | 138085 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 138085 | N/A |  |  | N/A |  |  | 1. Inverters are offline on 02/16 and on 02/17 technician found inverters are online, after a powercycle comms are restored. | 1. SR097163

## Mar
MA: Palmer - 105 North Street |  |  | March Actual v. Expected |  |  | March Actual v. Forecasted
Total |  | 270923 | 0 | 270923 | 0% | 0 | 270923 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 270923 | N/A |  |  | N/A

## Apr
MA: Palmer - 105 North Street |  |  | April Actual v. Expected |  |  | April Actual v. Forecasted
Total |  | 289792 | 0 | 289792 | 0% | 0 | 289792 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 289792 | N/A |  |  | N/A

## May
MA: Palmer - 105 North Street |  |  | May Actual v. Expected |  |  | May Actual v. Forecasted
Total |  | 251778 | 0 | 251778 | 0% | 0 | 251778 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 251778 | N/A |  |  | N/A |  |  | 1.Site was offline from02:55pm on 05/30 to 11:35 am on 05/31 2.Site was offline from 08:50 am on 05/19 to 02:50 pm on 05/19. | 1.SR102205 2.SR101664 | SR101664

## Jun
MA: Palmer - 105 North Street |  |  | June Actual v. Expected |  |  | June Actual v. Forecasted
Total |  | 294880 | 0 | 294880 | 0% | 0 | 294880 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 294880 | N/A |  |  | N/A |  |  | 1. The site went offline at 13:15 on 06/20 and came back online at 12:10 on 06/21. | 1. SR103236

## Jul
MA: Palmer - 105 North Street |  |  | July Actual v. Expected |  |  | July Actual v. Forecasted
Total |  | 325026 | 0 | 325026 | 0% | 0 | 325026 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 325026 | N/A |  |  | N/A |  |  | 1.Inverter 1 zone 5 tripped offline at 13:45 on 07/26 | 1.SR104056

## Aug
MA: Palmer - 105 North Street |  |  | August Actual v. Expected |  |  | August Actual v. Forecasted
Total |  | 324301 | 0 | 324301 | 0% | 0 | 324301 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 324301 | N/A |  |  | N/A |  |  | 1. Inverter 4 is derating by 120 KW down since 08/12. 2. Inverter 1 zone 5 is back online at 12:00pm on 08/28. | 1.SR106529 2.SR104056 | SR104056

## Sep
MA: Palmer - 105 North Street |  |  | September Actual v. Expected |  |  | September Actual v. Forecasted
Total |  | 287550 | 0 | 287550 | 0% | 0 | 287550 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 287550 | N/A |  |  | N/A |  |  | 1. Site tripped offline at 15:15 on 09/06 due to severe storms and back online at 15:20 on 09/07. | 1. SR107563

## Oct
MA: Palmer - 105 North Street |  |  | October Actual v. Expected |  |  | October Actual v. Forecasted
Total |  | 247654 | 0 | 247654 | 0% | 0 | 247654 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 247654 | N/A |  |  | N/A

## Nov
MA: Palmer - 105 North Street |  |  | November Actual v. Expected |  |  | November Actual v. Forecasted
Total |  | 157002 | 0 | 157002 | 0% | 0 | 157002 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests | Status
MA: Palmer - 105 North Street | MA | 157002 | N/A |  |  | N/A |  |  | 1.Inverter 1 was offline at 12:30 on 11/26 and back online at 11/27 | 1.SR111793 | 1.Closed

## Dec
MA: Palmer - 105 North Street |  |  | December Actual v. Expected |  |  | December Actual v. Forecasted
Total |  | 104947 | 0 | 104947 | 0% | 0 | 104947 | 0%
Site | State | Actual | Expected | Delta | % | Forecasted | Delta | % | Notes | Service Requests
MA: Palmer - 105 North Street | MA | 104947 | N/A |  |  | N/A |  |  | 1. The production was low on 12/02,12/04,12/06,12/07,12/10,12/13 to 12/15,12/19,12/23,12/27 to 12/29 due to snow.

## Sites
Portfolio: | MA: Palmer - 105 North Street
Site DAS Name | Site | State | Update | DAS
MA - Palmer Solar | MA: Palmer - 105 North Street | MA | A | Solrenview